Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Forum Architecture & Interior Design on August 18, 2025. The following is a summary of the agency's disposition of the petition: 

Petitioner requested an answer to the following question, based upon the project described within its petition: Does the Florida Building Code, Building – Eighth Edition (2023) require Emergency Escape and Rescue Openings (EEROs) within dwelling units or sleeping rooms in an R-2 occupancy apartment building, when two independent means of egress are provided per story as described. On October 14, 2025, the Commission provided the following answer: no. Pursuant to section 1030.1, Florida Building Code, Building, 8th Edition (2023), an R-2 occupancy apartment building that is equipped with an automatic sprinkler system and provided with a minimum of two independent exits per story is not required to provide for emergency escape and rescue openings. Therefore, emergency escape and rescue openings are not required for the dwelling units or the sleeping rooms in question.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.
