Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by T.A. Krebs, LLC on August 15, 2025. The following is a summary of the agency's disposition of the petition: 

Petitioner requested an answer to the following question, based upon the project described within its petition: Is a detached accessory structure that complies with the requirements of section R322.2.2 without the floor below grade on all sides limited to 600 square feet? On October 14, 2025, the Commission provided the following answer: In response to Petitioner’s question, the answer is that section R322.2.2, Florida Building Code, Residential, 8th Edition (2023), does not apply to the project in question. This section governs enclosed areas below buildings that are elevated in accordance with section R322.2.1, Florida Building Code, Residential, 8th Edition (2023). Pursuant to section R322.2.1, Florida Building Code, Residential, 8th Edition (2023), the project in question is required to be elevated to or above the base flood elevation plus 1 foot. However, pursuant to section R322.1.1 Florida Building Code, Residential, 8th Edition (2023), and Table 2-1 and Chapter 6 of ASCE 24-14, as an alternative to compliance with elevations specified in section R322.2.1, the project in question is permitted to be constructed below the required minimum elevation if the said project meets the dry floodproofing requirements of section 6.2 of ASCE 24-14 or the wet floodproofing requirements of section 6.3 of ASCE 24-14.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.
