Notice of Proposed Rule

DEPARTMENT OF ENVIRONMENTAL PROTECTION
RULE NOS.:
RULE TITLES: 
62-620.100
Scope/Applicability/References

62-620.310
Procedure to Obtain Permits

62-620.325
Revisions to Permit Conditions

62-620.340
Transfer of Permit

62-620.410
General Application Requirements

62-620.610
General Conditions for All Permits

62-620.620
Guidelines for Establishing Specific Permit Conditions

62-620.625
Additional Conditions Applicable to Specific Categories of Facilities

62-620.630
Additional Permit Conditions for Domestic Wastewater Facilities

62-620.910
Forms and Instructions

PURPOSE AND EFFECT: The Department of Environmental Protection (DEP) is proposing amendments to Chapter 62-620, F.A.C., to revise rule forms contained in Rule 62-620.910, F.A.C. DEP agreed in its current U.S. Environmental Protection Agency (EPA)/DEP Performance Plan Agreement, to update DEP forms related to the National Pollutant Discharge Elimination System (NPDES) to include all data required on current EPA NPDES wastewater forms. Form revisions also include updates to provide consistency with revisions made to other Department rules in recent years. Existing form adoption and incorporation language for all forms will be updated to be consistent with the Joint Administrative Procedures Committee (JAPC) requirements. The rule revisions update the adoption and incorporation language for DEP Forms in Rules 62-620.100, .310, .325, .340, .410, .610, .620, .625, .630, and .910, F.A.C.

SUMMARY: The Department is proposing revisions to update the NPDES-related wastewater forms in Chapter 62-620, F.A.C., for consistency with recent EPA and DEP rule changes, and to update the language in the chapter adopting and incorporating forms in the chapter.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency. 
The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: Based on the nature of the revisions to update the forms to include current, existing regulatory requirements, no new requirements or costs are being created.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 403.051(2)(a), 403.061(7) and (15), 403.087(1)-(2), 403.0882(3), 403.0885(2), 403.8055, FS
LAW IMPLEMENTED: 403.021, 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088, 403.0882, 403.0885, 403.141, 403.161 FS
IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN THE FAR.

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Maurice Barker, Senior Program Analyst, Division of Water Resource Management, MS 3545, 2600 Blair Stone Road, Tallahassee, FL 32399, (850)245-8614 or by email at Maurice.barker@Floridadep.gov.

THE FULL TEXT OF THE PROPOSED RULE IS:

62-620.100 Scope/Applicability/References.
(1) No change.
(2) Applicability.
(a) through (h) No change.
(i) For wastewater facilities which have both an existing Federal NPDES permit for which the Department has been granted administrative authority and an existing Department-issued permit for the same discharge to surface waters, the Department shall, after the implementation of this rule, revise those permits by issuing a letter to the permittee combining the two permits into one Department-issued permit. The letter revising the permits shall change the issuing agency name, include a Discharge Monitoring Report (DMR), DEP Form 62-620.910(10), effective November 29, 1994, http://www.flrules.org/Gateway/reference.asp?No=Ref-19010, hereby adopted and incorporated by reference, for reporting monitoring information, contain an expiration date for the combined permit, incorporate all of the permit conditions of both permits, and state that if there are conflicts between permit conditions, the more stringent condition shall supersede the less stringent. The existing permits shall be revised as follows:
1. through 3. No change. 
(j) through (n) No change. 
(o) Conditional exclusion for “no exposure” of industrial activities and materials to stormwater. Discharges composed entirely of stormwater are not stormwater discharges associated with industrial activity if there is “no exposure” of industrial materials and activities to precipitation and/or runoff, and the discharger satisfies the conditions in subparagraphs (o)1. through (o)3., of this rule. “No exposure” means that all industrial materials and activities are protected by a storm resistant shelter to prevent exposure to precipitation and/or runoff. Industrial materials or activities include, but are not limited to, material handling equipment or activities, industrial machinery, raw materials, intermediate products, by-products, final products, or waste products. Material handling activities include the storage, loading and unloading, transportation, or conveyance of any raw material, intermediate product, final product or waste product.
1. Qualification. To qualify for this exclusion, the operator of the discharge must:
a. No change.
b. Submit to the Department a completed and signed No Exposure Certification for Exclusion from NPDES Stormwater Permitting, DEP Form 62-620.910(17), effective February 17, 2009, http://www.flrules.org/Gateway/reference.asp?No=Ref-19016, is hereby adopted and entitled “No Exposure Certification for Exclusion from NPDES Stormwater Permitting,” effective 2-17-09, incorporated by reference and made part of this chapter, certifying that there are no discharges of stormwater contaminated by exposure to industrial materials and activities from the entire facility, except as provided in subparagraph (o)2., of this rule. This form may be obtained by writing the Department of Environmental Protection, NPDES Stormwater Notices Center, Mail Station #2510, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400, or from the Department’s website. The completed and signed DEP Form 62-620.910(17), and certification fee as required by subparagraph 62-4.050(4)(d)3., F.A.C., must be submitted either by mail to: Department of Environmental Protection, NPDES Stormwater Notices Center, Mail Station #2510, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400; or electronically using the Department’s Interactive Notice of Intent (iNOI) at https://floridadep.gov/water/stormwater http://www.dep.state.fl.us/water/stormwater/npdes/,
c. Renew the certification every 5 years on or before the expiration of each 5 year interval by filing a new completed and signed DEP Form 62-620.910(17) effective 2-17-09, and certification fee as required by subparagraph 62-4.050(4)(d)3., F.A.C., either by mail to the Department of Environmental Protection, NPDES Stormwater Notices Center, Mail Station #2510, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400 or electronically using the Department’s Interactive Notice of Intent (iNOI) at https://floridadep.gov/water/stormwater http://www.dep.state.fl.us/water/stormwater/npdes/, 
d. through e. No change. 
2. through 3. No change.
(3) through (4) No change. 
Rulemaking Authority 403.061, 403.087, 403.0885, 403.8055 FS. Law Implemented 403.061, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 3-2-00, 10-22-00, 10-23-00, 6-1-01, 8-25-03, 12-8-03, 12-23-04, 2-7-06, 3-13-06, 6-19-06, 7-10-06, 10-16-07, 11-28-07, 2-17-09, 3-15-10. 2-14-13, 6-24-15, 8-16-16, 4-6-18, 10-8-21, 9-8-25, xx-xx-xx.
62-620.310 Procedure to Obtain Permits.
(1) through (2) No change.
(3) A minimum of four copies of all applications and supporting documents which request a permit for discharges of wastes into waters regulated under Section 403.0885, F.S., and this chapter shall be filed with the Department at the appropriate district office listed in Wastewater Facility or Activity Permit Application Form 1, General Information the DEP Form 62-620.910(1), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19001, hereby adopted and incorporated by reference. Applications except applications for discharges from steam electric generating plants which shall be filed with the Department at its Tallahassee office. If the application is requesting a permit for a ground water discharge only, three copies of all applications and supporting documents shall be filed with the Department at the designated locations.
(4) through (10) No change.
Rulemaking Authority 403.061, 403.087, 403.0877 FS. Law Implemented 403.051, 403.061, 403.087, 403.0877, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, 12-23-04, 2-7-06, xx-xx-xx.
62-620.325 Revisions to Permit Conditions.
(1) No change.
(2) Minor Revisions.
(a) No change.
(b) Requests by the permittee for changes in ownership or operational control of a facility shall be made on DEP Form 62-620.910(1) (adopted and incorporated by reference in subsection 62-620.310(3), F.A.C., effective PROPOSED EFFECTIVE DATE) and Application for Transfer of a Wastewater Facility or Activity Permit, DEP Form 62-620.910(11), effective October 23, 2000, http://www.flrules.org/Gateway/reference.asp?No=Ref-19011, hereby adopted and incorporated by reference, provided that no other change in the permit is necessary. The request shall be accompanied by the processing fee set forth in Rule 62-4.050, F.A.C., and shall include a written agreement containing a specific date for transfer of permit responsibility, coverage, and liability between the current and new permittees. If other changes are necessary, requests shall be made in accordance with subsections of this section.
(c) Requests by the permittee for minor revisions to permit conditions, other than changes in ownership, shall be made on DEP Form 62-620.910(1) and Application for Minor Revision to a Wastewater Facility or Activity Permit, DEP Form 62-620.910(9), effective October 23, 2000, http://www.flrules.org/Gateway/reference.asp?No=Ref-19009, is hereby adopted and incorporated by reference.
1. through 2. No change.
(d) through (e) No change.
Rulemaking Authority 403.061, 403.087 FS. Law Implemented 403.051, 403.061, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, xx-xx-xx.
62-620.340 Transfer of Permit.
(1) No change.
(2) As an alternative to transfers under subsection (1) of this rule, and subject to subsection (3), below, a permit shall be automatically transferred to a new permittee if:
(a) The existing permittee notifies the Department on DEP Form 62-620.910(1) (adopted and incorporated by reference in subsection 62-620.310(3), F.A.C., effective PROPOSED EFFECTIVE DATE), and DEP Form 62-620.910(11) (adopted and incorporated by reference in paragraph 62-620.325(2)(b), F.A.C., effective October 23, 2000) at least 30 days in advance of the proposed transfer date;
(b) through (c) No change.
(3) through (6) No change.
Rulemaking Authority 403.051, 403.061, 403.087, 403.088, 403.0885, 403.08851 FS. Law Implemented 403.051, 403.061, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, xx-xx-xx.
62-620.410 General Application Requirements.
(1) The Department of Environmental Protection Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C., contains the general application requirements for a permit for wastewater facilities or activities, except for collection and transmission systems permitted under Chapter 62-604, F.A.C. The application requirements for minor modifications to a wastewater facility or activity include a description of the proposed modification and, if applicable, any reports, plans, and specifications which were developed to implement the modification. The application for minor modification to a wastewater facility or activity shall be made on DEP Form 62-620.910(9) (adopted and incorporated by reference in paragraph 62-620.325(2)(c), F.A.C., effective October 23, 2000).
(2) through (5) No change.
(6) Record drawings shall be prepared for new facilities or for substantial modifications to existing facilities permitted pursuant to this chapter. Record drawings shall be prepared and distributed as outlined in the Department of Environmental Protection Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C. Notification of availability of record drawings shall be made on Notification of Availability of Record Drawings and Final Operation and Maintenance Manuals, DEP Form 62-620.910(13), effective October 23, 2000, http://www.flrules.org/Gateway/reference.asp?No=Ref-19013, is hereby adopted and incorporated by reference.
(7) An applicant for a permit for a new wastewater facility or activity, or for substantial modifications to an existing wastewater facility or activity, shall submit Notification of Completion of Construction for Wastewater Facilities or Activities, DEP Form 62-620.910(12), effective October 23, 2000, http://www.flrules.org/Gateway/reference.asp?No=Ref-19012, is hereby adopted and incorporated by reference Notification of Completion of Construction for Wastewater Facilities or Activities, upon completion of construction.
Rulemaking Authority 403.061, 403.087 FS. Law Implemented 403.051, 403.061, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, xx-xx-xx.
62-620.610 General Conditions for All Permits.
All permits, except General and Generic Permits, issued by the Department under this chapter shall include the following conditions:
(1) through (17) No change.
(18) Sampling and monitoring data shall be collected and analyzed in accordance with Rule 62-4.246, Chapters 62-160 and 62-601, F.A.C., and 40 C.F.R. 136, (adopted and incorporated by reference in paragraph 62-620.100(3)(j), F.A.C., effective June 17, 2024), as appropriate.
(a) Monitoring results shall be reported at the intervals specified elsewhere in this permit and shall be reported on a Discharge Monitoring Report (DMR), DEP Form 62-620.910(10) (adopted and incorporated by reference in paragraph 62-620.100(2)(i), F.A.C., effective November 29, 1994), or as specified elsewhere in the permit.
(b) through (f) No change.
(19) No change. 
(20) The permittee shall report to the Department any noncompliance which may endanger health or the environment. Any information shall be provided orally within 24 hours from the time the permittee becomes aware of the circumstances. A written submission shall also be provided within five days of the time the permittee becomes aware of the circumstances. The written submission shall contain a description of the noncompliance and its cause; the period of noncompliance including exact dates and times, and if the noncompliance has not been corrected, the anticipated time it is expected to continue; clean up actions taken and status; and steps taken or planned to reduce, eliminate, and prevent recurrence of the noncompliance. For noncompliance events related to sanitary sewer overflows, bypass events, or unauthorized discharges, these reports must include the data described above (with the exception of time of discovery) as well as the type of event (e.g., sanitary sewer overflow, bypass, unauthorized discharge); type of sanitary sewer overflow structure (e.g., manhole); the discharge location address and latitude/longitude; type of water discharged; discharge volumes and volumes recovered; volume discharged to surface waters and receiving waterbody name; types of human health and environmental impacts of the sanitary sewer overflow, bypass event, or unauthorized discharge (e.g., beach closure); whether the noncompliance was caused by a third thrid party; and whether the noncompliance was related to wet weather. The written submission may be provided electronically using the Department’s Business Portal at http://www.fldepportal.com/go/ (via “Submit” followed by “Report” or “Registration/Notification”). Notice required for public notice of pollution under paragraph (d) may be provided together with the written submission using the Business Portal. All noncompliance events related to sanitary sewer overflows or bypass events submitted after (September 14, 2021), shall be submitted electronically. 
(a) through (e) No change.
(21) through (23) No change.
Rulemaking Authority 403.061, 403.077, 403.087 FS. Law Implemented 403.051, 403.061, 403.077, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, 4-17-02, 12-23-04, 2-7-06, 9-14-21, xx-xx-xx.
62-620.620 Guidelines for Establishing Specific Permit Conditions.
(1) No change.
(2) Permit conditions shall be established for the following:
(a) No change.
(b) Production-based limitations.
1. through 3. No change.
4. If the Department establishes permit conditions under subparagraph 3., of this paragraph subsection:
a. through b. No change.
c. The permittee shall submit with the Discharge Monitoring Report, DEP Form 62-620.910(10) (adopted and incorporated by reference in paragraph 62-620.100(2)(i), F.A.C., effective November 29, 1994), the level of production that actually occurred during each month and the limitations, standards, or prohibitions applicable to that level of production.
(c) through (j) No change.
(3) through (6) No change.
Rulemaking Authority 403.061, 403.087, 403.8055 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.087, 403.088, 403.0885, 403.141, 403.161 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, 4-2-08, xx-xx-xx.
62-620.625 Additional Conditions Applicable to Specific Categories of Facilities.
(1) through (5) No change.
(6) Pursuant to section 403.0882, F.S., the Florida Legislature has determined that it is in the public interest to promote alternative water supplies and brackish water demineralization as an alternative to withdrawals of groundwater and surface water. Within subsection 62-620.625(6), F.A.C., the terms “demineralization concentrate” and “concentrate” are used synonymously. 
(a) The following provisions apply to all facilities that discharge demineralization concentrate, as defined in subsection 62-620.200(11), F.A.C.:
1. through 2. No change.
3. Direct discharge of concentrate to waters shall require an individual wastewater facility permit under this chapter using DEP Permit Application DEP Form 2DC Permit to Discharge Demineralization Concentrate, DEP Form 62-620.910(18), effective July 10, 2006, http://www.flrules.org/Gateway/reference.asp?No=Ref-19017, is hereby adopted and incorporated by reference. as referenced in subsection 62-620.910(18), F.A.C.
4. through 14. No change.
(b) through (d) No change.
Rulemaking Authority 403.061, 403.087, 403.088, 403.0882(3), 403.0885, 403.08851, 403.8055 FS. Law Implemented 403.061, 403.087, 403.088, 403.0882, 403.0885 FS. History–New 11-29-94, Amended 2-7-06, 7-10-06, xx-xx-xx.
62-620.630 Additional Permit Conditions for Domestic Wastewater Facilities.
(1) No change.
(2) Except for reuse systems permitted under Part III of Chapter 62-610, F.A.C., the permittee shall submit notification of completion of construction on DEP Form 62-620.910(12) (adopted and incorporated by reference in subsection 62-620.410(7), F.A.C., effective October 23, 2000), prior to placing the newly constructed or modified portion of an existing facility into operation or any individual unit processes into operation, for any purpose other than testing for leaks and equipment operation, and shall:
(a) No change.
(b) Provide notification to the Department on DEP Form 62-620.910(13) (adopted and incorporated by reference in subsection 62-620.410(6), F.A.C., effective October 23, 2000), that a draft operation and maintenance manual pursuant to Chapters 62-600 and 62-610, F.A.C., as applicable, is available at a specified location. This document shall contain instructions for the start-up, operation, and maintenance of the facilities during this initial operation period.
(3) No change.
(4) Reuse systems permitted under Chapter 62-610, Part III, F.A.C., shall not be placed in service for any purpose without written approval from the Department. For projects identified in the permit as being constructed in phases, written permission is only required for the first phase. Written application shall be made using the appropriate form from Rule 62-610.300, F.A.C. The following items shall be submitted in support of a request to place a part III reuse system into operation:
(a) Notification of completion pursuant to paragraph 62-620.630(2)(a), F.A.C., except that certification shall be provided on DEP Form 62-610.300(3)(a)3. (adopted and incorporated by reference in subparagraph 62-610.300(3)(a)3., F.A.C., effective August 8, 2021), 62-610.300(4)(a)3. instead of DEP Form 62-620.910(12);
(b) Notification that an appropriate draft operation and maintenance manual, addition to the plant operation and maintenance manual, or separate instruction booklet is available pursuant to paragraph 62-620.630(2)(b), F.A.C., except that certification shall be provided on DEP Form 62-601.300(3)(a)3. 62-610.300(4)(a)3., instead of DEP Form 62-620.910(13);
(c) through (d) No change.
(5) through (6) No change.
(7) Within six months after a facility is placed in operation, the permittee shall provide written certification on DEP Form 62-620.910(13), (adopted and incorporated by reference in subsection 62-620.410(6), F.A.C., effective October 23, 2000) that record drawings pursuant to Chapter 62-600, F.A.C., and that an appropriate operation and maintenance manual pursuant to Chapters 62-600 and 62-610, F.A.C., as applicable, are available in a specified location.
(8) through (11) No change.
Rulemaking Authority 403.061, 403.087 FS. Law Implemented 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 10-23-00, 12-23-04, xx-xx-xx.
62-620.910 Forms and Instructions.
The forms and instructions used by the Department for the wastewater facilities or activities permitting and compliance program are listed in this part. Copies of the forms and instructions may be obtained at the Department District Offices. The Department adopts and incorporates by reference in this section the following forms and instructions:
(1) Wastewater Facility or Activity Permit Application Form 1, General Information, DEP Form 62-620.910(1) (adopted and incorporated by reference in subsection 62-620.310(3), F.A.C., effective PROPOSED EFFECTIVE DATE). effective July 10, 2006, Revised July 30, 2010.
(2) Application Form 2A, Permit for Domestic Wastewater Treatment and Reuse or Disposal Facility, DEP Form 62-620.910(2), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19002, is hereby adopted and incorporated by reference. June 1, 2001
(3) Wastewater Application Form 2B, Permit to Discharge Wastewater From Concentrated Animal Feeding Operations and Aquatic Animal Production Facilities, DEP Form 62-620.910(3), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19003, is hereby adopted and incorporated by reference December 8, 2003.
(4) Wastewater Application Form 2CG, Permit to Discharge Process Wastewater from New or Existing Industrial Wastewater Facilities to Ground Water, DEP Form 62-620.910(4), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19004, is hereby adopted and incorporated by reference November 29, 1994.
(5) Wastewater Application Form 2CS, Permit to Discharge Process Wastewater from New or Existing Industrial Wastewater Facilities to Surface Water, DEP Form 62-620.910(5), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19005, is hereby adopted and incorporated by reference November 29, 1994.
(6) Wastewater Application Form 2EG, Permit to Discharge Non-Process Wastewater to Ground Water, DEP Form 62-620.910(6), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19006, is hereby adopted and incorporated by reference November 29, 1994.
(7) Wastewater Application Form 2ES, Permit to Discharge Non-Process Wastewater to Surface Water, DEP Form 62-620.910(7), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19007, is hereby adopted and incorporated by reference November 29, 1994.
(8) Application Form 2F, Permit to Discharge Stormwater Associated with Industrial Activity, DEP Form 62-620.910(8), effective PROPOSED EFFECTIVE DATE, http://www.flrules.org/Gateway/reference.asp?No=Ref-19008, is hereby adopted and incorporated by reference October 23, 2000.
(9) Application for Minor Revision to a Wastewater Facility or Activity Permit, (adopted and incorporated by reference in paragraph 62-620.325(2)(c), F.A.C., effective October 23, 2000).
(10) Discharge Monitoring Report (DMR), (adopted and incorporated by reference in paragraph 62-620.100(2)(i), F.A.C., effective November 29, 1994).
(11) Application for Transfer of a Wastewater Facility or Activity Permit, (adopted and incorporated by reference in paragraph 62-620.325(2)(b), F.A.C., effective October 23, 2000).
(12) Notification of Completion of Construction for Wastewater Facilities or Activities, (adopted and incorporated by reference in subsection 62-620.410(7), F.A.C., effective October 23, 2000).
(13) Notification of Availability of Record Drawings and Final Operation and Maintenance Manuals, (adopted and incorporated by reference in subsection 62-620.410(6), F.A.C., effective October 23, 2000).
(14) Wastewater Application Form 2CR, Permit to Operate a Non-Discharging/Closed Loop Recycle System, DEP Form 62-620.910(14), effective November 29, 1994, http://www.flrules.org/Gateway/reference.asp?No=Ref-19014, is hereby adopted and incorporated by reference.
(15) Reclaimed Water or Effluent Analysis Report, has been superseded by paragraph 62-610.300(3)(c), F.A.C. effective July 1, 1991.
(16) Request for Approval of Monitoring Plans for Discharge of Domestic Wastewater to Wetlands, DEP Form 62-620.910(16), effective August 15, 1986, http://www.flrules.org/Gateway/reference.asp?No=Ref-19015, is hereby adopted and incorporated by reference. 
(17) No Exposure Certification for Exclusion from NPDES Stormwater Permitting, (adopted and incorporated by reference in sub-subparagraph 62-620.100(2)(o)1.b., F.A.C., effective February 17, 2009 June 1, 2001.
(18) Application Form 2DC, Permit to Discharge Demineralization Concentrate, (adopted and incorporated by reference in subparagraph 62-620.625(6)(a)3., F.A.C., effective July 10, 2006.
Rulemaking Authority 403.061, 403.8055 FS. Law Implemented 403.051, 403.061, 403.087, 403.088, 403.0885 FS. History–New 11-29-94, Amended 12-24-96, 10-23-00, 6-1-01, 12-8-03, 7-10-06, xx-xx-xx.
NAME OF PERSON ORIGINATING PROPOSED RULE: Maurice Barker, Senior Program Analyst, Division of Water Resource Management, MS 3545, 2600 Blair Stone Road, Tallahassee, FL 32399, (850)245-8614 or by email at Maurice.barker@Floridadep.gov.

Public participation is solicited without regard to race, color, religion, sex, pregnancy, national origin, age, handicap, or marital status. Persons who require special accommodations under the American with Disabilities Act (ADA) or persons who require translation services (free of charge) are asked to contact DEP’s Limited English Proficiency Coordinator at (850)245-2118 or LEP@FloridaDEP.gov at least ten (10) days before the hearing. If you have a hearing or speech impairment, please contact the agency using the Florida Relay Service, (800)955-8771 (TDD) or (800)955-8770 (voice).

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Alexis A. Lambert, Secretary

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: November 7, 2025

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: March 7, 2025
