Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal
NOTICE IS HEREBY GIVEN that Department of Financial Services, Division of State Fire Marshal (Department) has received the petition for declaratory statement from Daniel M Pohlar and Kelly A Pohlar on August 21, 2025The petition seeks the agency's opinion as to the applicability of FS 553.895(2), FFPC-1 (NFPA-1), Section 13.3.2.4, FS 633.208(3), FS 633.208(8), and FS 633.208(9) as it applies to the petitioner.
1) Does the explicit exclusion of stand-alone, single-family and two-family dwellings, three-storeys or more, provided in FS 553.895(2), prevail/supersede FFPC-1 (NFPA-1), Section 13.3.2.4 requirements, when no approved amendment at the local level has been adopted to authorize stricter fire sprinkler requirements for such dwellings? 2) Is it consistent with the intent of Florida law for a local government to require the installation of fire sprinklers in a stand-alone, three-storeys or more, one-or-two-family dwelling solely on the basis of FFPC-1 (NFPA-1), Section 13.3.2.4, without first complying with the procedural and statutory requirements for adopting a stricter fire standard/code as set forth in FS 633.208(3) or FS 633.208(8), and FS 633.208(9)?
A copy of the Petition for Declaratory Statement may be obtained by contacting: Sarah Marcos: Sarah.Marcos@myfloridacfo.com
