Notice of Development of Rulemaking

DEPARTMENT OF ENVIRONMENTAL PROTECTION
RULE NOS.:
RULE TITLES:

62-762.101
Intent

62-762.201
Definitions

62-762.211
Reference Guidelines

62-762.301
Applicability

62-762.401
Facility Registration

62-762.411
Notification

62-762.421
Financial Responsibility

62-762.431
Incidents

62-762.441
Discharges

62-762.501
System Requirements for Shop Fabricated Storage Tanks

62-762.502
System Requirements for Field Erected Storage Tanks

62-762.601
Release Detection Requirements for Shop Fabricated Storage Tanks

62-762.602
Release Detection Requirements for Field Erected Storage Tank Systems

62-762.701
Repairs, Operation and Maintenance of Shop Fabricated Storage Tank Systems

62-762.702
Repairs, Operation and Maintenance of Field Erected Storage Tank Systems

62-762.711
Recordkeeping

62-762.801
Out-of-Service and Closure Requirements for Shop Fabricated Storage Tank Systems

62-762.802
Out-of-Service and Closure Requirements for Field Erected Storage Tank Systems

62-762.851
Alternative Procedures and Equipment Registration

62-762.891
Mineral Acid Storage Tank Requirements

62-762.901
Storage Tank Forms

PURPOSE AND EFFECT: The Division of Waste Management proposes to amend Chapter 62-762, F.A.C., Aboveground Storage Tank Systems, to make updates and clarifications to the rules as well as adding new requirements to protect the waters of the State of Florida. Some of the proposed amendments for this chapter are in response to DEP’s 2025 rule review pursuant to Section 120.5435, Florida Statutes.

SUBJECT AREA TO BE ADDRESSED: The current proposed amendments include clarifying regulatory language not previously revised and addressing statutory requirements presented during the 2025 rule review. The amendments also include adding and clarifying several definitions, removing obsolete language, updating reference guidelines to the newest editions, adding a new provision to test shear valves annually, adding a requirement for ASTs to be labeled with the appropriate DEP Facility ID, requiring facilities wanting to do a limited closure to be in compliance at the time of closure, updating two forms and the guidance document Instructions for Conducting Sampling During Aboveground Storage Tank Closure.

RULEMAKING AUTHORITY: 376.303, 376.322(3), 403.087 FS.
LAW IMPLEMENTED: 376.031, 376.30, 376.301, 376.303, 376.3077, 376.30716, 376.3073, 376.308, 376.309, 376.320, 376.321, 376.322, 376.323, 376.324, 376.325, 403.077, 403.087, 403.091, 403.141, 403.161, 487.021, FS.

A RULE DEVELOPMENT WORKSHOP WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW:

DATE AND TIME: February 19, 2026, 1:00 p.m. to no later than 3:30 p.m.

PLACE: DEP Douglas Building, 3900 Commonwealth Blvd., Conference Room 137, Tallahassee, FL.

The public may attend this workshop in person or virtually via Microsoft Teams. To attend virtually, please contact Natasha "Tash" Toth to register at tanknotify@dep.state.fl.us. After registering you will receive a confirmation email containing a link to join the workshop virtually.

Public participation is solicited without regard to race, color, religion, sex, pregnancy, national origin, age, handicap, or marital status. Persons who require special accommodations to participate in this workshop under the American Disability Act (ADA) or persons who require translation services (free of charge) are asked to contact DEP’s Limited English Proficiency Coordinator within ten (10) days of publication of this notice at (850)245-2118 or LEP@FloridaDEP.gov. If you have a hearing or speech impairment, please contact the agency using the Florida Relay Service, (800)955-8771 (TDD) or (800)955-8770 (voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE DEVELOPMENT AND A COPY OF THE PRELIMINARY DRAFT, IF AVAILABLE, IS: Natasha "Tash" Toth. Please contact Tash by email at tanknotify@dep.state.fl.us, or Natasha.Toth@FloridaDEP.gov, or by phone at (850)245-8905, or by writing to the Department of Environmental Protection, MS 4550, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400. The draft rule revision documentation is available online at https://floridadep.gov/waste.

THE PRELIMINARY TEXT OF THE PROPOSED RULE DEVELOPMENT IS AVAILABLE AT NO CHARGE FROM THE CONTACT PERSON LISTED ABOVE.
