Notice of Proposed Rule

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal
RULE NO.:
RULE TITLE: 
69A-46.041
Inspection Requirements for Fire Protection Systems

PURPOSE AND EFFECT: The proposed rulemaking will update the Uniform Inspection, Testing, and Maintenance Report (ITM) Form incorporated by reference to align with statutory changes to section 633.312(3)(b), F.S.

SUMMARY: This rulemaking updates the ITM Form to align with statutory changes to section 633.312(3)(b), F.S.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: The Department conducted a regulatory analysis to determine if there is an adverse impact or regulatory costs associated with this rule that exceeds the criteria in section 120.541(2)(a), F.S. Based upon this analysis, and s. 120.541, F.S., the Department has determined that the proposed rule is not expected to require legislative ratification.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 633.104, 633.308, 633.312 F.S.
LAW IMPLEMENTED: 633.306, 633.308, 633.312, 633.338 F.S.
IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN THE FAR.

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: John Gatlin, Assistant Director at, (850)413-3612 or DSFM.Rules@myfloridacfo.com

THE FULL TEXT OF THE PROPOSED RULE IS:

69A-46.041 Inspection Requirements for Fire Protection Systems.
(1) through (6) No change.
(7) Form DFS-K3-2015, Uniform Summary Inspection, Testing, and Maintenance (ITM) Report (Eff. 11/2025) (Eff. 03/2021) must be provided to the local AHJ by the contractor, as mutually agreed between the contractor and the local AHJ, using one of the following means: (a) by United States mail; (b) by hand delivery; (c) by electronic submission; or (d) through a third-party vendor that collects the reports on behalf of the local AHJ. Form DFS-K3-2015 is hereby incorporated by reference and is available on the following link: http://www.flrules.org/Gateway/reference.asp?No=Ref-18748 http://www.flrules.org/Gateway/reference.asp?No=Ref-13339; or on the Division’s website at: myfloridacfo.com/Division/SFM; or by contacting the Regulatory Licensing Section, Bureau of Fire Prevention, Division of State Fire Marshal, 200 E. Gaines Street, Tallahassee, Florida 32399-0342, Phone: (850)413-3610.
(8) through (11) No change.
Rulemaking Authority 633.104, 633.308, 633.312 FS. Law Implemented 633.306, 633.308, 633.312, 633.338 FS. History–New 10-20-93, Amended 11-21-01, Formerly 4A-46.041, Amended 5-18-08, 7-19-16, 9-1-21, ______.
NAME OF PERSON ORIGINATING PROPOSED RULE: John Gatlin, Assistant Director of the Division of State Fire Marshal

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Blaise Ingoglia, Chief Financial Officer

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: December 11, 2025

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: July 31, 2025
