Notice of Change/Withdrawal

AGENCY FOR HEALTH CARE ADMINISTRATION
Health Facility and Agency Licensing
RULE NO.: 
RULE TITLE:

59A-4.1265
Emergency Environmental Control for Nursing Homes

NOTICE OF CORRECTION

Notice is hereby given that the following correction has been made to the proposed rule in Vol. 51 No. 199, October 13, 2025 issue of the Florida Administrative Register.

59A-4.1265 Emergency Environmental Control for Nursing Homes.
(1) DETAILED NURSING HOME EMERGENCY POWER PLAN. Each nursing home shall prepare a detailed plan (“plan”), to serve as a supplement to its Comprehensive Emergency Management Plan, to address emergency power in the event of the loss of primary electrical power in that nursing home, which includes the following information:
(a) The acquisition of a sufficient alternate power source such as a generator(s), maintained at the nursing home, to ensure that current licensees of nursing homes will be equipped to ensure the protection of resident health, safety, welfare, and comfort for a minimum of ninety-six (96) hours in the event of the loss of primary electrical power. Safe indoor air temperatures in resident occupied areas shall be determined by the licensee to meet the clinical needs of residents, but shall not exceed eighty-one (81) degrees Fahrenheit.
1. Nursing Homes must comply with emergency power requirements outlined in Title 42 C.F.R. §483.90 Chapter IV, Subchapter G, Part 483.90.
2. through 4. No Change.
(b) through (c) No Change.
(2) through (8) No Change.
Rulemaking Authority 400.23, FS. Law Implemented 400.23, FS. History–New 3-26-18, Amended__________.
