Miscellaneous
DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
Notice of Florida Building Code Binding Interpretation

NOTICE IS HEREBY GIVEN THAT the Binding Interpretation Panel has issued a binding interpretation pursuant to Section 553.775, Florida Statutes, in response to a petition submitted by Jared Blount, and accepted by BOAF on January 7, 2026. The following is a summary of the interpretation:

Question: Is replacement of windows considered a modification to the building’s structural system and therefore required to meet the requirements of Section 110.8.1 of the Florida Building Code, Building, 8th Edition (2023)?

Answer: The answer to the Petitioner’s question is yes. The replacement of windows constitutes a modification of the building’s structural system. Accordingly, this work is required to comply with Section 110.8.1 of the Florida Building Code, Building, 8th Edition (2023).
