Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION
RULE NO.:
RULE TITLE:
62-610.414
Storage Requirements

NOTICE IS HEREBY GIVEN that on January 14, 2026, the Department of Environmental Protection, received a petition for a variance from Desoto County. The petition requested a variance from subsection 62-610.414(7), F.A.C., which requires all slow rate land application systems for wastewater effluent reuse to maintain a system storage pond with a minimum of three feet of freeboard. The requested variance is for the Desoto County Regional Wastewater Treatment Facility to temporarily decrease the available freeboard to two and a half feet during the duration of installing their underground injection well systems. The facility also requested a variance from paragraphs 62-610.414(2)(b), F.A.C. and 62-610.414(2)(c), F.A.C., which requires the facility to meet a minimum storage capacity. The facility is located at County Road 31 S, Arcadia, Florida 34266. The petition has been assigned OGC No. 26-0142 and File No. FLA530808-015-DW1P.
A copy of the Petition for Variance or Waiver may be obtained by contacting: Gabriela Hasher, South District Office, Department of Environmental Protection, 2295 Victoria Ave, Suite 364, Fort Myers, Florida 33901, telephone: (239)344-5692, email: Gabriela.Hasher@FloridaDEP.gov , during normal business hours, 8:00 a.m. - 5:00 p.m., Monday through Friday, except legal holidays. Written comments must be received by the Department of Environmental Protection no later than 14 days from the date of publication of this notice.
