Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On January 29, 2026, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from RLR Investments LLC located at 1750 N 80 Ave., Ocala, FL 34482, filed December 10, 2025, and advertised on December 16, 2025, in Vol. 51, No. 242, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.8.2.4, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that may require a means to include a system for testing fire-alarm initiating devices without entering the hoistway in jurisdictions enforcing the NBCC or NFPA72, provided it uses approved air-sampling or enclosed-device methods that meet strict rules for rated access panels, secure self-closing doors, noncombustible protective cages with required strength and clearances, limited hoistway intrusion, and coordination of installation locations with the elevator installer, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2025-132).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, elevators.dhr@myfloridalicense.com.
