Notice of Proposed Rule

AGENCY FOR HEALTH CARE ADMINISTRATION
Health Facility and Agency Licensing
RULE NO.:
RULE TITLE: 
59A-3.248
Pediatric Cardiac Programs

PURPOSE AND EFFECT: Pursuant to changes in section 395.1055, F.S., the Agency, in consultation with the Pediatric Cardiac Technical Advisory Panel (PCTAP), proposes to create a new rule to establish standards for pediatric cardiac catheterization and pediatric cardiovascular surgery programs.

SUMMARY: Pursuant to changes in section 395.1055, F.S., the Agency, in consultation with the Pediatric Cardiac Technical Advisory Panel (PCTAP), proposes to create a new rule to establish standards for pediatric cardiac catheterization and pediatric cardiovascular surgery programs.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency. 
The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: A SERC has not been prepared by the agency. For rules listed where no SERC was prepared, the Agency prepared a checklist for each rule to determine the necessity for a SERC. Based on this information at the time of the analysis and pursuant to section 120.541, Florida Statutes, the rule will not require legislative ratification.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 395.1055, F.S.

LAW IMPLEMENTED: 395.1055, F.S.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW (IF NOT REQUESTED, THIS HEARING WILL NOT BE HELD): 
DATE AND TIME: March 3, 2026, 2:00 p.m. – 3:00 p.m.

PLACE: Agency for Health Care Administration, 2727 Mahan Drive, Tallahassee, Florida, 32308, Building 3, Conference Room A. You may also participate by dialing the Open Voice conference line, 1(888)585-9008, then enter the conference room number followed by the pound sign, 998-518-088#. The agenda and related materials can be found on the web at: https://ahca.myflorida.com/health-quality-assurance/bureau-of-health-facility-regulation/rulemaking. 
Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 3 days before the workshop/meeting by contacting: HQARuleComments@ahca.myflorida.com. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Kelli Fillyaw at (850)412-4402, or by email at: HQARuleComments@ahca.myflorida.com.

THE FULL TEXT OF THE PROPOSED RULE IS:

59A-3.248 Pediatric Cardiac Programs.
(1) Licensure. No hospital may provide pediatric cardiac services without first obtaining a license pursuant to this rule, and Chapters 395, Part I, and 408, Part II, F.S.
(a) A hospital authorized to provide pediatric cardiac catheterization and angioplasty, and pediatric open heart surgery prior to July 1, 2019, shall be licensed to provide pediatric cardiac services as of the effective date of this rule and must comply with the provisions of this rule within one year from the effective date.
(b) Initial. A hospital seeking to provide pediatric cardiac services must submit a hospital licensure application for Agency approval as specified in subsection 59A-3.066(2), F.A.C., which includes:
1. Approval from the Agency’s Office of Plans and Construction pursuant to Rule 59A-3.080, F.A.C., of the hospital’s operating rooms and cardiac catheterization laboratories to be used for pediatric cardiac services; and
2. Affirmation that the hospital meets the requirements of this rule.
(c) Renewal. The hospital’s chief executive officer or designee must attest as part of the biennial licensure renewal application as specified in subsection 59A-3.066(2), F.A.C., that the requirements of this rule continue to be met.
(2) Quality of Care.
(a) A hospital providing pediatric cardiac services must:
1. Ensure all staff participating as members of a catheterization team or cardiovascular surgery team, including physicians, nurses, and technical staff, participate in a 24-hours per day, 7 days per week call schedule capable of rapid mobilization of the team(s) such that all on-call team members are present in the facility and ready to provide services and care within 30 minutes for emergency catheterization procedures or cardiovascular surgery;
2. Develop a quality assurance and improvement program, including a risk adjustment surgical procedure protocol following the guidelines established by the Society of Thoracic Surgeons, to monitor processes and outcomes, analyze data, and identify system improvements for each component of pediatric cardiac services, and integrate the program into the hospital-wide quality improvement program as required by Rule 59A-3.271, F.A.C.;
3. Have a dedicated intensive care unit or component within a unit for pediatric acquired or congenital heart disease patients with personnel specially trained as provided in subsection (3) of this rule;
4. Have a Level III or Level IV neonatal intensive care unit;
5. Have written policies and procedures for the transition of care from pediatric to adult congenital services, including providing information on recommendations on endocarditis prophylaxis, anticoagulation therapy, diet, weight control, contraception, pregnancy risk with referral to maternal-fetal medicine physicians as appropriate, employment, education, and exercise limitations;
6. Provide adult congenital heart disease patients contraception, pre-pregnancy and genetic counseling, and fetal echocardiography studies, as appropriate; and
7. Participate in national registries as specified in subsection (7) of this rule.
(b) Each hospital must have the capability to provide:
1. Immediate endocardiac catheter pacemaking in cases of cardiac arrest;
2. Pressure recording for monitoring and evaluation of all cardiovascular parameters;
3. Repair or replacement of heart valves;
4. Repair of congenital heart defects;
5. Emergency cardiac catheterization for interventions, including septostomy;
6. Repair or reconstruction of intrathoracic vessels, and
7. Treatment of penetrating and blunt force cardiac injury.
(c) Ambulatory care clinics serving pediatric cardiac conditions and adult congenital heart disease patients must:
1. Meet the requirements for ambulatory care services as described in subsection 59A-3.244(1), F.A.C.;
2. Have an exercise physiology laboratory providing arrhythmia (holter) monitoring, implanted electronic device monitoring, exercise and metabolic stress testing, imaging, and pulmonary function testing to meet the needs of pediatric and adult congenital heart disease patients;
3. Have a board certified pediatric cardiologist immediately available whenever a stress test is being performed;
4. Have a licensed APRN or PA to coordinate care for adult congenital heart disease patients;
5. Conduct stress testing with at least one staff who is Pediatric Advanced Life Support or Advanced Cardiac Life Support certified in the room at all times with the patient during the test; and
6. Have at least one Basic Life Support certified cardiology technologist or respiratory care practitioner immediately available whenever a stress test is being performed.
(d) Hospitals providing birthing services must have a neonatal screening program using pulse oximetry to detect critical congenital heart disease.
(e) Each hospital must have policies and procedures for accommodating a parent, relative or guardian of a pediatric patient to reside overnight with the patient.
(3) Personnel.
(a) Medical Director. Pediatric cardiac services must be under the direction of one or more physician members of the hospital’s organized medical staff.
1. The pediatric cardiac catheterization laboratory and ambulatory care cardiac clinic must be under the direction of a physician board certified or eligible by the Sub-Board of Pediatric Cardiology of the American Board of Pediatrics.
2. Electrophysiology services must be under the direction of a pediatric electrophysiologist board certified by the Sub-Board of Pediatric Cardiology of the American Board of Pediatrics and by the International Board of Heart Rhythm Examiners.
3. Adult congenital cardiac services must be under the direction of a physician board certified in Adult Congenital Heart Disease, American Board of Internal Medicine.
4. The pediatric intensive care unit must be under the direction of a board certified pediatric intensivist or a board certified pediatric cardiologist with demonstrated expertise in critical cardiac congenital care.
5. Notwithstanding any provision to the contrary, the requirements of subparagraphs (3)(a)1. through (3)(a)4. may be satisfied by a physician who is not board certified, or who is not eligible to be board certified due to foreign training or similar circumstances, upon documentation of education, training, or equivalent alternative certification acceptable to the hospital’s governing board or designated credentialing committee.
(b) Medical Staff. The medical director(s) must ensure trained and qualified physician members of the organized medical staff are available at all times to meet the needs of patients.
1. The physician-in-charge of a cardiac catheterization procedure must be board certified or eligible by the Sub-Board of Pediatric Cardiology of the American Board of Pediatrics.
2. The physician-in-charge of an electrophysiology procedure must be a pediatric electrophysiologist board certified by the Sub-Board of Pediatric Cardiology of the American Board of Pediatrics.
3. At least one pediatric cardiovascular surgeon member of the organized medical staff must be board certified or eligible by the American Board of Thoracic Surgery, specialty certification in congenital cardiac surgery.
4. Board eligible physicians must be board certified within 5 years of becoming eligible.
5. A physician who is not board certified, or who is not eligible due to foreign training or similar circumstances may provide pediatric cardiac services, including as physician-in-charge of a cardiac catheterization procedure, physician-in-charge of electrophysiology procedures, or pediatric cardiovascular surgeon upon documentation of education, training, or equivalent alternative certification acceptable to the medical director and hospital’s governing board or designated credentialing committee.
6. A cardiovascular surgery team, including an anesthesiologist and thoracic surgeon must be immediately available during interventional and electrophysiology cardiac catheterizations.
7. The organized medical staff membership must contain a complement of physicians with training and experience with pediatric cardiac patients to be available for consultation including:
a. Pediatric cardiologists;
b. Pediatric sub-specialists with expertise in hematology, nephrology, neurology, infectious disease, critical care, genetics, gastroenterology and pulmonology;
c. Pediatric radiologists;
d. Pediatric anesthesiologists;
e. Pediatric intensivists; and
f. Pathologists with skills and training in cardiovascular pathology.
8. All physicians caring for adult congenital heart disease patients must be Advanced Cardiac Life Support certified.
(c) Nursing Staff. Each hospital unit in which pediatric cardiac services are provided must have registered nurses on duty at all times sufficient to ensure immediate availability to any patient when needed.
1. The cardiac catheterization, electrophysiology and cardiovascular surgical services must have registered nurses with special training in cardiovascular techniques in the care of pediatric and adult congenital heart disease patients and have skills in the pre- and post-procedure evaluations and provision of instruction to the patient and their family members, including intensive care and convalescent care.
2. Registered nurses providing care in the cardiac catheterization and electrophysiology laboratories must be trained in cardiovascular implantable electronic device management and be certified in Basic Life Support and Pediatric Advanced Life Support.
3. Registered nurses providing care in the cardiac intensive care unit must have training with validated competencies in caring for congenital heart patients.
(d) Additional Staff. Each hospital providing pediatric cardiac services must have perfusionists, cardiovascular technologists, respiratory therapists, radiologic technicians, clinical laboratory personnel, and social workers available at all times sufficient to meet the needs of any patient.
1. Cardiovascular technologists must be credentialed as a Registered Cardiovascular Invasive Specialist or Registered Cardiac Electrophysiology Specialist or must complete a hospital-based education and training program acceptable to the medical director.
2. Cardiovascular technologists serving as the cardiovascular recorder must have no other duties during a procedure.
(4) Physical Plant Requirements.
The Florida Building Code contains the physical plant requirements for cardiac catheterization laboratories and operating suites for cardiac surgery operated by a licensed hospital. The addition or renovation of cardiac catheterization laboratories and operating suites are subject to the Florida Building Code applicable at the time of construction or renovation, and are reviewed by the Agency as required by section 395.0163, F.S.
(5) Equipment.
(a) Each hospital must have policies and procedures for the selection, procurement, use, and maintenance of age- and size-appropriate equipment used for pediatric cardiac services, and must document preventive and daily maintenance activities following manufacturer’s directions.
(b) Each hospital unit in which pediatric cardiac services are provided must have:
1. A protocol for handling emergency conditions related to the breakdown of essential equipment, including the immediate availability of personnel trained in equipment repair and maintenance.
2. A crash cart containing the necessary medication and age- and size-appropriate equipment for ventilatory support. A listing of all crash cart contents must be readily available. At the beginning of each shift, the crash cart must be checked for an intact lock; the defibrillator and corresponding equipment must be checked for function and operational capacity. A log must be maintained indicating the review.
3. A quality improvement program for radiographic imaging systems must include measures of image quality, dynamic range and modulation transfer function.
(c) Each hospital must have age- and size-appropriate equipment available for patients receiving pediatric cardiac services, including:
1. Multi-dimensional imaging equipment for magnetic resonance imaging/magnetic resonance angiography (MRI/MRA), computed tomography, echocardiography, and scintigraphy;
2. A special procedure x-ray room with diagnostic x-ray examination table;
3. X-ray equipment with the capability in cineangiocardiography, or equipment with similar capabilities;
4. An automatic injector;
5. An electrocardiograph;
6. A multi-channel electrophysiology recording system;
7. A cardiopulmonary monitoring system;
8. Emergency equipment, including temporary pacemaker units with catheters, ventilatory assistance devices, and a DC defibrillator;
9. Biplane angiography, with framing rates of 30-60 fps and injection rates of up to 40 mL/s;
10. Extracorporeal Membrane Oxygenation machine;
11. Treadmill or cycle ergometer;
12. Blood pressure cuffs; and
13. Oxygen saturation monitors.
(d) Cardiac MRI scanners must:
1. Be accredited by a national accrediting organization that is approved by the Centers for Medicare and Medicaid Services for magnetic resonance imaging and advanced diagnostic imaging services;
2. Have field strength of not less than 1.5 Tesla and equipped with localized multichannel radiofrequency surface coil and ECG gating capable of prospective triggering, retrospective gating, and triggered retrogating;
3. Have an MRI-compatible power injector for performing myocardial perfusion MR imaging or any MR angiographic methods;
4. Be capable of fast 3-D gradient-echo imaging, steady-state imaging with free precession, phase- contrast flow quantification, fast multi-slice myocardial perfusion imaging, and late contrast-enhanced myocardial imaging. Parallel imaging and half-Fourier capabilities are desirable to permit shortened breath-hold requirements.
(e) Each hospital must have a pediatric echocardiography laboratory accredited by the Intersocietal Accreditation Commission for pediatric echocardiography in order to perform Transthoracic Echoes, Transesophageal Echoes, and Fetal Echoes.
(f) In addition to the requirements in Rule 59A-3.270, F.A.C., each hospital must maintain a complete database of patients with devices to include all device models and ID numbers, and Lead models and ID numbers.
(6) Emergency Transportation.
Each hospital must have policies and procedures to effectuate the rapid transport of pediatric and adult congenital heart disease patients. The polices and procedures must consider factors affecting inter- and intra- facility transport, including:
(a) Providing emergency transportation directly or by contract;
(b) Age and size of the patient;
(c) Ground or air transport;
(d) Weather conditions; and
(e) Distance.
(7) Data Reporting. 
(a) Each hospital must submit data to the Society of Thoracic Surgeons Congenital Heart Surgery Database (National Database), including the Anesthesia Model in the manner set forth herein. Each hospital must be deemed to have certified that the data submitted for each time period is accurate, complete and verifiable. Data must be submitted in accordance with the timetables and procedures established by the Society of Thoracic Surgeons National Database, and:
1. All data must be reported using the specific data elements, definitions and transmission format as set forth by the Society of Thoracic Surgeons;
2. Maintain participation in the Society of Thoracic Surgeons National Database;
3. Release the data reported by the Society of Thoracic Surgeons National Database to the Agency upon request;
4. Except for programs with less than the requisite number of years of data for publication, publish cardiac surgical outcomes to the public on the Society of Thoracic Surgeons website https://publicreporting.sts.org and maintain an overall risk-adjusted observed to expected operative mortality ratio whose lower limit of the 95% confidence interval is less than or equal to 1;
5. Use the Society of Thoracic Surgeons National Database and use software approved by the Society of Thoracic Surgeons for data reporting;
6. Ensure that software formats are established and maintained in a manner that meets Society of Thoracic Surgeons transmission specifications and encryption requirements. If necessary, each hospital must contract with a vendor approved by the Society of Thoracic Surgeons National Database for software and hardware required for data collection and reporting;
7. Implement procedures to transmit data via a secure website or other means necessary to protect patient privacy as required by the Society of Thoracic Surgeons National Database;
8. Ensure that all appropriate data is submitted on every patient who receives medical care and is eligible for inclusion in the Society of Thoracic Surgeons National Database;
9. Maintain an updated and current institutional profile with the Society of Thoracic Surgeons National Database;
10. Ensure that data collection and reporting will only be performed by trained, competent staff and that such staff must adhere to Society of Thoracic Surgeons National Database standards;
11. Submit corrections to any data submitted to the Society of Thoracic Surgeons National Database as discovered by the hospital or by the Society of Thoracic Surgeons National Database. Such corrections must be submitted within thirty days of discovery of the need for a correction or within such other time frame as set forth by the Society of Thoracic Surgeons National Database;
12. Designate a Society of Thoracic Surgeons National Database site manager that will serve as the primary contact between the hospital and the Society of Thoracic Surgeons National Database with regard to data reporting; and
13. Compile quality assurance data annually from their Society of Thoracic Surgeons Congenital Heart Surgery Database Report and provide for Agency review upon request which includes:
a. Number of patients/operations submitted and an analysis of operative mortality, and complexity information, by year;
b. Number of patient/operations in analysis, operative mortality, and complexity information, by age group;
c. Primary Procedure Operative Mortality;
d. Society of Thoracic Surgeons - European Association of Cardio-Thoracic Surgery Mortality Category Operative Mortality, by year; and
e. Society of Thoracic Surgeons - European Association of Cardio-Thoracic Surgery Mortality Category Operative Mortality, by age group.
(b) Report to an established, nationally recognized, multicenter pediatric and congenital interventional cardiology data registry, and:
1. Submit reports using the specific data elements, definitions, timetables, transmission format, required software, and procedures established and in accordance with the registry criteria;
2. Ensure that software formats are established and maintained in a manner that meets transmission specifications and encryption requirements necessary to protect patient privacy;
3. Maintain an updated and current institutional profile with the registry; and
4. Maintain participation in the registry.
(c) Each hospital must register with the Adult Congenital Heart Association and submit data as required by the Adult Congenital Heart Association in order to maintain a current registration.
(8) Enforcement. Enforcement of these rules shall follow procedures established in Rule 59A-3.253, and Rule 59A-35.120, F.A.C., and Chapters 395, Part I, 408, Part II, F.S., including suspension, revocation or denial of the pediatric cardiac program license.
(a) The Agency may conduct or cause to be conducted an inspection to determine compliance with the requirements of this rule.
(b) The Agency shall notify the facility of the findings and provide a timeframe in which to provide a plan of correction related to any identified deficient practice.
(c) A program that fails to maintain an overall risk-adjusted observed to expected operative mortality ratio whose lower limit of the 95% confidence interval is less than or equal to 1 shall provide an assessment to the Agency of the quality assurance data described in paragraph (7)(a) every month until the requirement is met.
Rulemaking Authority 395.1055, FS. Law Implemented 395.1055 FS. History–New ___________.
NAME OF PERSON ORIGINATING PROPOSED RULE: Kelli Fillyaw

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Shevaun L. Harris

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: January 26, 2026

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: November 3, 2025
