Notice of Proposed Rule

DEPARTMENT OF ENVIRONMENTAL PROTECTION
RULE NOS.:
RULE TITLES: 
62-6.004
Application for System Construction Permit

62-6.005
Location and Installation

62-6.011
Abandonment of Systems

62-6.013
Construction Materials and Standards for Tanks

62-6.019
Requirements for Registration

62-6.020
Master Septic Tank Contractors

62-6.021
Issuance of Registration Certificates and Renewal

62-6.022
Standards of Practice and Disciplinary Guidelines

62-6.023
Certification of Partnerships and Corporations

62-6.030
Fees

PURPOSE AND EFFECT: Amendments to Chapter 62-6, F.A.C., update regulations for Onsite Sewage Treatment and Disposal Systems (OSTDS) in Florida to implement statutory changes, to improve regulatory efficiency, and to simplify and clarify the rules.

SUMMARY: The Department is amending rules within Chapter 62-6, F.A.C., to implement regulatory requirements and for efficiency to simplify and clarify the requirements. The amendments include streamlining certain permit application processing procedures, requirements regarding the installation and location of an OSTDS, the abandonment of an OSTDS, the construction standards for treatment receptacles, requirements for registration as a septic tank or a Master Septic Tank Contractor, renewal of registration certificates, discipline and penalties for registered persons, certification of partnerships, and corporations as septic tank contracting businesses, and fees for services and registrations related to an OSTDS.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this will have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has been prepared by the Agency. 
The rule is not likely to increase regulatory costs in excess of $200,000 in the aggregate within one year after implementation of the rule. The SERC is available on the agency website at https://floridadep.gov/water/water/content/water-resource-management-rules-development or upon request from the contact person listed below.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: The Department used an itemized checklist to conduct an economic analysis and to determine if there is an adverse impact or regulatory cost associated with this rule that exceeds the criteria in Section 120.541(2)(a), F.S.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 381.0065, 403.061(7), 489.553, 489.554, 489.556, 489.557, F.S.

LAW IMPLEMENTED: 386.041, 381.0064, 381.0065, 381.0066, 403.061, 403.087, 403.121, 403.161, Part III 489, F.S.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE,TIME AND PLACE SHOWN BELOW(IF NOT REQUESTED, THIS HEARING WILL NOT BE HELD): 
DATE AND TIME: May 13th, 2026 1-3 PM

PLACE: 2600 Blair Stone Road, Tallahassee, FL 32399

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 10 days before the workshop/meeting by contacting: Public participation is solicited without regard to race, color, religion, sex, pregnancy, national origin, age, handicap, or marital status. Persons who require special accommodations under the American with Disabilities Act (ADA) or persons who require translation services (free of charge) are asked to contact DEP’s Limited English Proficiency Coordinator at 850-245-2118 or LEP@FloridaDEP.gov at least ten (10) days before a hearing. If you have a hearing or speech impairment, please contact the agency using the Florida Relay Service, 800-955-8771 (TDD) or 800-955-8770 (voice).. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Tanya Welborn, Environmental Manager, Division of Water Resource Management, MS 3596, 2600 Blair Stone Road, Tallahassee, FL 32399, (850) 245-8526 or by email at Tanya.Welborn@FloridaDEP.gov.

THE FULL TEXT OF THE PROPOSED RULE IS:
62-6.004 Application for System Construction Permit.
(1) No person must cause or allow construction of a system without first applying for and obtaining a system construction permit. Form DEP 4015, effective date XX-XX-XXXX 06-21-2022, Application for Construction Permit, herein adopted and incorporated by reference at https://flrules.org/Gateway/reference.asp?No=Ref-19501 https://www.flrules.org/Gateway/reference.asp?No=Ref-14359 must be used for recording system construction permit application information. Copies of this document are available as provided in subsection (9) below.
(2) An application for a system construction permit must shall be completed in full, signed by the owner or the owner’s authorized representative, or a contractor licensed in accordance with Chapter 489, F.S., and must shall be accompanied by all required exhibits and fees. If the owner of a property uses an authorized representative to obtain a new system construction permit, a signed statement from the owner of the property assigning authority for the representative to act on the owner’s behalf must shall accompany the system construction permit application. This statement must shall include specific information allowing the representative to act on the owner’s behalf in all aspects of a system construction permit an application for an onsite sewage treatment and disposal system.
(3) The suitability of a lot, property, subdivision or building for the use of an onsite sewage treatment and disposal system must be determined from an evaluation of lot size, anticipated sewage flow into the proposed system, the anticipated sewage waste strength, soil and water table conditions, soil drainage and site topography and other related criteria. Necessary site investigations and tests must be performed at the expense of the owner by either an engineer with soils training who is licensed in the State of Florida pursuant to Chapter 471, F.S., by Department personnel, by a registered septic tank contractors, Mmaster Sseptic Ttank Contractor contractors, by a professional soil scientist scientists certified and registered by the Florida Association of Environmental Soil Scientists, or by a person and persons certified under Section 381.0101, F.S. Registered Sseptic Ttank Ccontractors can only must perform these necessary site investigations and tests evaluations for existing system evaluations and repairs, not for new systems only. When determining that the necessary site investigations and tests be performed by an engineer licensed in the State of Florida, the Department must consider the criteria listed in subsection 62-6.004(4), F.A.C. Results of site investigations must be entered on, or attached to, the system construction permit application form for consideration by the Department. Site evaluations must occur not earlier than 180 days prior to the date the Department receives the system construction permit application. Site evaluations remain valid for the life of the system construction permit. The system construction permit application must also include the following data:
(a) A plan or plat of the lot or total site ownership. The site plan must shall be drawn to scale and shall be for the property where the system will is to be installed.
1. No change. 
2. If the Department is responsible for performing the site evaluation, the applicant or applicant’s authorized representative must shall indicate the approximate location of wells, onsite sewage treatment and disposal systems, surface water bodies and other pertinent facilities or features on contiguous or adjacent property. If the features are within 75 feet of the applicant lot, the estimated distance to the feature must be shown but need not be drawn to scale.
3. If the Department will not be performing the site evaluation, the applicant or authorized agent is shall be responsible for the measurements to all features, including the pertinent features within 75 feet of the applicant lot. The location of any public drinking water well, as defined in Rule 62-6.002 paragraph 62-6.002(44)(b), F.A.C., within 200 feet of the applicant’s lot must shall also be shown, with the distance indicated from the system to the well.
4. If an individual lot is two five acres or greater, the applicant may draw a minimum one acre parcel to scale showing all required features, or the minimum size drawing necessary to properly exhibit all required features, whichever is larger. The applicant must also show the location of that one acre or larger parcel inside the total site ownership.
5. All information that is necessary to determine the total sewage flow and proper setbacks on the site ownership must shall be submitted with the system construction permit application. The applicant lot must shall be clearly identified. A copy of the legal description or survey must accompany the system construction permit application for confirmation of property dimensions only.
(b) For residences, a floor plan drawn to scale or showing the total building area of the structure, at the applicants’ option, and showing the number of bedrooms and the building area of each dwelling unit. Non-residential establishments must shall submit a floor plan drawn to scale showing the square footage of the establishment, all plumbing drains and fixture types, and any other features necessary to determine the composition and quantity of wastewater to be generated. Plumbing fixtures located at a non-residential establishment must shall be included on the floor plan, but need not be drawn to scale.
(c) At least two soil profile descriptions within the proposed system soil absorption area to a minimum depth of 6 feet or to refusal, for which the minimum information provided is the upper and lower horizon boundaries, Munsell color of the horizon and its components and USDA soil texture; using USDA Soil Classification methodology as described in Chapter 3 of the Soil Survey Manual, United States Department of Agriculture, Handbook No. 18, Issued March 2017, herein adopted and incorporated by reference at http://www.flrules.org/Gateway/reference.asp?No=Ref-14360. Copies of this document are available as provided in subsection (9) below. At a minimum, a soil profile must be provided at the beginning and end of the proposed drainfield site. Where the replacement of severely limited soil is proposed, soil profiles must be performed to a minimum depth of 6 6ꞌ feet or to the depth of the slightly or moderately limited soil layer lying below the replaced layer, whichever is greater. The evaluator must document the locations of all soil profiles on the site plan.
(d) Water table elevations which exist at the time of the site evaluation and estimated water table elevation during the wettest season of the year. Water table elevations must shall be established from a benchmark or other fixed point of reference located on the property or within reasonable proximity to it. The existing property elevation at the site of each soil profile must also be recorded relative to the benchmark or fixed point of reference. 
(e) No change.
(f) A Coastal Construction Control Line Permit or an exemption notice from the Department if any component of the onsite sewage treatment and disposal system or the shoulders or slopes of the system mound will be seaward of the Coastal Construction Control Line, established under Section 161.053, F.S. Should the location of the proposed onsite system relative to the control line not be able to be definitively determined based on the site plan and the online products available on the Department DEP website, the applicant must shall provide a survey prepared by a certified professional surveyor and mapper showing the location of the control line on the subject property.
(g) Documentation of sewer availability.
(4) All plans and forms submitted by a licensed engineer must shall be dated, signed and sealed. Except Aas provided for in subsection 62-6.003(2), F.A.C., the Department shall require the design engineer must to certify that the installed system complies with the approved design and installation requirements. Under the following circumstances, the Department requires shall require for review and approval, the submission of detailed system construction plans prepared by an engineer who is licensed in the State of Florida:
(a) through (j) No change.
(5) System Construction Permit Application Processing. The applicant is shall be the permit holder and is shall be held responsible for all information supplied to the Department. The applicant is responsible for providing timely requested information to the Department. The signed system construction permit application, site evaluation, and system design plans, when required, serve as the basis by which the Department determines the issuance of a system construction permit. This subsection does not apply to other permit application processing for which there are other specific timeframes. In the event of a change in any information given in the application which served as basis for issuing a construction permit, the permit holder will immediately file an amended application detailing such changed conditions. If the new conditions are determined to be in compliance with the standards in this chapter, the construction permit shall be amended. If the new conditions are determined to be in non-compliance with the standards of this chapter, the permit shall be revoked subject to the provisions of Chapter 120, F.S. A system construction permit application shall be valid for one year. If a permit has not been issued to the applicant within one year from the date of application, then the Department shall review the construction permit application for accuracy at no charge prior to issuance of a permit. The applicant shall supply a statement that the information contained in the application has not changed, or shall amend the application. If a site visit is necessary as part of the review, then a re-evaluation fee shall be charged. If the rules under which the application was accepted have changed, and an onsite sewage treatment and disposal system construction permit has not been issued, a new permit application shall be required.
(a) Within thirty days after receipt of a system construction permit application and payment of the correct processing fee, the Department will review the system construction permit application and request any additional information that is required by law or rule. The applicant has ninety days after the Department issues a request for additional information to submit to the Department the additional information requested. If an applicant requires more than ninety days to respond to a request for additional information, the applicant must notify the Department in writing of the circumstances prior to the ninety-day deadline, at which time the system construction permit application is held in incomplete but active status for one additional period of up to ninety days. Additional extensions will be granted by the Department at its discretion when the applicant timely requests an extension and provides facts demonstrating good cause exists to grant another extension. Failure of an applicant to provide the requested information or be granted an extension by the applicable deadline will result in denial of the system construction permit application. Within 30 days after receipt of the additional information, the Department will review the system construction permit application and will request information needed to clarify the additional information or to answer new questions raised by or directly related to the additional information. If the applicant considers any request for additional information to be unauthorized by law or rule, the Department, at the applicant’s request, will process the system construction permit application without the additional information. Such a request by the applicant must be in writing and clearly labelled as a request for the Department to process the system construction permit application as submitted. The applicant’s request must state the reasons why the applicant considers the Department’s request for additional information to be unauthorized by law or rule and clearly state that the applicant requests the Department process the system construction permit application without the additional information. A system construction permit application will be approved or denied within 90 days after receipt of a complete application, including receipt of all supporting data, and the processing fee, or receipt of the last item of requested additional information, or at the applicant’s written request to begin processing the system construction permit application as submitted, whichever occurs last.
(b) In the event of a change in any information given in the system construction permit application which served as basis for issuing a system construction permit, the permit holder will immediately file an amended system construction permit application detailing the changed conditions. If the new conditions are determined to be in compliance with the standards in this chapter, the system construction permit will be amended. If the new conditions are determined to be in non-compliance with the standards of this chapter, the system construction permit will be revoked subject to the provisions of Chapter 120, F.S. 
(c) A system construction permit application is valid for one year. Any time during that year the applicant may amend the system construction permit application or request that the Department deem it complete by certifying that the information contained in the system construction permit application is accurate and has not changed. Once deemed complete, the Department will review the system construction permit application for compliance with this chapter and will not charge the applicant a re-evaluation fee unless the Department determines a site visit by the Department is necessary. If the system construction permit application is incomplete and beyond the one-year deadline, the Department will deny the system construction permit application.
(d) If the rules under which the system construction permit application was accepted have changed, and an onsite sewage treatment and disposal system construction permit has not been issued, a new system construction permit application is required. 
(6) through (9) No change.
Rulemaking Authority 381.0065(3)(a), 381.0065(4)(e), 403.061(7), 489.553(3) FS. Law Implemented 381.0065, 403.087, 489.553 FS. History–New 12-22-82, Amended 2-5-85, Formerly 10D-6.44, Amended 3-17-92, 1-3-95, 5-14-96, 2-13-97, Formerly 10D-6.044, Amended 11-19-97, 3-22-00, 11-26-06, 6-25-09, 4-28-10, Formerly 64E-6.004, Amended 6-21-22, X-XX-XX.
DEP Form 4015, Application for Construction Permit, is substantially rewritten. See F.A.C. for present text at https://www.flrules.org/Gateway/reference.asp?No=Ref-14359.
62-6.005 Location and Installation.
All onsite sewage treatment and disposal systems must be located and installed so that with proper maintenance the onsite sewage treatment and disposal systems function in a sanitary manner, do not create sanitary nuisances or health hazards and do not endanger the safety of any domestic water supply, groundwater or surface water. Sewage waste and effluent from onsite sewage treatment and disposal systems must not be discharged onto the ground surface or directly or indirectly discharged into ditches, drainage structures, ground waters, surface waters, or aquifers. To prevent such discharge or health hazards:
(1) Onsite sewage treatment and disposal sSystems established after the effective date of the rule must be placed no closer than the minimum distances indicated for the following:
(a) Seventy-five feet from a private potable well as defined in Rule 62-6.002 paragraph 62-6.002(44)(a), F.A.C., or a multi-family water well as defined in Rule 62-6.002 paragraph 62-6.002(44)(c), F.A.C.
(b) One-hundred feet from a public drinking water well as defined in Rule 62-6.002 paragraph 62-6.002(44)(b), F.A.C., if such a well serves a facility with an estimated sewage flow of 2,000 gallons or less per day.
(c) Two-hundred feet from a public drinking water well as defined in Rule 62-6.002 paragraph 62-6.002(44)(b), F.A.C., if such a well serves a facility with an estimated sewage flow of more than 2,000 gallons per day.
(d) Fifty feet from a non-potable water well as defined in Rule 62-6.002 subsection 62-6.002(39), F.A.C.
(e) Ten feet from any storm sewer pipe, to the maximum extent possible, but in every no instance shall the setback must not be less than 5 5ꞌ feet.
(f) No change.
(2) Onsite sewage treatment and disposal sSystems must not be located under buildings or within 5 5ꞌ feet of building foundations, including pilings for elevated structures, or within 5 5ꞌ feet of mobile home walls, swimming pool walls, or within 5 5ꞌ feet of property lines except where property lines abut utility easements which do not contain underground utilities, or where recorded easements are specifically provided for the installation of onsite sewage treatment and disposal systems for service to more than one lot or property owner.
(a) Sidewalks, decks and patios are not subject to the 5 5ꞌ foot setback, however, drainfields must not be installed beneath such structures. Any tank located beneath a driveway must have traffic lids as specified in paragraph 62-6.013(1)(f), F.A.C. Concrete structures, which are intended to be placed over a septic tank, must have a barrier of soil or plastic material placed between the structure and the tank so as to preclude adhesion of the structure to the tank.
(b) Onsite sewage treatment and disposal sSystems must not be located within 10 10ꞌ feet of water storage tanks in contact with the ground or potable water lines unless such lines are sealed with a water proof sealant within a sleeve of similar material pipe to a distance of at least 10 10ꞌ feet from the nearest portion of the onsite sewage treatment and disposal system or the water lines themselves consist of schedule 40 PVC PCV or stronger. The water line must not be located within 24 24ꞌꞌ inches of the onsite sewage treatment and disposal system. Potable water lines within 5 5ꞌ feet of the drainfield must not be located at an elevation lower than the drainfield absorption surface. Irrigation Non-potable water lines as referred to in Section 381.0065(2)(o), F.S., and water lines connected to a non-potable water supply must not be located within 24 24ꞌꞌ inches of the onsite sewage treatment and disposal system without backflow devices per Section 381.0065(2)(o)1. and 2., F.S., being installed on the water line to preclude contamination of the water system.
(c) Onsite sewage treatment and disposal sSystems must be setback a minimum of 15 15ꞌ feet from groundwater interceptor drains.
(3) Except for the provisions of Sections 381.0065(4)(g)1. and 2., F.S., onsite sewage treatment and disposal systems must not be located laterally within 75 75ꞌ feet of the boundaries of surface water bodies. Onsite sewage treatment and disposal sSystems must be located a minimum of 15 15ꞌ feet from the design high water line of a swale, retention or detention area designed to contain standing or flowing water for less than 72 hours after a rainfall, or the design high water level of normally dry drainage ditches or normally dry individual lot storm water retention areas.
(4) Suitable, unobstructed land must be available for the installation and proper functioning of the onsite sewage treatment and disposal system. The minimum unobstructed area must:
(a) Be at least 1.5 times as large as the drainfield absorption area required by rule. For example, if a 200 200ꞌ square feet drainfield is required, the total unobstructed area required, inclusive of the 200 200ꞌ square feet drainfield area, would be 300 300ꞌ square feet. Unobstructed soil area between drain trenches is included in the unobstructed area calculation.
(b) through (c) No change.
(5) through (6) No change.
(7) Onsite sewage treatment and disposal systems must be installed where a sewerage system is not available and when conditions in Section 381.0065(4) Sections 381.0065(4)(a)-(g), F.S., are met. Onsite graywater tank and drainfield systems may, at the homeowners’ discretion, be utilized provided blackwater is disposed into a sanitary sewerage system when such sewerage system is available. Graywater systems may, at the homeowners’ discretion, be utilized in conjunction with an onsite blackwater system where a sewerage system is not available for blackwater disposal. To establish compliance with Sections 381.0065(4)(a)-(g), F.S., the following are required:
(a) The lot area under Section 381.0065(4)(a), F.S., must consist of at least 1/2 acre (21,780 21,780’ square feet). Contiguous area outside of the lot must not be included in the determination of the lot area. Residential lots platted and recorded or approved on or after January 1, 1972, but before January 1, 1983, that do not meet the lot area or dimension requirements of Section 381.0065(4)(a), F.S., must install one of the following to address this deficiency and comply with current rules to the maximum extent possible as required pursuant to Section 381.0065(4)(g)1., F.S.:
1. An enhanced nutrient-reducing onsite sewage treatment and disposal system defined in Section 381.0065(2)(f), F.S., provided the authorized daily sewage flow allowance pursuant to paragraph 62-6.005(7)(c), F.A.C., and all required setbacks are met, or
2. A performance-based treatment system that is designed to meet, at minimum, Advanced Secondary Treatment Standards pursuant to Table IXb, found in paragraph 62-6.025(11)(d), F.A.C., and will maintain a 24-inch separation between the bottom of the drainfield and the water table elevation during the wettest season pursuant to subsection 62-6.006(2), F.A.C., provided that:
a. The estimated daily sewage flow does not exceed what is allowed by subsection 62-6.028(2), F.A.C.,
b. The system must maintain the maximum practicable setback, up to the setback in accordance with paragraph 62-6.005(1)(a), F.A.C., to private potable wells, and in no case will the setback to a private potable well be reduced below 50 feet, and
c. All other setback reductions must comply with paragraph 62-6.028(1)(b), F.A.C.
(b) The determination of lot densities under Section 381.0065(4)(b), F.S., must be made on the basis of the net acreage of the subdivision which must exclude from the gross acreage all paved areas and prepared road beds within public or private rights-of-way or easements and must also exclude surface water bodies. Residential lots platted and recorded or approved on or after January 1, 1972, but before January 1, 1983, that do not meet the lot density requirements of Section 381.0065(4)(b), F.S., must install one of the following to comply with current rules to the maximum extent possible as required pursuant to Section 381.0065(4)(g)1., F.S.:
1. An enhanced nutrient-reducing onsite sewage treatment and disposal system defined in Section 381.0065(2)(f), F.S., provided the authorized daily sewage flow allowance pursuant to paragraph 62-6.005(7)(c), F.A.C., is met, and all required setbacks are met, or 
2. A performance-based treatment system that is designed to meet, at minimum, Advanced Secondary Treatment Standards pursuant to Table IXb, found in paragraph 62-6.025(11)(d), F.A.C., and will maintain a 24-inch separation between the bottom of the drainfield and the water table elevation during the wettest season pursuant to subsection 62-6.006(2), F.A.C., provided that:
a. The estimated daily sewage flow does not exceed what is allowed by subsection 62-6.028(2), F.A.C.,
b. The system must maintain the maximum practicable setback, up to the setback in accordance with paragraph 62-6.005(1)(a), F.A.C., to private potable wells, and in no case will the setback to a private potable well be reduced below 50 feet, and
c. All other setback reductions comply with paragraph 62-6.028(1)(b), F.A.C.
(c) Authorized Maximum daily sewage flow allowances specified in Sections 381.0065(4)(a), (b) and (g), F.S., are must be calculated on an individual lot by lot or parcel of land basis based on its net usable area in acres. The net usable area of each lot or parcel of land does not include paved areas and prepared road beds within public rights-of-way or easements and does not include surface water bodies. At the option of the permit applicant and with approval of the Department, cContiguous unpaved and non-compacted road rights-of-way and easements with no subsurface obstructions that would affect the operation of drainfield systems may be included in determining the net usable area. Where an unobstructed easement is contiguous to two or more lots, each lot will receive a its pro rata share of the area contained in the easement. The authorized maximum daily sewage flow allowed equals the net usable area multiplied by 2,500 gallons per acre per day if a public drinking water well serving a public system as defined in subparagraphs 62-6.002(47)(b)1., 2., or 3. subparagraph 62-6.002(44)(b)1., 2., or 3., F.A.C., is utilized, or multiplied by 1,500 gallons per acre per day if a public drinking water well serving a limited use public water system as defined in subparagraph 62-6.002(47)(b)4. 62-6.002(44)(b)4., F.A.C., or a private potable well, multi-family water well, or cistern, or other private or certain public water systems regulated under Section 381.0062, F.S., is utilized. Subsection 62-6.008(1), F.A.C., must be used for determining estimated daily sewage flows.
(d) No change. 
(e) When portions of a lot or lots which were platted prior to January 1, 1972, are combined in such a manner that will decrease the total density of the subdivision, pre-1972 lot provisions apply. However, the maximum setback possible to surface water bodies must be maintained with a minimum setback of 50 50ꞌ feet.
(8) Notwithstanding the requirements of this section, where an effluent transmission line consists of schedule 40 PVC, the transmission line must be set back from private potable wells, irrigation wells or surface water bodies by not less than 25 25ꞌ feet when installed. Effluent transmission lines constructed of schedule 40 PVC must be set back from property lines and building foundations by not less than 2 2ꞌ feet. Schedule 40 PVC effluent transmission lines must be set back from potable water lines and storm water lines by no less than 5 5ꞌ feet unless all portions of the potable water line or storm water line within 5 feet of the effluent transmission line are:
(a) A minimum of 12 12ꞌꞌ inches above the top of the effluent transmission line; and,
(b) No change.
(9) Onsite sewage treatment and disposal systems for estimated establishment domestic sewage flows exceeding 5,000 gallons per day but not exceeding 10,000 gallons per day must be located and installed under the following conditions.
(a) The estimated daily sewage flow from the establishment will be divided by the net usable area associated with the establishment. The resulting number must not exceed 2,500 gallons per acre per day for establishments which use a public water system, supply as defined in subparagraphs 62-6.002(47)(b)1., 2. and 3. 62-6.002(44)(b)1., 2. and 3, F.A.C.
(b) No change. 
Rulemaking Authority 381.0065(3)(a), 381.0065(4)(e), 489.553, 489.557(1) FS. Law Implemented 381.0065, 489.553 FS. History–New 12-22-82, Amended 2-5-85, Formerly 10D-6.46, Amended 3-17-92, 1-3-95, Formerly 10D-6.046, Amended 11-19-97, 2-3-98, 3-22-00, 5-24-04, 6-25-09, Formerly 64E-6.005, Amended 6-21-22, X-XX-XX.
62-6.011 Abandonment of Systems.
(1) Whenever the use of an onsite sewage treatment and disposal system or stationary holding tank is discontinued following connection to a system permitted under Chapter 403, F.S., sanitary sewer or discontinuing the use of a septic tank(s) or other onsite sewage tank(s) tank and replacement with another onsite sewage tank(s) septic tank, the system must shall be abandoned within 90 days and any further use of the system or tank(s) for any purpose is shall be prohibited. However, if the Department or its designee approves the use of the retention tank where the tank is to become an integral part of a sanitary sewer system permitted under Chapter 403, F.S., or stormwater management system, the onsite sewage tank(s) septic tank need not be abandoned.
(2) Abandonment of an onsite sewage treatment and disposal system or stationary holding tank must be conducted pursuant to a general permit or a system construction permit, unless excepted in this rule, subject to full compliance with this rule. The following actions shall be taken, in the order listed, to abandon an onsite sewage treatment and disposal system:
(a) General Permit. To obtain a general permit for the abandonment of an onsite sewage treatment and disposal system the following steps must be taken in the order listed Property owner or agent shall apply for a permit from the Department to abandon the existing onsite sewage system and submit the required fee. Upon receiving a permit:
1. Notice of Intent. The contractor performing the abandonment must provide their notice of intent to abandon the onsite sewage treatment and disposal system under a general permit as agent for the applicant, submit the required fee for an abandonment permit with the Department, and provide the following information: 
a. Property owner name and contact information.
b. Contractor’s name and license information, business name and business license information, business telephone and website contact information and e-mail.
c. Property street address, parcel number, city, state, zip code.
d. County where the onsite sewage treatment and disposal system to be abandoned is located. 
e. Existing permit numbers, if applicable and known.
f. Description of system to be abandoned.
2. The Department will review the notice of intent information submitted and issue the General Permit on Form DEP 4011, effective XX-XX-XXXX, General Permit for System Abandonment, herein adopted and incorporated by reference at https://flrules.org/Gateway/reference.asp?No=Ref-19500. The General Permit is valid for 18 months from date of issuance.
3.(b) The tank(s) must tank shall be pumped out by a permitted septage disposal company who must shall provide a receipt or a written certification to the contractor performing the abandonment Department. Alternatively, if the tank(s) is/are tank is empty and dry at the commencement of the abandonment, a written statement to that effect by the septage disposal company or the licensed contractor performing the abandonment must shall be provided to the Department. 
4.(c) The bottom of the tank(s) must tank shall be opened or ruptured, or the entirety of each entire tank collapsed so as to prevent the tank from retaining water; and,
5.(d) The tank(s) must tank shall be filled with clean sand or other suitable material and completely covered with soil. If the tank(s) cannot be ruptured or collapsed the fill material must be flowable fill concrete.
6. Alternative to the procedures in subparagraphs 62-6.011(2)(a)4. and 5., F.A.C., the tank(s) may be removed from the site, following the procedures in subsection 62-6.015(6), F.A.C., for spoil material. The removed tank(s) must be scrapped and not used in other onsite sewage treatment and disposal systems.
7. After completion of the abandonment, the contractor performing the abandonment must complete the certification to confirm that the system was properly abandoned in accordance with this rule and in compliance with the General Permit, Form DEP 4011, herein adopted and incorporated by reference in subparagraph 62-6.011(2)(a)2., F.A.C. 
8. The contractor must provide a receipt or a written certification of the pump-out and photographic documentation of the abandonment process to the Department. Photographs must be submitted in a generally accepted digital format with metadata attached, including the date, time, and location of the tank and property. Photographs must identify the following information: 
a. A photograph of the empty tank(s) with either the bottom ruptured, the tank(s) collapsed, or removed from the site; 
b. A photograph showing the clean sand or other suitable material placed inside the ruptured or collapsed tank(s); 
c. A photograph showing the tank location completely filled with clean sand or other suitable material; and 
d. At least one photograph that includes the structure or a clearly identifiable landmark to confirm the location on the property.
9. Upon receipt of complete documentation from the contractor performing the abandonment the Department will acknowledge completion of the abandonment procedure under the general permit. No onsite inspection by the Department will be performed unless the Form DEP 4011, General Permit for System Abandonment, herein adopted and incorporated by reference in subparagraph 62-6.011(2)(a)2., F.A.C., and supporting documentation is incomplete or otherwise indicates potential noncompliance with this rule.
(b) System Construction Permit. The following actions must be taken, in the order listed, to abandon an onsite sewage treatment and disposal system under a system construction permit, as issued on Form DEP 4016, incorporated by reference in subsection 62-6.003(1), F.A.C.:
1. The property owner or agent must apply for a system construction permit from the Department to abandon the existing onsite sewage treatment and disposal system using DEP Form 4015, incorporated by reference in subsection 62-6.004(1), F.A.C., and submit the required fee. Site Evaluation and System Specifications and Existing System and Repair Evaluation of DEP Form 4015 are not required. Upon receiving a system construction permit:
2. The tank(s) must be pumped out by a permitted septage disposal company who must provide a receipt or a written certification to the contractor performing the abandonment. Alternatively, if the tank(s) is/are empty and dry at the commencement of the abandonment, a written statement to that effect by the septage disposal company or the contractor performing the abandonment must be provided to the Department.
3. The bottom of the tank(s) must be opened or ruptured, or the entirety of each tank collapsed to prevent the tank from retaining water. 
4. An inspection of the system abandonment must be conducted by the Department or a private provider inspector, who must provide an inspection report to the Department. The inspection report must include photographs as specified in subparagraph 62-6.011(2)(a)8., F.A.C.
5. The tank(s) must be filled with clean sand or other suitable material and completely covered with soil. If the tank(s) cannot be ruptured or collapsed the fill material must be flowable fill concrete.
6. Alternative to the procedures in subparagraphs 62-6.011(2)(b)3. and 5., F.A.C., the tank(s) may be removed from the site by a septage disposal service, which is required to follow the procedures in subsection 62-6.015(6), F.A.C., for spoil material. Reuse and installation of a tank at another site is only permissible if all of the following are met:
a. The abandoned tank has a valid tank legend indicating current tank approval. 
b. The installing contractor certifies the structural integrity of the tank and provides the permit number under which the tank had been abandoned. 
c. After installation at another site, the tank must be tested and pass the water tightness test pursuant to paragraph 62-6.013(11)(d), F.A.C., and inspected by the Department or a private provider inspector for water tightness. A test report by the person conducting the water tightness test must identify who inspected the water tightness test, and must be included as part of the other construction inspection documentation as stated in subparagraph 62-6.003(2)(i)6., F.A.C.
d. The tank passes construction inspection by the Department or private provider inspector.
(e) An inspection of the system abandonment shall be conducted by the Department or by the local utility or plumbing authority performing the system abandonment.
(3) Exceptions. The permitting provisions of subparagraphs 62-6.011(2)(a)1. and 2. paragraph 62-6.011(2)(a), F.A.C., or subparagraph 62-6.011(2)(b)1., F.A.C., are not required if one of the following applies:
(a) Iif a local utility or local plumbing authority performs a system abandonment program which requires the completion of those steps listed in subparagraphs 62-6.011(2)(a)3.-5. paragraphs 62-6.011(2)(b), (c), (d), and (e), F.A.C., and an inspection by the If the system abandonment is performed by a local utility or local plumbing authority, the local utility or local plumbing authority performing the abandonment program must shall maintain a log of all inspections performed and shall forward the log to the Department on a monthly basis.
(b) If a replacement with another onsite sewage tank is performed at the property under another system construction permit, the system construction permit application must specify information regarding the onsite sewage tank(s) that will be abandoned as part of the permitted construction. An applicant is not required to have such a tank pumped out and inspected as otherwise required by paragraph 62-6.001(4)(b), F.A.C, but must have the tank volume determined for a system construction permit application. 
(4) A septic tank serving a single family residence may, at the owner’s discretion, be converted into a cistern pursuant to the following procedures:
(a) The applicant must shall obtain a system abandonment construction permit from the Department.
(b) The permit application must shall specify the intended use of the abandoned septic tank.
(c) The activities related to abandoning the onsite sewage treatment and disposal system must shall not create a sanitary nuisance.
(d) The septic tank must shall be disconnected from the drainfield and from the building sewer pipe. 
(e) All work to disconnect, clean and sanitize the septic tank must shall be conducted by a registered septic tank contractor, master septic tank contractor, or a state-licensed plumber or by the owner of the owner-occupied single family residence being served by the septic tank.
(f) All septage, wash water, and other liquids removed from the tank must shall be removed and handled as septage (Rule 62-6.010, F.A.C.) by a licensed septage disposal service and disposed of at a Department DEP-regulated wastewater treatment facility.
(g) The Department must shall inspect the tank once it is disconnected, emptied, cleaned, disinfected and filled with water. The inspection must shall determine whether all of the following conditions have been met:
1. through 8. No change. 
(h) One inspection is included in the abandonment permit fee. The applicant must shall pay a reinspection fee for any additional inspection visits necessary until all of the criteria in subparagraphs 62-6.011(4)(g)1. through 8., F.A.C., are met and final approval of the abandonment is granted by the Department.
(i) The applicant is shall be responsible for all required laboratory fees. All sampling must shall be conducted by Department staff during the final inspection.
(j) The septic tank must shall be converted and inspected within 90 days after connection of the building plumbing to the sanitary sewer.
(k) The tank must shall not be connected to any irrigation components nor can shall the water be used for irrigation purposes until final approval of the abandonment has been granted by the Department.
(l) No change. 
(m) Upon final approval of the abandonment, the water collected in the tank must shall be utilized for non-potable, irrigation purposes only.
Rulemaking Authority 381.0065 FS. Law Implemented 381.0065, 381.0066, 386.002, 386.003, 386.041 FS. History–New 12-22-82, Amended 2-5-85, Formerly 10D-6.53, Amended 3-17-92, 1-3-95, Formerly 10D-6.053, Amended 6-18-03, 6-25-09, 7-16-13, Formerly 64E-6.011, Amended X-XX-XX.
62-6.013 Construction Materials and Standards for Tanks.
(1) Onsite sewage tank design. The following requirements must apply to all onsite sewage tanks manufactured for use in Florida unless specifically exempted by other provisions of these rules:
(a) No change. 
(b) Design and testing of concrete treatment tanks:

1. No change.
2. Structural design must be verified by actual vacuum load or hydrostatic test in accordance with the Department’s policy for Test Requirements for Structural Proofing, February 28, 2022, herein adopted and incorporated by reference at http://www.flrules.org/Gateway/reference.asp?No=Ref-14367. Copies of this policy are available as provided in subsection (14)(12) below. The vacuum test must be followed by a flow and water tightness test.
3. Tanks must be watertight as defined in ASTM C1227-20, Standard Specification for Precast Concrete Septic Tanks, paragraph 9.2., (2020) herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700 West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below. ASTM C1227-20, paragraph 9.2.2, must be modified to read as follows: Water tightness testing – Fill the tank with water to the invert of the outlet and let stand for 24 hours. Refill the tank. The tank is approved as water tight if the water level is held for one hour.
4. Manufacturers may use calculations provided by the design engineer in lieu of proof testing for tanks using reinforcement bars for structural strength and having a wall thickness of 5 inches or greater. Design by calculation must be completed using the Strength Design Method outlined in Chapters 4, 5 and 6 of the American Concrete Institute (ACI) publication ACI 318-19, Building Code Requirements for Structural Concrete and Commentary (2019), herein adopted and incorporated by reference. This document has been deemed copyright protected and is available from the publisher at American Concrete Institute, 38800 Country Club Drive, Farmington Hills, MI 48331-3439, or at publisher’s website at www.concrete.org/, and is available for inspection as provided in subsection (14)(12) below. For the design strength a strength reduction factor will be applied per ACI 318-19 Chapter 21.
(c) Design and testing of fiberglass and polyethylene tanks:
1. Vacuum testing must be conducted in accordance with the Department’s policy for Test Requirements for Structural Proofing, February 28, 2022, herein adopted and incorporated by reference in subparagraph 62-6.013(1)(b)2., F.A.C. Copies of this policy are available as provided in subsection (14)(12), below and at http://www.flrules.org/Gateway/reference.asp?No=Ref-14367. The vacuum test will be followed by a water-tightness test.
2. through 3. No change.
(d) No change.
(e) Tank lids for non-traffic residential installations must be designed for a dead load of 12 12ꞌꞌ inch earth cover with a dry soil density of 100 pounds per cubic foot or a live load of two concentrated loads of 1,750 pounds at a 60 60ꞌꞌ inch spacing or a concentrated load of 1,750 pounds located at the center of the lid, whichever provides the greater shear and moment stresses to the lid. The required strength must be per ACI 318-19, Chapter 5, incorporated by reference in subparagraph 62-6.013(1)(b)4., F.A.C., effective 06-21-2022. Structural integrity proof test or calculations for the 12 inch overburden earth load and the 1,750 1750 pound concentrated loading must be provided. Designs sealed by an engineer licensed in the state of Florida will be acceptable for design proof of tank lid designs.
(f) Tanks and tank lids for traffic installations must be designed, signed and sealed by an engineer licensed in the state of Florida. Whenever vehicular traffic is anticipated to cross over the tank, traffic lids must be installed with manhole covers to finished grade. Traffic tanks and lids must be designed in accordance with ASTM C 890-21, Standard Practice for Minimum Structural Design Loading for Monolithic or Sectional Precast Concrete Water and Wastewater Structures (2021), herein adopted and incorporated by reference, for the appropriate loading. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700 West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org, and is available for inspection as provided in subsection (14)(12) below. Application of paragraph 5.2.4 of ASTM C 890-21, will be at the discretion of the design engineer.
(2) Onsite sewage tank design requirements. The following details must be incorporated into the design:
(a) through (e) No change.
(f) The inlet and outlet devices must be located at opposite ends of the tank so as to be separated by the maximum distance practical and must be in accordance with ASTM C-923/C-923M-20, Standard Specification for Resilient Connectors Between Reinforced Concrete Manhole Structures, Pipes, and Laterals (2020), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700 West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below. Inlets and outlets on the sides of any tank must be located no more than 12 inches from the end of the tank.
(g) through (h) No change.
(i) Joints of tanks, including mid-seams, risers, and lids must be sealed using a bonding compound that meets ASTM C-990-09R19, Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections using Preformed Flexible Joint Sealants (2019), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700 West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below.
(j) The tank legend is tThe Department’s designated approval number for the tank, and the effective capacity of the tank in gallons. The tank legend must be cast or stamped into the wall or permanently stenciled or decaled onto the wall at the inlet end, to begin within 6 inches of the top of the wall. Tank legend lettering must be a minimum of two inches high. All identifying marks must be inscribed or affixed at the point of manufacture only. All information supplied in the legend must be provided with a minimum of two inch high lettering. 
1. Revisions. All tank legends must be inscribed or affixed at the place of manufacture and can only be revised outside the place of manufacture prior to construction approval by a manufacturer-authorized representative when one or more of the following conditions occur:
a. The legend on the tank does not match the tank that it is affixed to, and the tank is manufactured according to specifications approved under an alternate legend; 
b. The legend is illegible, damaged or otherwise compromised; or
c. The legend is improperly positioned on the tank.
2. Manufacturers must inform the Department in writing that they allow tank legend revisions outside the place of manufacture prior to tank legend revisions taking place. The Department will maintain a list of the manufacturer’s pre-approval(s) on the Department’s website.
3. The revised tank legend must be clearly marked and must be permanently affixed onto the tank wall in compliance with paragraph 62-6.013(2)(j), F.A.C. The legend or the portion of the legend that needs to be revised must be covered. 
4. When a tank legend is revised, the Department holds the manufacturer responsible for training, authorizing and ensuring that their authorized representatives comply with tank legend revision requirements in this rule. Upon request from the Department, the manufacturer must provide a list of trained representatives who are authorized to revise tank legends. 
5. For each tank legend revision, the manufacturer or the manufacturer’s representative must submit to the Department the following information within seven calendar days of the revision: 
a. Tank manufacturer name;
b. Construction permit number; 
c. Installation site address; 
d. Name of authorized representative who revised the legend;
e. Date of revision;
f. Reason for revision per subparagraph 62-6.013(2)(j)1., F.A.C.;
g. Verification the tank was not modified, and that the tank legend as revised is correct; 
h. Photograph of the tank legend before and after the revision which identifies information regarding the time and location of the photograph through electronic metadata or included in the notes of the report;
i. The original tank legend and the revised tank legend;
j. A signed and dated statement by the manufacturer or the manufacturer’s representative that states: “I verify that the condition requiring a tank revision outside the place of manufacture complies with subparagraph 62-6.013(2)(j)1., F.A.C., and that the documents and all attachments, to the best of my knowledge and belief, are true, accurate and complete.”
6. The Department will request from the manufacturer or the manufacturer’s representative any additional information needed to confirm compliance with statutory and rule requirements regarding standards for tanks and the tank legend. 
7. A summary report of the manufacturer’s tank legend revisions under this subsection must be submitted from the manufacturer to the Department annually by December 31st of each year. The Department will review the summary report to confirm compliance with the standards for tanks and the tank legend. The summary report must include the following:
a. A list of all authorized representatives who revised the Department’s designated approval number for the tank legend;
b. The total number of tank legend revisions performed during the annual cycle;
c. For each tank legend revision, indicate in what county the tank legend revision occurred and the date it occurred. 
(k) Each compartment must have access using manholes, with each manhole having a minimum area of 225 225ꞌꞌ square inches. Manholes must be located so as to allow access to the inlet and outlet devices. A minimum 6-inch 6ꞌꞌ-inch diameter opening must be placed at the inlet and outlet ends of the lid if a minimum 225 225ꞌꞌ square inch access port is placed in the middle of the lid. A riser is a pipe or conduit surrounding an access manhole and facilitating access to the inside of an onsite sewage tank. Access manhole and riser must be closed by a riser access lid or manhole cover. Risers must be watertight. The access manhole over the inlet and outlet must extend to within 8 inches 8ꞌꞌ inches of finished grade. If a riser is used, and if the riser access lid opens directly to the tank receptacle interior, joints around the riser and tank receptacle must be sealed and made watertight as specified in paragraph 62-6.013(2)(i), F.A.C., to prohibit intrusion of ground water into the tank. For multi-compartment tanks or tanks in series, manholes must extend to within 8 inches of finished grade over the first compartment inlet and the last compartment outlet. An appropriate mechanism must be provided to make access manholes vandal, tamper, and child resistant. Acceptable protection of openings must consist of one or more of the following methods as specified by the manufacturer:
1. through 4. No change.
(l) through (m) No change.
(3) Onsite sewage tank design approval. All onsite sewage tanks distributed in the state must be approved for use by the Department prior to being offered for sale or installed. Such approval must not be obtained until the manufacturer of a specific tank model has submitted the following:
(a) through (e) No change.
(f) There must be two tank design classifications. The following criteria must be used for each category:
1. No change.
2. Category 4 tanks must be designed for saturated soil with the saturation at finished grade. The design must provide for a maximum of 48 48ꞌꞌ inches of saturated soil cover over the top of the tank. Soil density must be 100 pounds per cubic foot. The lateral earth pressure coefficient (K) must be no less than 0.33. Where a tank will be placed with greater than 48 48ꞌꞌ inches of soil over the top of the tank, an engineer licensed in the state of Florida must design the tank for the specific conditions anticipated at the site.
(g) through (h) No change.
(i) The Department will issue an approval number to the manufacturer. Form DEP 4012, “Application for Septage Disposal Service Permit, Temporary System Service Permit, Septic Tank Manufacturing Approval,” adopted and incorporated by reference in subsection 62-6.010(2), F.A.C., and available as provided in subsection (14)(12) below, must be used to apply for manufacturing approval. The form can be obtained from the Department.
(4) No change. 
(5) Concrete tanks must be built of precast or poured in place concrete in accordance with ACI 318-19, Building Code Requirements for Structural Concrete and Commentary incorporated by reference in subparagraph 62-6.013(1)(b)4., F.A.C., effective 06-21-2022, or ASTM C-1227-20, Standard Specification for Precast Concrete Septic Tanks, incorporated by reference in subparagraph 62-6.013(1)(b)3., F.A.C., effective 06-21-2022, except as revised herein.
(a) No change. 
(b) Temperature and shrinkage crack control in concrete tanks must be accomplished by use of steel reinforcing in accordance with ACI 318-19 Chapter 11, incorporated by reference in subparagraph 62-6.013(1)(b)4., F.A.C., effective 06-21-2022 or by use of fiber reinforcement. Minimum ratio of vertical and horizontal reinforcement area to gross concrete area must be 0.0010 for deformed bars or welded wire fabric. Fiber reinforcing materials may be used by the manufacturer to achieve crack control equivalent to the use of deformed bars or welded wire fabric. To be considered equivalent, acceptable fibers must at least meet or exceed ACI recommendations regarding materials, fiber sizing, and required fiber quantities. Any current or future revisions to the ACI recommendations may be used by the manufacturer, at their option. Materials other than materials recognized by ACI for crack control use will not be acceptable. Minimum reinforcement must be as outlined in the document entitled Reinforcement Required to Meet 62-6.013(5)(b), F.A.C., dated February 28, 2022, herein adopted and incorporated by reference. Copies of this document are available as provided in subsection (14)(12), below and at http://www.flrules.org/Gateway/reference.asp?No=Ref-14805.
(c) Concrete mixes must be in accordance with the Portland Cement Association (PCA) publication entitled PCA Design and Control of Concrete Mixtures, Seventeenth Edition (2021), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at the Portland Concrete Association, 5420 Old Orchard Road, Skokie Illinois 60077-1083 or at the publisher’s website at www.concrete.org/, and is available for inspection as provided in subsection (14)(12) below.
(d) Terminology relating to concrete and concrete aggregates must be in accordance with ASTM C-125-21a, Standard Terminology Relating to Concrete and Concrete Aggregates (2021), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700, West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below.
(e) Concrete aggregates used in the manufacturing of all precast or poured-in-place concrete tanks for use in onsite sewage treatment and disposal systems must conform to ASTM C 33-/33M-18, Standard Specification for Concrete Aggregates (2018), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700, West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below.
(f) Minimum concrete cover over structural steel reinforcing must be 3/4 3/4ꞌꞌ inches. The minimum bend radius for structural reinforcing must be three times the reinforcing bar diameter.
(g) through (h) No change. 
(i) Three compressive test cylinders must be prepared, cured, and tested in accordance with ASTM C 31/C31M-21a, Standard Practice for Making and Curing Concrete Test Specimens in the Field (2021), herein adopted and incorporated by reference, and ASTM C-39/C-39M-21, Standard Test Method for Compressive Strength of Cylindrical Concrete Specimens (2021), herein adopted and incorporated by reference, at least one time every year, or whenever the manufacturer changes the design mix or the manufacturing process. These standards have been deemed copyright protected and are available from the publisher at ASTM International, P.O. Box C700, West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and are available for inspection as provided in subsection (14)(12) below.
(j) The bottoms of concrete tanks must be monolithic and must either be an integral part of the walls or must be sealed to the walls using water-stops cast into the wall and bottom. Tank Receptacle bottoms must not contain openings for any purpose, for example, to facilitate the removal of rainwater.
(k) No change.
(6) The following structural requirements are applicable to fiberglass and polyethylene tanks:
(a) No change.
(b) Fiberglass tanks must be constructed so that all parts of the tank meet the following mechanical requirements. A test report from an independent testing laboratory is required to substantiate that individual tank designs and material formulations meet these requirements.
1. Ultimate tensile strength – minimum 12,000 psi when tested in accordance with ASTM D-638-14, Standard Test Method for Tensile Properties of Plastics (2014), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700, West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below.
2. Flexural strength – minimum 19,000 psi when tested in accordance with ASTM D-790-17, Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastics and Electrical Insulating Materials (2017), herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at ASTM International, P.O. Box C700, West Conshohocken, Pennsylvania 19428-2959, or at publisher’s website at www.astm.org/, and is available for inspection as provided in subsection (14)(12) below.
3. through 5. No change.
(c) Polyethylene tanks must meet the requirements of International Association of Plumbing and Mechanical Officials (IAPMO)/American National Standards Institute (ANSI) Z1000-2019 Paragraph 7.1 “Blow Molded and Single-Layer Rotationally-Molded Polyethylene Septic Tanks” and 7.2 “Multi-Layer Rotationally-Molded Polyethylene Septic Tanks” (2019) herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at IAPMO, 4755 East Philadelphia Street, Ontario, California 91761, or at publisher’s website at www.iapmo.org/, and is available for inspection as provided in subsection (14)(12) below. Where the requirements of IAPMO/American National Standards Institute (ANSI) Z1000-2019, Paragraphs 7.1 and 7.2 conflict with the standards in this section, the standards in this section must apply. A test report from an independent testing laboratory is required to substantiate that individual tank designs and material formulations meet these requirements.
(d) Approval of new designs must not be granted until the following has been completed and submitted as part of the application:
1. No change.
2. Construct three tanks receptacles using the design mix.
3. No change.
4. Structural proof test three tanks receptacles to the design strength per paragraph 62-6.013(1)(c), F.A.C., for tanks receptacles having an effective capacity of 1,350 gallons or less.
5. Structural proof test one tank receptacle to the design strength in accordance with paragraph 62-6.013(1)(c), F.A.C., for tanks receptacles having an effective capacity greater than 1,350 gallons.
6. Verify that the manufacturer is not planning to relocate the tanks receptacles prior to the tanks receptacles achieving 75% of the design compressive strength. Record how this is accomplished.
(7) Grease interceptors are not required for a residence. However, one or more grease interceptors are required where grease waste is produced in quantities that could otherwise cause line stoppage or hinder sewage disposal. The design of grease interceptors must be based on standards found in paragraph (a) below. In addition, the following general requirements found in paragraphs (b), (c), and (d), apply when determining the proper use and installation of a grease interceptor used as a component of an onsite sewage treatment and disposal system.
(a) The inlet invert must discharge a minimum 2 1/2 2 1/2ꞌꞌ inches above the liquid level line and the outlet pipe must have a tee with a minimum diameter of 4 inches that extends to within 8 8ꞌꞌ inches of the bottom of the tank.
(b) through (d) No change. 
(8) No change.
(9) Pump tanks and pumps – when used as part of an onsite sewage treatment and disposal system, the following requirements must apply to all pump tanks manufactured for use in Florida unless specifically exempted by other provisions of these rules:
(a) No change.
(b) The electrical conduit and effluent dosing pipe must exit the dosing chamber:
1. Through the tank outlet using plumbing fittings and reducers to produce a watertight seal,
2. When risers are used, the electrical line and the effluent dosing pipe may penetrate the riser wall provided the penetration is above the wet season high water table elevation and there is a soil-tight seal around the penetrations. When the top of the pump dosing tank is placed more than 8 8ꞌꞌ inches below the finished grade, risers must be used to provide access within 8 8ꞌꞌ inches of the finished grade. Where risers are used, risers must be attached to the tank in accordance with paragraph 62-6.013(2)(i), F.A.C. Any unused and open tank outlet must be sealed with a length of capped PVC pipe installed in accordance with paragraph 62-6.013(2)(f), F.A.C., or
3. Through a 2 to 4ꞌꞌ inch access port installed in the tank lid by the manufacturer as approved by the Department. After installation the port must be sealed with a bonding compound per paragraph 62-6.013(2)(i), F.A.C. Unused ports must be sealed watertight with cement or bonding compound or with a length of capped PVC pipe.
(c) When a pump is used as part of a system, the following conditions must apply.
1. Pumps used to distribute sewage effluent must be certified by the manufacturer to be suitable for such purpose or pumps must be designed in accordance with the Sump and Sewage Pump Manufacturers Association’s Recommended Standards for Sump, Effluent and Sewage Pumps (2019 Revision) for the purpose intended, herein adopted and incorporated by reference. This standard has been deemed copyright protected and is available from the publisher at the Sump and Sewage Pump Manufacturers Association, P.O. Box 44071, Indianapolis, Indiana, 46244, or at publisher’s website at www.sspma.org/, and is available for inspection as provided in subsection (14)(12) below. The use of a timer as part of any pump system is not allowed unless it is part of a design submitted by an engineer, or Mmaster Sseptic Ttank Ccontractor, and is approved by the Department.
2. through 3. No change. 
4. A pump chamber insert may, at the applicant’s discretion, be used to house a pump inside a septic tank. If a pump chamber insert is used, it must be approved for use by the Department. Approval must be based on the ability of the pump chamber insert to effectively filter solids from the effluent prior to intake by the pump. The efficiency of solids removal by the pump chamber insert must be at least equal to a currently approved outlet filter device. Pump chamber inserts that do not meet these criteria must not be approved and must not be used. The filter device used as part of the pump chamber insert must be considered to meet the requirement of using an outlet filter device for purposes of subsection 62-6.008(2), F.A.C. The tank or compartment used to house the pump chamber insert must be included in calculating the minimum effective capacity of the tank, subject to the following conditions:
a. through b. No change. 
c. The intake openings of the pump chamber insert must not be located within 12 12ꞌꞌ inches of the bottom of the tank, or within 12 12ꞌꞌ inches of the liquid level line of the tank.
d. through f. No change. 
g. For repair installations, in addition to the requirements of subparagraphs a. through e. above, pump chamber inserts must not be used in an existing septic tank of less than 750 gallons effective capacity. In addition, the minimum tank liquid depth must be 36 36ꞌꞌ inches below the pump-off switch level and the minimum effective capacity contained below the pump-off switch level must be within two tank sizes of that required in Rule 62-6.008, F.A.C., Table II. The total septic tank capacity must include the minimum effective capacity within two tank sizes of required tank size, plus dosing capacity, plus dosing reserve capacity equal to the dosing capacity, plus freeboard or air space capacity which is equal to 15% of the minimum effective capacity.
(10) Electrical conduit, effluent dosing pipe, aeration lines, and vent pipe requirements:
(a) Electrical conduit is rigid or flexible tubing used to enclose and protect electrical wiring. All electrical wiring exiting a tank or riser must be enclosed in conduit. Electrical conduit must be sealed on both sides to prevent venting of gases or transfer of water into the tank.
(b) Electrical conduit, effluent dosing pipe, aeration lines, and vent pipes must exit or enter the onsite sewage tank using one of the following methods:
1. Through a tank outlet using plumbing fittings and reducers to produce a watertight seal,
2. Through a hole drilled or cut through an attached riser or a notch cut into the bottom of the attached riser and above the top of the tank. All such penetrations must be sealed water-tight.
3. Through a maximum four-inch access port installed in the tank lid or top of the tank, or the wall of the tank above the liquid level by the manufacturer as approved by the Department. After installation the port must be sealed watertight with a bonding compound per paragraph 62-6.013(2)(i), F.A.C., or a seal meeting the requirements for outlet devices per paragraph 62-6.013(2)(f), F.A.C. Unused ports must be made watertight. 
4. Through a 2 to 4 inch notch installed at the top of a tank immediately beneath the lid by the manufacturer as approved by the Department. After installation, the notch must be sealed watertight with a bonding compound per paragraph 62-6.013(2)(i), F.A.C.
(c) Vents must not allow water to enter the tank under normal operating conditions.
(10) renumbered (11) No change. 
(12)(11) Repair of tanks – Repairs are allowed for tanks prior to shipment per ASTM, ACI, PCA standards and publications and National Precast Concrete Association (NPCA), Septic Tank Manufacturing Best Practices Manual (2010), herein adopted and incorporated by reference. This document has been deemed copyright protected and is available from the publisher at the National Precast Concrete Association, 1320 City Centre Drive, Suite 200, Carmel, Indiana 46032, or at publisher’s website at www.precast.org/, and is available for inspection as provided in subsection (14)(12) below. Tanks damaged after they leave the manufacturer’s facility may be repaired for the following defects:
(a) No change.
(b) Damaged or missing inlet and outlet seals may be replaced using the procedure of the document entitled “Repair of Tank Inlet and Outlet Seals,” effective 06-21-2022, adopted and incorporated by reference. Copies of this document are available as provided in subsection (14)(12), below and at http://www.flrules.org/Gateway/reference.asp?No=Ref-14368.
(c) No change.
(13) Removal of removable compartment walls from installed tanks. Removal of an existing tank compartment wall is permissible if all of the following conditions are met:
(a) The existing multi-compartment tank is part of an onsite sewage treatment and disposal system that has received final installation approval;
(b) The removal is required to supplement the size of an existing tank in lieu of replacement requirements stated in subparagraph 62-6.001(4)(e)1. or paragraph 62-6.015(6)(f), F.A.C.;
(c) The compartment wall is a slide-in type compartment wall installed in grooves, not permanently attached to the tank using grouting, fiberglassing or other bonding material, and has not been used to proof the structural integrity of the tank;
(d) The configuration of the tank without the compartment wall is also an approved tank;
(e) Removal of the compartment wall is applied for as part of the system construction application;
(f) Removal does not affect the structural soundness nor functioning of the tank and installation; 
(g) The compartment wall is properly removed and disposed of outside the tank;
(h) After removal of the compartment wall, a new tank certification is required. The procedure for tank certification is stated in paragraph 62-6.001(4)(b), F.A.C. Revision of the legend is not required.
(12) renumbered (14) No change. 
Rulemaking Authority 381.0065(3)(a), 381.0065(4)(e) FS. Law Implemented 381.0065 FS. History–New 12-22-82, Amended 2-5-85, Formerly 10D-6.55, Amended 3-17-92, 1-3-95, Formerly 10D-6.055, Amended 11-19-97, 2-3-98, 3-22-00, 4-21-02, 5-24-04, 11-26-06, 6-25-09, 4-28-10, Formerly 64E-6.013, Amended 6-21-22, X-XX-XX. 
62-6.019 Requirements for Registration.
(1) Persons subject to registration. – A person is shall be subject to the requirements of this Chapter and must be registered as a septic tank contractor, Master Septic Tank Contractor, or licensed as defined in Section 489.105(3)(m), F.S., rule if he or she contracts or advertises to provide services to the public or holds himself or herself out as being capable of performing services related to any of the following activities in the onsite sewage treatment and disposal industry regulated by the Department:
(a) through (c) No change. 
(d) Maintenance of onsite sewage treatment and disposal systems, except when performed by a permitted maintenance service entity for aerobic treatment units or performance-based treatment systems qualified by a wastewater treatment plant operator and permitted in accordance with subsection 62-6.012(4) or paragraph 62-6.027(6)(e), F.A.C.;
(e) through (f) No change. 
(2) Examination. Applications for the septic tank contractor Any person seeking registration shall apply to the Department to take the registration examination must be made on Form DEP 4074, effective date xx-xx-xxxx 4075, 1/97, Application for Registered or Master Septic Tank Contractor Examination Registration, herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19502. Copies of this The form are is available as provided in subsection (5) below from the Department. In order for the application to be considered complete, the applicant for a Septic Tank Contractor registration examination or reexamination must provide all information on the application in the appropriate spaces, sign the application, include the correct payment of the applicable fees as stated in subsection 62-6.030(2), F.A.C., in the correct amount, and include all supporting documentation required with the Form DEP 4074. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied.
(3) Registration. Persons seeking registration as a septic tank contractor, who successfully passed the examination as provided in subsection 62-6.019(4), F.A.C., can apply for registration as a Registered Septic Tank Contractor. The application for registration as a Registered Septic Tank Contractor must be made on Form DEP 4075, effective date xx-xx-xxxx, Application for Septic Tank Contractor Registration, adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19503. In order for the application to be considered complete, the applicant must provide all information on the application in the appropriate spaces, the application must be signed by the applicant, and include the correct payment of the applicable fees as stated in subsection 62-6.030(2), F.A.C. The application must include all supporting documentation required with the Form DEP 4075. The supporting documentation that must be provided include: A person shall be eligible to take the registration examination if they submit necessary exhibits and fees and meet the requirements of Section 489.553(4), F.S.
(a) Verification of at least three years of experience, as required under Section 489.553(4)(d), F.S., and demonstrated by a total of 6,000 hours of experience received from one or a combination of experience stated in subparagraphs 62-6.019(3)(a)1. through 5., F.A.C. The sum of related experience and educational experience stated within subparagraphs 62-6.019(3)(a)2., 3., and 5., F.A.C., may substitute for a maximum of two years (4,000 hours) of experience. Under the supervision and control of a registered septic tank contractor or a plumbing contractor in Section 489.553(4)(d), F.S., is defined as an employment relationship where compensation can be documented by the regular deduction of FICA and federal withholding tax as required by law. Principal officers of a corporation or partners of a partnership providing onsite sewage contracting services shall be recognized as being under the supervision and control of the corporation’s or partnership’s qualifying registered septic tank contractor or plumbing contractor. 
1. Experience verification signed by a Registered Septic Tank Contractor, Master Septic Tank Contractor, or plumbing contractor as defined in Section 489.105(3)(m), F.S., certifying the applicant’s active experience serving an apprenticeship as a skilled worker under the supervision and control of a Registered Septic Tank Contractor, Master Septic Tank Contractor, or plumbing contractor as defined in Section 489.105(3)(m), F.S., providing septic tank contracting services. The experience verification must specifically identify the applicant’s supervisor, company and dates of work experience, work responsibilities, and work hours engaged in the construction or maintenance of onsite sewage treatment and disposal systems.
2. Certification by the applicant demonstrating related work experience which must, at a minimum, include information regarding the extent of experience in onsite sewage treatment and disposal system design, inspection, installation, regulation, environmental health professional certification in onsite sewage, site evaluation, underground utility contracting, and wastewater treatment plant maintenance and operation. Related work experience does not include clerical, purchasing or estimating work. The certification must identify the applicant’s supervisor, company, dates of work experience, work responsibilities, and hours worked. The experience of a person employed by and under the supervision of a contractor licensed in another state for septic tank contracting is considered related work experience. The experience of a person self-employed as a private site evaluator or private provider inspector is considered related work experience. No more than two years (maximum 4,000 hours) of related work experience will be accepted and the certification must account for the hours of related work.
3. Certification by the applicant’s employer or supervisor demonstrating related work experience which must, at a minimum, include information regarding the extent of experience in onsite sewage treatment and disposal system design, inspection, installation, regulation, environmental health professional certification in onsite sewage, site evaluation, underground utility contracting and wastewater treatment plant maintenance and operation. Related work experience does not include clerical, purchasing or estimating. The certification must identify the applicant’s supervisor, company and dates of work experience, work responsibilities, and hours worked. Employment under the supervision of a contractor licensed in another state for septic tank contracting is considered related work experience. No more than two years (maximum 4,000 hours) of related work experience will be accepted and the certification must account for the hours of related work. 
4. Certification from a regulatory agency of another state demonstrating the applicant held a statewide license for septic tank contracting in their jurisdiction, length of time the license has been held, verification of compliance with continuing education requirements consistent with Florida’s requirements, and verification of the passing of an examination that at a minimum included the following topics: system location and installation, site evaluation criteria, system size determinations, disposal of septage, construction standards for drainfield systems, and U.S. Department of Agriculture’s soil textural classification system. Out of state experience will be prorated as 2000 hours per 365 days of license holding.
5. Certification of completion of Department approved coursework, which will be counted at a ratio of 33 work hours per hour of coursework up to a maximum of 4000 hours.
(b) A certified State of Florida Criminal History Record Check, reviewed and provided by the Florida Department of Law Enforcement, sent by the Florida Department of Law Enforcement directly to the Department of Environmental Protection, Finance and Accounting, Post Office Box 3070, Tallahassee, Florida 32315. Applicants indicating work experience required by paragraph 62-6.019(3)(a), F.A.C., which occurred outside of the State of Florida must submit a certified criminal history check equivalent to the Florida Department of Law Enforcement Criminal History Record Check for each out of state jurisdiction. The Department will evaluate the applicant’s good moral character pursuant to the requirements stated in Section 489.553(4)(a), F.S. Related work experience includes but is not limited to onsite sewage treatment and disposal system design, inspection, installation, regulation, environmental health professional certification, site evaluation, underground utility contracting and wastewater treatment plant maintenance and operation. Related work experience does not include clerical, purchasing or estimating.
(c) The applicant must not: Out-of-state work experience on a year for year basis shall be accepted for any applicant who demonstrates that they hold a current statewide license for septic tank contracting which was issued upon satisfactory completion of an equivalent examination and required continuing education courses for renewal. For purposes of this section, an equivalent examination means that at a minimum, the following topics were tested and passed: system location and installation; site evaluation criteria; system size determinations; disposal of septage; construction standards for drainfield systems and U.S. Department of Agriculture soil textural classification system. A person employed by and under the supervision and control of such a licensed contractor shall be granted up to two years of related work experience. 
1. Have a final agency enforcement action against the applicant under Chapter 381, F.S., 403, F.S., part III of Chapter 489, F.S., or Chapter 62-6, F.A.C., in the three years immediately preceding the date of application.
2. Have a civil or administrative penalty assessed pursuant to a Department final order under Chapter 62-6, F.A.C., which has not been paid. 
(d) The applicant is responsible for all information supplied to the Department. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied.
(e) The applicant must identify how they will comply with Section 489.555(2), F.S., by indicating if, after registration, they: 
1. Will offer septic tank contracting services under an existing authorized business, 
2. Will apply for a new certificate of authorization before offering septic tank contracting services, 
3. Will offer septic tank contracting services under their own legal name, which is exempt from the requirement for a certificate of authorization, or
4. Are not currently planning to offer septic tank contracting services in Florida.
(4) Completed applications for registration must be received by the Department’s Onsite Sewage Program at least 21 days prior to examination. In order to be complete, the application must have all appropriate spaces filled, be signed by the applicant, be reviewed by the Department where the applicant provides service, include a money order or sufficiently funded check in the correct amount and contain all necessary support documentation. Support documentation shall include:
(a) A list of the 25 most recent contracts by the applicant or business organization completed immediately preceding the date of filing.
(b) Signed statements from two persons not related to the applicant for whom the applicant has provided services in the onsite sewage industry, stating what services were provided.
(c) Certification from a registered septic tank contractor or plumbing contractor of the applicant’s employment dates and work responsibilities.
(d) Documentation of payment of federal withholding tax and social security as required by law. For principal corporate officers of a corporation or partners in a partnership, legal documentation of their position in the corporation or partnership may be substituted for withholding tax and social security documentation.
(e) Two recent color passport style photographs, not older than 12 months and 1 1/2ꞌꞌ × 1 1/2ꞌꞌ inches in size.
(4)(5) Eligible applicants must successfully complete an examination administered by the Department. Minimum passing score for the examination is shall be a 75 percent correct response to all questions comprising the examination exam. A passing score is valid to issue a registration for five years from the date of the examination and expires on the fifth anniversary date. An applicant who was a Master Septic Tank Contractor within the previous three annual cycles and had previously been a Registered Septic Tank Contractor with the Department is exempt from the examination requirement to become a Registered Septic Tank Contractor. All other requirements for registration apply.
(5) All materials incorporated herein may be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400.
Rulemaking Authority 489.553(3), 489.557(1) FS. Law Implemented 489.552, 489.553 FS. History–New 10-25-88, Amended 3-17-92, 1-3-95, 5-14-96, 2-13-97, Formerly 10D-6.072, Amended 2-3-98, 4-21-02, 6-18-03, 11-26-06, 4-28-10, Formerly 64E-6.019, Amended X-XX-XX. 
DEP 4075, Application for Septic Tank Contractor Registration, is substantially rewritten. Present text can be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400.
62-6.020 Registration to Become a Master Septic Tank Contractor Contractors.
(1) Examination. A septic tank contractor or a plumbing contractor certified under Section 489.105(3)(m), F.S., who is eligible under Sections 489.553(5)(a) and (b), F.S., may apply to the Department to take the Master Septic Tank Contractor registration examination on Form DEP 4074 4015, 10/96, effective date xx-xx-xxxx, Application for Registered or Master Septic Tank Contractor Examination Registration, hereby incorporated by reference in subsection 62-6.019(2), F.A.C. In order for the application to be considered complete, the applicant for a Master Septic Tank Contractor registration examination or reexamination must:, to take the master contractor examination provided by the contractor: 
(a) Provide all information on the application in the appropriate spaces, sign the application, include the correct payment of the applicable fees as stated in subsection 62-6.030(2), F.A.C., in the correct amount, and include all supporting documentation required with the Form DEP 4074, incorporated by reference in subsection 62-6.019(2), F.A.C. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied. Has been in “active” status for the three years immediately preceding the date of application. This time period may not be interrupted by more than 60 accumulated days as “inactive” or include any registration probation or suspension imposed by the Department through administrative action.
(b) Provide to the Department confirmation that they satisfactorily completed the accelerated certification training, as defined in subsection 62-6.002(2), F.A.C., and completed a Department approved course on low-pressure dosing design. In order to complete the accelerated certification training the applicant must do the following: Has not been assessed more than $500.00 in administrative penalties by the Department in the three years immediately preceding the date of application.
1. Prior to participating in the pre-certification coursework and taking the associated examinations, a person requesting authorization to take the examinations as part of their qualifications must submit the following to the Department:
a. Examination fees and account creation fee.
b. Contact information: 
(I) Name (first name, middle, last name, generational suffix if applicable).
(II) Firm or business name, if applicable.
(III) Mailing address (street address, city, state, zip).
(IV) Email address.
(V) Date of birth.
(VI) Telephone number.
2. After submitting a complete application, applicants must register for participation in and complete the pre-certification coursework.
3. After completing the pre-certification coursework eligible applicants must successfully complete each part of the accelerated certification training examination administered by the Department. The minimum passing score for each part of the examination must be a 70 percent correct response to all questions.
a. Applicants not achieving a passing score on any part of the examination for any part or failing to take a scheduled examination are required to submit an additional examination fee before being authorized to take that part of the examination again.
b. If the applicant is unable to pass any part of the examination within two attempts, the applicant must reregister for the respective pre-certification coursework and examination pursuant to subparagraphs 62-6.020(1)(b)2. and 3., F.A.C.
(c) Does not have an outstanding fine assessed pursuant to this chapter which is in final order status and judicial reviews are exhausted.
(d) Has successfully resolved any disciplinary action involving septic tank contracting where an administrative action was commenced by the Department prior to the filing of the application.
(e) Has not been convicted of, found guilty of, or entered a plea of nolo contendere to, regardless of adjudication, a crime in any jurisdiction which is related to the practice of contracting for the three years immediately preceding the date of application.
(f) Has successfully completed 30 hours of master contractor course work approved by the Department. At a minimum, this course work shall include training and testing of soil classification, system design and theory, system material and construction standards, and regulatory requirements.
(2) Registration. Applicants who successfully passed the examination as provided for in subsection 62-6.020(3), F.A.C., can apply for registration as a Master Septic Tank Contractor. The application must be made on Form DEP 4075, effective date xx-xx-xxxx, Application for Septic Tank Contractor Registration, adopted and incorporated by reference in subsection 62-6.019(3), F.A.C. Completed applications for registration must be received by the Department Onsite Sewage Program office at least 21 days prior to examination. In order to be complete, the application for a Master Septic Tank Contractor registration must have all appropriate spaces filled, be signed and dated by the applicant, be reviewed by the Department where the applicant’s primary place of business is located, and include payment of all fees in the correct amount and contain all necessary supporting documentation a money order or sufficiently funded check in the correct amount. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied. For registration as a Master Septic Tank Contractor the applicant must:
(a) Have been a Registered Septic Tank Contractor or state-licensed plumbing contractor doing septic tank contracting services for the three years immediately preceding the date of application. This time period may not be interrupted by more than 60 accumulated days of an expired registration or suspension imposed by the licensing agency through administrative action.
(b) Have not been the subject of any final agency enforcement action under Chapter 381, F.S., 403, F.S., part III of Chapter 489, F.S., or Chapter 62-6, F.A.C. in the three years immediately preceding the date of application. 
(c) Does not have an outstanding fine assessed pursuant to Chapter 62-6, F.A.C., which is in final order status and judicial reviews are exhausted.
(d) Have successfully resolved any disciplinary action involving septic tank contracting where an administrative action was commenced by the licensing agency prior to the filing of the application.
(e) Have not been convicted of, found guilty of, or entered a plea of nolo contendere to, regardless of adjudication, a crime in any jurisdiction which is related to the practice of contracting for the three years immediately preceding the date of application. 
(f) Provide a certified State of Florida Criminal History Record Check, reviewed and provided by the Florida Department of Law Enforcement sent by the Florida Department of Law Enforcement directly to the Department of Environmental Protection, Finance and Accounting, Post Office Box 3070, Tallahassee, Florida 32315. The Department will evaluate the applicant’s good moral character pursuant to the requirements stated in Section 489.553(4)(a), F.S. 
(3) Eligible applicants must successfully complete a comprehensive examination administered by the Department. Minimum passing score for the examination is shall be a 70 percent correct response to the examination questions. A passing examination score is valid for up to five years to complete initial registration. 
(4) Master Septic Tank Contractor reversion to Septic Tank Contractor. Successful applicants shall be issued a master septic tank contractor certificate after they have paid the registration fee.
(a) A Master Septic Tank Contractor who previously met the requirements of Rule 62-6.019, F.A.C., may revert to a Registered Septic Tank Contractor at any time during the registration period by submitting a request in writing to the Department. The Department will not charge a fees to process this reversion request. 
(b) A Registered Septic Tank Contractor who reverted from a Master Septic Tank Contractor and still meets the requirements pursuant to Rule 62-6.021, F.A.C., may renew as a Master Septic Tank Contractor within five years of their reversion to a Registered Septic Tank Contractor. 
(c) After the expiration of a suspended license, a registrant has the option to renew as a Registered Septic Tank Contractor or as a Master Septic Tank Contractor, as long as the requirements set forth in Rules 62-6.019 and 62-6.020, F.A.C., are met, respectively.
(d) A Registered Septic Tank Contractor who reverts from a Master Septic Tank Contractor registration to a Registered Septic Tank Contractor must update their advertising information that is released to the general public within 30 days of the reversion to reflect the change in registration status.
(5) Master septic tank contractor certificates shall be renewed only after the contractor has completed 18 classroom hours of approved instruction for each renewal cycle. At least 6 classroom hours must be successfully completed in an approved master contractor course. Instructional time spent by a master septic tank contractor in providing Department approved continuing education training shall receive credit as master contractor course hours. Application for renewal shall be made on Form DEP 4076, 01/03, Application for Septic Tank Contractor Registration Renewal, herein incorporated by reference, accompanied by the required supporting documentation and fees.
(a) A master septic tank contractor who only completes 12 classroom hours of approved instruction during the renewal cycle shall revert to registered septic tank contractor status and shall apply for renewal under Rule 62-6.021, F.A.C.
(b) Applications for renewal not submitted in a timely and complete manner shall revert to inactive status. Each application for renewal shall be considered filed in a timely manner if it is postmarked prior to close of business on the date of expiration of the certificate. If that date falls on a weekend or legal holiday, the date of expiration shall be the first working day after the expiration date of the certificate. Application for renewal of an inactive certificate shall be made on Form DEP 4076, Application for Septic Tank Contractor Registration Renewal, accompanied by the required supporting documentation and fees.
(c) The Department shall deny an application for renewal for an outstanding administrative penalty with the Department where the penalty is final agency action and all judicial reviews are exhausted.
(d) Master contractors with “inactive” certificates shall be reinstated to “active” upon completion of the following:
1. Take sufficient continuing education courses and pay registration fees to cover the inactive period, or
2. Retake and pass the comprehensive examination.
(e) Master contractor certificates not renewed within five renewal cycles of the expiration date shall comply with subsections 62-6.020(1) through (4), F.A.C., to be reinstated as active.
(6) renumbered (5) No change.
Rulemaking Authority 489.553(3), 489.557(1) FS. Law Implemented 489.552, 489.553, 489.554 FS. History–New 2-13-97, Formerly 10D-6.0725, Amended 2-3-98, 4-21-02, 6-18-03, 11-26-06, Formerly 64E-6.020, Amended X-XX-XX.
62-6.021 Issuance and Renewal of Annual Registration Certificates and Renewal.
(1) Certificates of registration remain active until the end of the annual cycle as indicated on the registration certificate, except as specified in Rule 62-6.022, F.A.C. For new registrants the effective date of the registration is the date the applicant is notified by the Department, and the registration expires at the end of the next annual cycle. The effective date of an active registration is the first day of the current annual cycle or the date all information in subsection 62-6.021(2), F.A.C., is received, whichever is later. Subsequent renewals expire at the end of each annual cycle. Each annual cycle starts on October 1st and extends through the September 30th of the following year. shall be renewed only after information has been provided to the Department that the contractor has successfully completed 12 classroom hours of Department-approved instruction within the previous 12-month period. However, if a registered contractor successfully completes more hours of approved instruction than are required for registration renewal within a 12-month period, a maximum of 6 unused hours can be rolled over to renew their next year’s certificate of registration. Such information shall be accompanied by necessary renewal fees and a completed renewal application on Form DEP 4076, Application for Septic Tank Contractor Registration Renewal.
(2) A certificate of registration must be renewed only after the applicant has provided to the Department a complete Form DEP 4076, effective date xx-xx-xxxx, Application for Septic Tank Contractor Registration Renewal, herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19504, the required fee payment, and any necessary supporting documentation showing that the contractor has successfully completed the necessary number of classroom contact hours of Department-approved instruction within the previous annual cycle for their registration type as follows: 
(a) 12 hours for Registered Septic Tank Contractors or 
(b) 18 hours for Master Septic Tank Contractors, of which at least 6 hours must be successfully completed in an approved master level course. Instructional time spent by a Master Septic Tank Contractor in providing Department approved continuing education training will receive credit as master contractor classroom contact hours. A Master Septic Tank Contractor who only completes 12 classroom contact hours of approved instruction during the annual cycle may request to be renewed as a Registered Septic Tank Contractor, instead of their registration status becoming inactive. Such a contractor may renew as a Master Septic Tank Contractor upon submittal of documentation of the remaining required hours of continuing education during the current annual cycle.
(c) For both registration types no more than one third of the total hours submitted to meet the requirement can be on business practice or office management topics. 
(d) The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied.
(3) If a Registered or Master Septic Tank Contractor successfully completes more hours of approved instruction than are required for registration renewal during the previous annual cycle, a maximum of 6 unused hours can be rolled over to renew their next year’s certificate of registration. Such information must be accompanied by necessary renewal fees and a completed renewal application on Form DEP 4076, Application for Septic Tank Contractor Registration Renewal, adopted and incorporated by reference in subsection 62-6.021(2), F.A.C. 
(4)(2) Any registration renewal application which for any reason is not submitted in a timely and complete manner will shall revert to inactive status after expiration until renewed. Each application for renewal will shall be considered filed in a timely manner if the application has been postmarked or delivered to the Department physically or electronically, as provided for on Form DEP 4076, herein adopted and incorporated by reference in subsection 62-6.021(2), F.A.C., prior to the close of business 30 days before on the date of expiration of the registration. If the renewal application due that date falls on a weekend or legal holiday, the renewal application due date is of expiration shall be the first working day after the renewal application due expiration date on the certificate of registration.
(5) A Master Septic Tank Contractor may not have been the subject of more than one final agency enforcement action under Chapter 381, 403, or part III of Chapter 489, F.S., or Chapter 62-6, F.A.C., in the three years immediately preceding the date of renewal. 
(6) A Registered or Master Septic Tank Contractor must maintain good moral character as required by Section 489.553(4)(a), F.S.
(7)(3) A Rregistered Septic Tank Ccontractor or Master Septic Tank Contractor may request inactive status. Persons wishing to reactivate renew an inactive registration must complete and submit make application on Form DEP 4076, incorporated by reference in subsection 62-6.021(2), F.A.C., and substantiate the required number of 12 classroom contact hours of approved instruction for their registration type according to subsection 62-6.021(2), F.A.C., for the previous cycle during which each year the registration was considered inactive. Application must be accompanied by necessary exhibits and renewal fees. Persons holding inactive registrations for more than five annual renewal cycles from the date of inactivation who wish to become active may not reactivate renew the inactive registration but must shall seek new registration under Rule 62-6.019, F.A.C., for Registered Septic Tank Contractors or Rule 62-6.020, F.A.C., for Master Septic Tank Contractors.
(8)(4) The Department will shall deny an application for renewal if there is any outstanding administrative penalty with the Ddepartment where the penalty is final agency action and all judicial reviews are exhausted.
(9)(5) Approval of continuing education courses and course providers will be in accordance with the Department Policy on Requirements for Continuing Education Courses and Course Providers, April 2026 September 2006, (formerly from Department of Health), herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19508. A person seeking approval for a course or as course provider must provide Form DEP 4115, effective date xx-xx-xxxx, Application for Septic Tank Contracting Course Approval, herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19506, or Form DEP 4116, effective date xx-xx-xxxx, Application for Septic Tank Contracting Course Provider, herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19507, respectively, with payment of required fees specified in subsection 62-6.030(3), F.A.C. The applicant is responsible for all information supplied to the Department. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied.
(6) Beginning in 2004 and every 5 years thereafter, registration renewal applications shall include a recent color passport style photograph 1 1/2ꞌꞌ x 1 1/2ꞌꞌ inches in size and not older than 12 months. The applicant may provide the required photograph as a photographic print or in digital JPEG or TIFF format.
(7) renumbered as (10) No change. 
Rulemaking Authority 489.553(3), 489.557(1) FS. Law Implemented 489.552, 489.553, 489.554 FS. History–New 10-25-88, Amended 3-17-92, 1-3-95, 5-14-96, 2-13-97, Formerly 10D-6.073, Amended 3-22-00, 4-21-02, 6-18-03, 5-24-04, 11-26-06, Formerly 64E-6.021, Amended X-XX-XX.
Form DEP 4076, Application for Septic Tank Contractor Registration Renewal, is substantially rewritten. Present text can be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400)
DEP Form 4115, Application for Septic Tank Contracting Course Approval, is substantially rewritten. Present text can be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400)
DEP Form 4116, Application for Septic Tank Contracting Course Provider, is substantially rewritten. Present text can be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400)
62-6.022 Standards of Practice and Disciplinary Standards Guidelines.
(1) This rule applies to administrative remedies as described under Section 403.121. F.S. This rule does not apply to or preclude judicial remedies as authorized under Section 403.121(1) and Section 403.141, F.S.
(2)(1) It is shall be the responsibility of persons registered under this Chapter rule to see that work for which they have contracted or and which has been performed by them or under their supervision is carried out in conformance with the requirements of all applicable Florida Statutes and Chapter 62-6, F.A.C. The following actions by a person subject to this Chapter are included under this rule shall be deemed unethical and subject to penalties as set forth within Florida Statutes and rules of the Department in this section. The penalties listed are shall be used as guidelines in disciplinary cases, absent aggravating or mitigating circumstances and subject to other provisions of this Chapter and Part I of Chapter 403, F.S. section. 
(a) Providing contracted services or advertising to provide services without obtaining registration from the Department as required in Rule 62-6.019, F.A.C., failure to obtain a certificate of authorization for a business organization firm which provides contracted services as required in Rule 62-6.023, F.A.C., acting under a name not registered or authorized by the Ddepartment. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine, or revocation.
(b) Permit violations.
1. Contractor initiates work to install, modify, or repair a system when no permit has been issued by the Department. A permit is issued after construction is started but prior to completion of the contracted work. No inspections are missed. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and 90 day suspension or revocation.
2. Contracted work is completed without a permit having been issued, or no permit application is received until after contracted work was completed, resulting in missed inspection or inspections. First violation:, letter of warning or penalty of $2,000 fine up to $1,000.00; repeat violation:, revocation.
(c) Contracting with a delinquent registration. Delinquent registration includes suspended, revoked, void and inactive registrations. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00,$500.00 fine or revocation. 
(d) Failure to call for required inspections. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, letter of warning or penalty of $2,000.00 fine up to $500.00 and 90 day suspension or revocation.
(e) False payment statements which are the result of assessing charges to a customer for work not performed. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and one year suspension or revocation.
(f) Failure to reasonably honor a written warranty. First violation, letter of warning or fine up to $500.00; repeat violations, $500.00 fine and one year suspension or revocation.
(f)(g) Abandoning for 30 consecutive days, without good cause, a project in which the contractor, or person, is engaged or under contractual obligation to perform. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, revocation.
(g)(h) Aiding or abetting evasion of Chapter 489, F.S., or Chapter 381, F.S. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and one year suspension or revocation.
(h)(i) Obtaining registration through fraud or misrepresentation. Revocation and penalty of $2,000.00 $500.00 fine.
(j) Convicted or found guilty of a crime relating to contracting. Use penalty for violation most closely resembling the act underlying the conviction; repeat violation, revocation.
(i)(k) Practicing fraud or deceit, making misleading or untrue representations. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, revocation.
(j)(l) Gross negligence, incompetence, or misconduct which:
1. Causes no monetary or other harm to a customer, or physical harm to any person. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and 90 day suspension or revocation.
2. Causes monetary or other harm to a customer, or physical harm to any person. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00 and 90 day suspension; repeat violation: penalty of $2,000.00, $500.00 fine and revocation.
(k)(m) Operating a septage disposal service without a valid Department service operating permit. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, revocation.
(l)(n) Failure to properly treat or properly dispose of septage, holding tank waste, portable restroom waste, or food service sludge. First violation: letter of warning or penalty of $2,000.00 fine up to $500.00 per violation of Rule 62-6.010, F.A.C.; repeat violation:, revocation.
(m)(o) Failure to maintain completed records of septage treatment and disposal activities. First violation: letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and 90 day suspension or revocation.
(n)(p) Installation, modification, or repair of an onsite sewage treatment and disposal system in violation of the standards of Section 381.0065 or 381.00655, F.S., or Chapter 62-6, F.A.C. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00 per specific standard violated; repeat violation:, 90 day suspension or revocation.
(o)(q) Creation or maintenance of a sanitary nuisance as defined by Section 386.01, F.S., and described in Section 386.041, F.S. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, 90 day suspension or revocation.
(p)(r) Falsifying an inspection report as a private provider inspector or covering a system in violation of the standards of Rule 62-6.003, F.A.C. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation:, 90 day suspension of private provider inspector master septic tank contractor privileges or revocation of registration.
(q) Falsifying a site evaluation report or an existing system and system repair evaluation form. First violation: letter of warning or penalty of $2,000.00; repeat violation: 90 day suspension or revocation.
(r) Falsifying any maintenance service report(s) or report(s) about work performed. First violation: letter of warning or penalty of $2,000.00; repeat violation: 90 day suspension or revocation.
(s) Performing service on an onsite sewage disposal system that is clearly not necessary to improve the function or design of the system without notifying the property owner that such work is optional. First violation:, letter of warning or penalty of $2,000.00 fine up to $500.00; repeat violation: penalty of $2,000.00, $500.00 fine and one year suspension or revocation.
(t) The absence of any violation from this subsection is section shall be viewed as an oversight, and is shall not be construed as an indication that no penalty is to be assessed.
(3)(2) Circumstances which will shall be considered for the purposes of mitigation or aggravation of penalty shall include the following:
(a) through (h) No change. 
(i) The effect of the penalty upon the registrant’s contractor’s livelihood.
(j) through (k) No change
(4)(3) As used in this rule, a repeat violation is any violation on which disciplinary action is being taken where the same registrant licensee had previously had disciplinary action taken against them him or received a letter of warning in a prior case that was finalized within the preceding five years. This definition applies regardless of the chronological relationship of the violations and regardless of whether the violations are of the same or different subsections of this rule. The penalty given in the above list for repeat violations is intended to apply only to situations where the repeat violation is of a different subsection of this rule than the first violation. Where the repeat violation is the very same type of violation as the first violation, the penalty set out above will generally be increased over what is shown for repeat violations.
(5)(4) Where several of the above violations shall occur in one or more several cases being considered together, the penalties will shall normally be cumulative and consecutive.
(6)(5) The provisions of this section must shall not be construed so as to prohibit civil action or criminal prosecution as provided in Part I of Chapter 403, F.S., Part III of Chapter 489, F.S., and Section 381.0065, F.S., or for a violation of any provision of Part I of Chapter 386, F.S. 
(7) No provision of this rule will section shall be construed as to limit the ability of the Department to enter into binding stipulation with the accused party per Section 120.57(4), F.S. 
(8) If a person registered under Part III of Chapter 489, F.S., fails to maintain good moral character as required by Section 489.553(4), F.S., or is convicted of, found guilty of, or enters a plea of nolo contendere to, regardless of adjudication, a crime in any jurisdiction which directly relates to the practice of contracting or the ability to practice contracting, the Department can revoke or suspend their registration.
Rulemaking Authority 381.0011(4), (13), 381.0065(3)(a), 403.061(7), 489.553(2), (3), 489.556, 489.557 FS. Law Implemented 403.121, 403.161, Part III 489 FS. History–New 3-17-92, Amended 1-3-95, 2-13-97, Formerly 10D-6.0751, Amended 2-3-98, 5-24-04, Formerly 64E-6.022, Amended xx-xx-xx.
62-6.023 Certification of Septic Tank Contracting, Partnerships, and Corporations.
(1) Authorization of a business organization, as defined in Section 489.105(13), F.S., corporation is only effective as to that business organization. corporation; Ssubsidiaries or parents of authorized business organizations corporations must be separately authorized by the same process.
(a) Application for a certificate of authorization must shall be made to the Department on Form DEP 4077, effective date xx-xx-xxxx 04/03, Application for Certificate of Authorization, herein adopted and incorporated by reference at http://flrules.org/Gateway/reference.asp?No=Ref-19505, and must shall be accompanied by all necessary exhibits and fees. A business that applies for a certificate of authorization after the mid point of the biennial authorization cycle must shall pay half one/half the fee required in Rule 62-6.030, F.A.C. The applicant has ninety days after the Department issues a request for additional information to submit the requested information to the Department. If the applicant does not respond within ninety days, the application will be denied.
(b) Any certificate of authorization not renewed in a timely manner will become inactive after expiration until renewed shall expire. Applications for renewal are shall be considered timely filed if the application has been post marked or has been delivered to the Department physically or electronically, as provided for on Form DEP 4077, incorporated by reference in paragraph 62-6.023(1)(a), F.A.C., prior to the close of business 30 days before on the date of expiration of the certificate. If that date falls on a weekend or legal holiday, the day of expiration is shall be the first working day after the expiration date of the certificate.
(2) A Rregistered Septic Tank Ccontractor or Master Septic Tank Contractor may not be the sole qualifying contractor for more than one business organization required to have a certificate of authorization. Per Section 489.555, F.S., a Registered Septic Tank Contractor or Master Septic Tank Contractor practicing under their own name and exempt from the requirement to obtain a certificate of authorization may not also be the sole qualifying contractor for a business organization.
(3) A business organization which loses its qualifying contractor has shall have sixty (60) days from the date the qualifier terminated their his affiliation within which to obtain another qualifying contractor person. This period will shall be extended by the Department for a period of 30 days pending the outcome of the examination for a new qualifying contractor if the applicant has provided a completed application and all required exhibits and fees. During this period, the business organization may complete any existing contracts or continuing contracts, but may not undertake new contracts.
(4) A business organization must shall provide written notification to the Department within 30 days of any change in the ownership of the business organization or change in the registration status of the qualifying contractor. 
(5) Authorized business organizations may conduct business under fictitious names which are registered with the Department of State, Division of Corporations, and with the Department’s Onsite Sewage Program. Additionally, aA business organization must that changes its name shall apply for a new certificate of authorization within 30 days of a the name change for any of the following reasons:.
(a) when the business organization changes its legal name, 
(b) if the business organization begins conducting business under a new fictitious name, 
(c) if the business organization stops using or loses the right to use its fictitious name as registered with the Department of State, Division of Corporations, or as registered with the Department’s Onsite Sewage Program. 
(6) A business organization registered under a fictitious name must display that fictitious name as the name of the company in compliance with this Chapter or as stated in subsections 62-6.010(3), 62-6.0101(3), paragraph 62-6.0101(7)(i), or paragraph 62-6.023(1)(a), F.A.C., or must clearly identify and display the legal name and fictitious name in combination, separated by “dba.” 
(7) A business organization which conducts business under multiple fictitious names must obtain a separate certificate of authorization for each fictitious name, with a separate qualifying contractor for each.
(6) renumbered as (8) No change.

Rulemaking Authority 381.0065, 489.553, 489.554, 489.557 FS. Law Implemented 381.0065, Part III 489 FS. History–New 10-25-88, Amended 3-17-92, 1-3-95, 5-14-96, 2-13-97, Formerly 10D-6.076, Amended 4-21-02, 5-24-04, 6-25-09, 4-28-10, Formerly 64E-6.023, Amended X-XX-XX.
DEP 4077, Application for Certificate of Authorization, is substantially rewritten. Present text can be obtained from the Department of Environmental Protection, Onsite Sewage Program at www.floridadep.gov or 2600 Blair Stone Road, MS #3596, Tallahassee, Florida 32399-2400) 
62-6.030 Fees.
(1) The following fees are required for services provided by the Department.
	(a) Application and plan review for system construction permit for new system.
	$100.00

	(b) through (y) No change.


(2) No change.
(3) The following fees are required to accompany applications for registration as a course provider or for approval of a continuing education course for septic tank contractor continuing education, as specified.
	(a) Course provider application fee.
	$250.00

	(b) Continuing education course approval: per classroom contact hour up to 6 classroom contact hours.
	$25.00 per hour

	(c) Continuing education course approval: for course more than 6 classroom contact hours.
	$150.00


Rulemaking Authority 154.06(1), 381.0065(3)(c), 381.0065(8)(h), 381.0066, 489.554, 489.557(1) FS. Law Implemented 381.0064, 381.0065, 381.0066, 489.557 FS. History–New 2-3-98, Amended 3-22-00, 4-21-02, 5-24-04, 11-26-06, 9-24-07, Formerly 64E-6.030, Amended 7-9-25, X-XX-XX.
NAME OF PERSON ORIGINATING PROPOSED RULE: Tanya Welborn

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Alexis A. Lambert

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: March 26, 2026

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: November 20, 2025
