Notice of Change/Withdrawal

DEPARTMENT OF HEALTH
RULE NOS.:
RULE TITLES:

64-4.300
CMTL Definitions

64-4.302
Renewal Application Requirements for CMTLs

64-4.310
CMTL Calibration Standards

64-4.314
CMTL Background Screening

NOTICE OF CORRECTION

Notice is hereby given that the following correction has been made to the proposed rule in Vol. 51 No. 84, April 30, 2025 issue of the Florida Administrative Register.

64-4.300 CMTL Definitions.
The following words and phrases have the meanings provided below and apply to Rules 64-4.301-4.315, F.A.C.:
(1) through (66) No change.
(67) Owner – Any person who, directly or indirectly, owns a legal or equitable Interest (actually or beneficially), or otherwise Controls, any share of Interests of the Applicant or CMTL. In the event that one person owns a beneficial right to Interests and another person holds the voting rights with respect to such Interests, both persons are the Owner of such Interests. In determining who are Owners of the Applicant or a CMTL, the attribution of ownership rules set forth in the Treasury Regulations cited as 26 C.F.R. § 1.414(c)-4(b) and (c) (4-1-19 edition), incorporated by reference and available at https://flrules.org/Gateway/reference.asp?No=Ref-19582 https://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX, apply with the following modifications:
(a) through (f) No change.
(68) through (106) No change.
Rulemaking Authority Art. X, § 29, Fla. Const., 381.988(2), 381.988(3), 381.988(9), FS. Law Implemented Art. X, § 29, Fla. Const., 381.988, FS. History–New___.
64-4.302 Renewal Application Requirements for CMTLs.
(1) Each CMTL seeking renewal of its certification for a Testing Facility must submit a renewal application to the department in compliance with Form DH5063-OMMU-04/2025 (Eff. 4/2025), “Certified Marijuana Testing Laboratory Renewal Application Instructions, Requirements, and Forms,” herein incorporated by reference and available at https://flrules.org/Gateway/reference.asp?No=Ref-19583 https://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX. A CMTL must also submit a non-refundable renewal fee of $78,000 by cashier’s check made payable to the “Florida Department of Health” before the renewal application is deemed submitted.
(2) through (7) No change.
Rulemaking Authority Art. X, § 29, Fla. Const., 381.988(2), 381.988(9), FS. Law Implemented Art. X, § 29, Fla. Const., 381.988, FS. History – New___.
The Department is making corrections to the following material incorporated by reference: Removing extra spaces between sections and correspondingly updating the page numbers in the table of contents on page 2 in Form DH5063-OMMU-04/2025 (Eff. 4/2025), “Certified Marijuana Testing Laboratory Renewal Application Instructions, Requirements, and Forms.”
64-4.310 CMTL Calibration Standards.
(1) No change.
(2) The LOD must be calculated for Mycotoxins, Heavy Metals, Residual Solvents, Agricultural Agents, and Cannabinoid Profile. In the determination of the LOD, the CMTL must follow the U.S. Environmental Protection Agency, “Definition and Procedure for the Determination of the Method Detection Limit,” Revision 2, December 2016, which is incorporated by reference herein and available at https://flrules.org/Gateway/reference.asp?No=Ref-19584 https://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX. The LOD for chemical methods must be 1/5 of the Acceptable Limit or less with an instrument signal to noise ratio of 3:1 or greater for each Target Analyte, including all isomers and compounds thereof, as calculated in the Analytical Sample after correction for all Dilution Factors and sample weights or volumes.
(3) through (7) No change.
Rulemaking Authority Art. X, § 29, Fla. Const., 381.988(3), 381.988(9), FS. Law Implemented Art. X, § 29, Fla. Const., 381.988, FS. History–New__.
64-4.314 CMTL Background Screening.
(1) No change.
(2) Background Screening Procedures.
(a) No change.
(b) A CMTL or Applicant must request that the department process the prospective employee, owner, or manager’s background report. The request must be submitted by email to OMMUBGS@flhealth.gov and include the full name of the person(s) submitting to background screening together with Form DH5061-OMMU-04/2025 (Eff. 4/2025), “Certified Marijuana Testing Laboratory Background Screening Acknowledgment and Information,” incorporated by reference and available at https://knowthefactsmmj.com/rules-and-regulations and at https://flrules.org/Gateway/reference.asp?No=Ref-19585 https://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX. Form DH5061-OMMU-04/2025 must be completed, signed, and dated by the prospective employee, owner, or manager prior to the submission of fingerprints. If Form DH5061-OMMU-04/2025 is signed and dated after the submission of fingerprints to the Livescan Provider, the department will not process the background report. 
(c) through (f) No change.
(3) through (4) No change.
Rulemaking Authority Art. X, § 29, Fla. Const., 381.988(3), 381.988(9), 943.05(2)(h)3., FS. Law Implemented Art. X, § 29, Fla. Const., 381.988, 943.05, FS. History–New__.
