Notice of Change/Withdrawal

DEPARTMENT OF LAW ENFORCEMENT
Division of Local Law Enforcement Assistance
RULE NO.:
RULE TITLE:

11D-8.011
Approval of Blood Alcohol Test Methods

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 52 No. 64, April 2, 2026 issue of the Florida Administrative Register.
11D-8.011 Approval of Blood Alcohol Test Methods.
(1) No change.

(2) For gas chromatographic analytical procedure approvals the laboratory shall submit to the Department procedures which meet the following specifications:

(a) No change. 
(b) Uses commercially-prepared standards and controls certified by the manufacturer, or laboratory-prepared standards and controls verified using gas chromatography against certified standards. Commercially-prepared whole blood or serum control(s) that are not certified must be verified using gas chromatography against certified standards. For commercially-prepared standards and controls, the manufacturer, lot number and expiration date must be documented for each sample or group of samples being analyzed. For commercially-prepared whole blood or serum control(s) that are not certified, verification must also be documented. For laboratory-prepared standards and controls, date, person preparing the solution, method of preparation and verification must be documented;

(c) through (g) No change. 
(3) through (5) No change. 
Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3., (d) FS. Law Implemented 316.1933(2)(b), 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.353(2), 327.354(3) FS. History–New 10-31-93, Amended 7-29-15, 7-17-25,      .
