Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

NOTICE IS HEREBY GIVEN that on May 21, 2026, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for Equestrian Operations LLC at 8050 NW 17TH Place, Ocala, FL 34482. Petitioner seeks a routine variance of the requirements of ASME A17.1, 2019 Edition, Section 2.8.2.4, as adopted by 61C-5.001, Florida Administrative Code that may require a means to include a system for testing fire-alarm initiating devices without entering the hoistway in jurisdictions enforcing the NBCC or NFPA72, provided it uses approved air-sampling or enclosed-device methods that meet strict rules for rated access panels, secure self-closing doors, noncombustible protective cages with required strength and clearances, limited hoistway intrusion, and coordination of installation locations with the elevator installer, which poses a significant economic/financial hardship. Any interested person may file comments within 14 days of the publication of this notice with the Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013 (VW2026-070).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, elevators.dhr@myfloridalicense.com.
