Notice of Proposed Rule

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal
RULE NO.:
RULE TITLE: 
69A-3.012
Standards of the National Fire Protection Association and Other Standards Adopted

PURPOSE AND EFFECT: This rulemaking will update the Florida Fire Prevention Code to include the most recently adopted National Fire Protection Association (NFPA) standards and promulgate the triennial update of the Florida Fire Prevention Code with Florida-specific amendments, as directed by section 633.202(1), F.S.

SUMMARY: This rulemaking implements the NFPA and other standards adopted as part of Florida’s uniform fire safety standards.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: 
The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency. 
The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: The Department conducted a regulatory analysis to determine if there is an adverse impact or regulatory costs associated with this rule that exceeds the criteria in section 120.541(2)(a), F.S. Based upon this analysis, the Department has determined that the proposed rule is not expected to require legislative ratification.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 633.104, 633.202, 633.206, 633.222, F.S.

LAW IMPLEMENTED: 633.104, 633.202, 633.206, 633.222, 791.012, F.S.

A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW: 
DATE AND TIME: July 14, 2026, 11:00 a.m. EST

PLACE: Microsoft Teams meeting 
Join: https://teams.microsoft.com/meet/213932572399144?p=frzD3LXjsZwbOml5on 
Meeting ID: 213 932 572 399 144 
Passcode: uD2ad2WT 
Need help? | System reference 
Dial in by phone 
+1(850)328-4354,,381334438# United States, Tallahassee 
Find a local number 
Phone conference ID: 381 334 438#

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: Elijah Flowers at, (850) 413-3731 or DSFM.Rules@myfloridacfo.com.. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Elijah Flowers at, (850)413-3731 or DSFM.Rules@myfloridacfo.com.

THE FULL TEXT OF THE PROPOSED RULE IS:

69A-3.012 Standards of the National Fire Protection Association and Other Standards Adopted.
(1) Except as specifically modified by statute or by the State Fire Marshal’s rules, the “Florida Fire Prevention Code, 9th 8th Edition (2026 2023),” which is comprised of the Florida specific edition of NFPA 101, the Life Safety Code® Florida 2024 2021 Edition and NFPA 1, the Fire Code Florida 2024 2021 Edition, are hereby adopted and incorporated by reference and are applicable to those buildings and structures specified in paragraphs (a) and (b), of subsection (1), of Section 633.206, F.S. In addition, the following standards, except as specifically modified in the rule chapters in rule Division 69A, are hereby adopted and incorporated by reference and shall take effect on the effective date of this rule, as a part of the uniform fire safety standards adopted by rule by the State Fire Marshal and are applicable to those buildings and structures specified in Sections 633.206(1)(a) and (b), F.S.:
(a) NFPA 2, 2023 2020 edition, Hydrogen Technologies Code.
(b) NFPA 4, 2024 2021 edition, Standard for Integrated Fire Protection and Life Safety System Testing.
(c) NFPA 10, 2022 2018 edition, Standard for Portable Fire Extinguishers.
(d) NFPA 11, 2021 2016 edition, Standard for Low-, Medium-, and High- Expansion Foam.
(e) NFPA 12, 2022 2018 edition, Standard on Carbon Dioxide Extinguishing Systems.
(f) NFPA 12A, 2022 2018 edition, Standard on Halon 1301 Fire Extinguishing Systems.
(g) NFPA 13, 2022 2019 edition, Standard for the Installation of Sprinkler Systems.
(h) NFPA 13D, 2022 2019 edition, Standard for the Installation of Sprinkler Systems in One- and Two- Family Dwellings and Manufactured Homes.
(i) NFPA 13R, 2022 2019 edition, Standard for the Installation of Sprinkler Systems in Low-Rise Residential Occupancies.
(j) NFPA 14, 2024 2019 edition, Standard for the Installation of Standpipe and Hose Systems.
(k) NFPA 15, 2022 2017 edition, Standard for Water Spray Fixed Systems for Fire Protection.
(l) NFPA 16, 2019 edition, Standard for the Installation of Foam-Water Sprinkler and Foam-Water Spray Systems.
(l)(m) NFPA 17, 2024 2021 edition, Standard for Dry Chemical Extinguishing Systems.
(m)(n) NFPA 17A, 2024 2021 edition, Standard for Wet Chemical Extinguishing Systems.
(n)(o) NFPA 20, 2022 2019 edition, Standard for the Installation of Stationary Pumps for Fire Protection.
(o)(p) NFPA 22, 2023 2018 edition, Standard for Water Tanks for Private Fire Protection.
(p)(q) NFPA 24, 2022 2019 edition, Standards for the Installation of Private Fire Service Mains and Their Appurtenances.
(q)(r) NFPA 25, 2023 2020 edition, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.
(r)(s) NFPA 30, 2024 2021 edition, Flammable and Combustible Liquids Code.
(s)(t) NFPA 30A, 2024 2021 edition, Code for Motor Fuel Dispensing Facilities and Repair Garages.
(t)(u) NFPA 30B, 2023 2019 edition, Code for the Manufacture and Storage of Aerosol Products.
(u)(v) No change.
(v)(w) NFPA 32, 2021 2016 edition, Standards for Drycleaning Facilities.
(w)(x) NFPA 33, 2021 2018 edition, Standard for Spray Application Using Flammable or Combustible Materials.
(x)(y) NFPA 34, 2021 2018 edition, Standard for Dipping, Coating, and Printing Processes Using Flammable or Combustible Liquids.
(y)(z) NFPA 35, 2021 2016 edition, Standard for the Manufacture of Organic Coatings.
(z)(aa) NFPA 36, 2021 2017 edition, Standard for Solvent Extraction Plants.
(aa)(bb) NFPA 37, 2024 2021 edition, Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines.
(bb)(cc) NFPA 40, 2022 2019 edition, Standard for the Storage and Handling of Cellulose Nitrate Film.
(cc)(dd) NFPA 45, 2024 2019 edition, Standard on Fire Protection for Laboratories Using Chemicals.
(dd)(ee) NFPA 51, 2023 2018 edition, Standard for the Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting, and Allied Processes.
(ee)(ff) NFPA 51B, 2024 2019 edition, Standard for Fire Prevention During Welding, Cutting, and Other Hot Work.
(ff)(gg) NFPA 52, 2023 2019 edition, Vehicular Natural Gas Fuel Systems Code.
(gg)(hh) NFPA 54, 2024 2021 edition, National Fuel Gas Code.
(hh)(ii) NFPA 55, 2023 2020 edition, Compressed Gasses and Cryogenic Fluids Code.
(ii)(jj) NFPA 56, 2023 2020 edition, Standard for Fire and Explosion Prevention During Cleaning and Purging of Flammable Gas Piping Systems.
(jj)(kk) NFPA 58, 2024 2020 edition, Liquefied Petroleum Gas Code.
(kk)(ll) NFPA 59, 2024 2021 edition, Utility LP-Gas Plant Code.
(ll)(mm) NFPA 59A, 2023 2019 edition, Standard for the Production, Storage and Handling of Liquefied Natural Gas (LNG).
(mm)(nn) No change.
(nn)(oo) NFPA 68, 2023 2018 edition, Standard on Explosion Protection by Deflagration Venting.
(oo)(pp) No change.
(pp)(qq) NFPA 70, 2023 2020 edition, National Electrical Code®.
(qq)(rr) NFPA 72, 2022 2019 edition, National Fire Alarm and Signaling Code.
(rr)(ss) No change.
(ss)(tt) No change.
(tt)(uu) NFPA 80, 2022 2019 edition, Standard for Fire Doors and Other Opening Protectives.
(uu)(vv) No change.
(vv)(ww) NFPA 85, 2023 2019 edition, Boiler and Combustion Systems Hazards Code.
(ww)(xx) NFPA 86, 2023 2019 edition, Standard for Ovens and Furnaces.
(xx)(yy) NFPA 88A, 2023 2019 edition, Standard for Parking Structures.
(yy)(zz) NFPA 90A, 2024 2021 edition, Standard for the Installation of Air-Conditioning and Ventilating Systems.
(zz)(aaa) NFPA 90B, 2024 2021 edition, Standard for the Installation of Warm Air Heating and Air-Conditioning Systems.
(aaa)(bbb) No change.
(bbb)(ccc) NFPA 92, 2021 2018 edition, Standard for Smoke-Control Systems.
(ccc)(ddd) NFPA 96, 2024 2021 edition, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations.
(ddd)(eee) NFPA 99, 2024 2021 edition, Health Care Facilities Code.
(eee)(fff) NFPA 99B, 2024 2021 edition, Standard for Hypobaric Facilities.
(fff)(ggg) NFPA 101, 2024 2021 edition, Life Safety Code®.
(ggg)(hhh) NFPA 101A, 2022 2019 edition, Guide on Alternative Approaches to Life Safety.
(hhh)(iii) NFPA 102, 2021 2016 edition, Standard for Grandstands, Folding and Telescopic Seating, Tents, and Membrane Structures.
(iii)(jjj) NFPA 105, 2022 2019 edition, Standard for Smoke Door Assemblies and Other Opening Protectives.
(jjj)(kkk) NFPA 110, 2022 2019 edition, Standard for Emergency and Standby Power Systems.
(kkk)(lll) NFPA 111, 2022 2019 edition, Standard on Stored Electrical Energy Emergency and Standby Power Systems.
(lll)(mmm) No change.
(mmm)(nnn) NFPA 120, 2023 2020 edition, Standard for Fire Prevention and Control in Coal Mines.
(nnn)(ooo) NFPA 122, 2023 2020 edition, Standard for Fire Prevention and Control in Metal/Nonmetal Mining and Metal Mineral Processing Facilities.
(ooo)(ppp) NFPA 130, 2023 2020 edition, Standard for Fixed Guideway Transit and Passenger Rail Systems.
(ppp)(qqq) NFPA 140, 2024 2018 edition, Standard on Motion Picture and Television Production Studio Soundstages, Approved Production Facilities, and Production Locations.
(qqq)(rrr) NFPA 150, 2022 2019 edition, Standard on Fire and Life Safety in Animal Housing Facilities.
(rrr)(sss) No change.
(sss)(ttt) NFPA 170, 2021 2018 edition, Standard for Fire Safety and Emergency Symbols.
(ttt)(uuu) NFPA 204, 2021 2018 edition, Standard for Smoke and Heat Venting.
(uuu)(vvv) NFPA 211, 2024 2019 edition, Standard for Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances.
(vvv)(www) NFPA 221, 2024 2021 edition, Standard for High Challenge Fire Walls, Fire Walls, and Fire Barrier Walls.
(www)(xxx) NFPA 232, 2022 2017 edition, Standard for the Protection of Records.
(xxx)(yyy) NFPA 241, 2022 2019 edition, Standard for Safeguarding Construction, Alteration and Demolition Operations.
(zzz) NFPA 251, 2006 edition, Standard Methods of Tests of Fire Resistance of Building Construction and Materials.
(yyy)(aaaa) NFPA 252, 2022 2017 edition, Standard Methods of Fire Tests of Door Assemblies.
(zzz)(bbbb) NFPA 253, 2023 2019 edition, Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source.
(aaaa)(cccc) NFPA 257, 2022 2017 edition, Standard on Fire Test for Window and Glass Block Assemblies.
(bbbb)(dddd) NFPA 259, 2023 2018 edition, Standard Test Method for Potential Heat of Building Materials.
(eeee) NFPA 260, 2019 edition, Standard Methods of Tests and Classification System for Cigarette Ignition Resistance of Components of Upholstered Furniture.
(ffff) NFPA 261, 2018 edition, Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes.
(cccc)(gggg) NFPA 265, 2023 2019 edition, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile or Expanded Vinyl Wall Coverings on Full Height Panels and Walls.
(dddd)(hhhh) NFPA 286, 2024 2019 edition, Standard Methods of Fire Test for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth.
(eeee)(iiii) NFPA 288, 2022 2017 edition, Standard Methods of Fire Tests of Horizontal Fire Door Assemblies Installed in Horizontal Fire Resistance-Rated Assemblies.
(ffff)(jjjj) NFPA 289, 2023 2019 edition, Standard Method of Fire Test for Individual Fuel Packages.
(gggg)(kkkk) NFPA 301, 2023 2018 edition, Code for Safety to Life from Fire on Merchant Vessels.
(hhhh)(llll) No change.
(iiii)(mmmm) No change.
(jjjj)(nnnn) No change.
(kkkk)(oooo) No change.
(llll)(pppp) NFPA 318, 2022 2018 edition, Standard for the Protection of Semiconductor Fabrication Facilities.
(mmmm)(qqqq) No change.
(nnnn)(rrrr) NFPA 385, 2022 2017 edition, Standard for Tank Vehicles for Flammable and Combustible Liquids.
(oooo)(ssss) NFPA 400, 2022 2019 edition, Hazardous Materials Code.
(tttt) NFPA 403, 2018 edition, Standard for Aircraft Rescue and Fire-Fighting Services at Airports.
(pppp)(uuuu) NFPA 407, 2022 2017 edition, Standard for Aircraft Fuel Servicing.
(qqqq)(vvvv) NFPA 408, 2022 2017 edition, Standard for Aircraft Hand Portable Fire Extinguishers.
(rrrr)(wwww) NFPA 409, 2022 2016 edition, Standard on Aircraft Hangars.
(ssss)(xxxx) No change.
(tttt)(yyyy) NFPA 415, 2022 2016 edition, Standard on Airport Terminal Buildings, Fueling Ramp Drainage, and Loading Walkways.
(uuuu)(zzzz) NFPA 418, 2021 2016 edition, Standard for Heliports.
(vvvv)(aaaaa) NFPA 423, 2022 2016 edition, Standard for Construction and Protection of Aircraft Engine Test Facilities.
(wwww) NFPA 460, 2024 edition, Standard for Aircraft Rescue and Firefighting Services at Airports, Recurring Proficiency of Airport Fire Fighters, and Evaluating Aircraft Rescue and Firefighting Foam Equipment.
(xxxx)(bbbbb) NFPA 484, 2022 2019 edition, Standard for Combustible Metals.
(yyyy)(ccccc) NFPA 495, 2023 2018 edition, Explosive Materials Code.
(zzzz)(ddddd) NFPA 498, 2023 2018 edition, Standard for Safe Havens and Interchange Lots for Vehicles Transporting Explosives.
(aaaaa)(eeeee) NFPA 501, 2022 2017 edition, Standard on Manufactured Housing.
(bbbbb)(fffff) NFPA 501A, 2021 2017 edition, Standard for Fire Safety Criteria for Manufactured Home Installations, Sites, and Communities.
(ccccc)(ggggg) NFPA 502, 2023 2020 edition, Standard for Road Tunnels, Bridges, and Other Limited Access Highways.
(ddddd)(hhhhh) NFPA 505, 2024 2018 edition, Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance, and Operations.
(eeeee)(iiiii) No change.
(fffff)(jjjjj) No change.
(ggggg)(kkkkk) No change.
(hhhhh)(lllll) No change.
(iiiii)(mmmmm) No change.
(jjjjj)(nnnnn) NFPA 701, 2023 2019 edition, Standard Methods of Fire Tests for Flame Propagation of Textiles and Films.
(kkkkk)(ooooo) NFPA 703, 2024 2021 edition, Standard for Fire Retardant-Treated Wood and Fire-Retardant Coatings for Building Materials.
(lllll)(ppppp) NFPA 704, 2022 2017 edition, Standard System for the Identification of the Hazards of Materials for Emergency Response.
(mmmmm)(qqqqq) NFPA 731, 2023 2020 edition, Standard for the Installation of Electronic Premises Security Systems.
(nnnnn)(rrrrr) No change.
(ooooo) NFPA 770, 2021 edition, Standard on Hybrid (Water and Inert Gas) Fire-Extinguishing Systems.
(ppppp)(sssss) NFPA 780, 2023 2020 edition, Standard for the Installation of Lightning Protection Systems.
(qqqqq)(ttttt) No change.
(rrrrr)(uuuuu) No change.
(sssss)(vvvvv) No change.
(ttttt)(wwwww) NFPA 820, 2024 2020 edition, Standard for Fire Protection in Wastewater Treatment and Collection Facilities.
(uuuuu)(xxxxx) NFPA 855, 2023 2020 edition, Standard for the Installation of Stationary Stationarry Energy Storage Systems. System.
(vvvvv)(yyyyy) NFPA 909, 2021 2017 edition, Code for the Protection of Cultural Resource Properties – Museums, Libraries, and Places of Worship.
(wwwww)(zzzzz) NFPA 914, 2023 2019 edition, Code for Fire Protection of Historic Structures.
(xxxxx)(aaaaaa) No change.
(yyyyy)(bbbbbb) NFPA 1123, 2018 1995 edition, Code for Fireworks Display.
(zzzzz)(cccccc) NFPA 1124, 2022 2017 edition, Code for the Manufacture, Transportation, and Storage of Fireworks and Pyrotechnic Articles.
(aaaaaa)(dddddd) NFPA 1125, 2022 2017 edition, Code for the Manufacture of Model Rocket and High-Power Rocket Motors.
(bbbbbb)(eeeeee) NFPA 1126, 2021 2001 edition, Standard for the Use of Pyrotechnics Before a Proximate Audience.
(cccccc)(ffffff) No change.
(dddddd) NFPA 1140, 2022 edition, Standard for Wildland Fire Protection.
(eeeeee)(gggggg) NFPA 1142, 2022 2017 edition, Standard on Water Supplies for Suburban and Rural Fire Fighting.
(hhhhhh) NFPA 1144, 2018 edition, Standard for Reducing Structure Ignition Hazards from Wildland Fire.
(ffffff)(iiiiii) No change.
(gggggg)(jjjjjj) No change.
(kkkkkk) NFPA 1221, 2019 edition, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems.
(hhhhhh) NFPA 1225, 2022 edition, Standard for Emergency Services Communications.
(iiiiii) NFPA 1660, 2024 edition, Standard on Community Risk Assessment, Pre-Incident Planning, Mass Evacuation, Sheltering, and Re-entry Programs.
(jjjjjj)(llllll) No change.
(kkkkkk) NFPA 1900, 2024 edition, Standard for Aircraft Rescue and Firefighting Vehicles, Automotive Fire Apparatus, Wildland Fire Apparatus, and Automotive Ambulances.
(mmmmmm) NFPA 1901, 2016 edition, Standard for Automotive Fire Apparatus.
(nnnnnn) NFPA 1906, 2016 edition, Standard for Wildland Fire Apparatus.
(oooooo) NFPA 1925, 2018 edition, Standard on Marine Fire-Fighting Vessels.
(llllll) NFPA 1910, 2024 edition, Standard for Marine Firefighting Vessels and the Inspection, Maintenance, Testing, Refurbishing, and Retirement of In-Service Emergency Vehicles.
(mmmmmm)(pppppp) No change.
(nnnnnn)(qqqqqq) NFPA 2001, 2022 2018 edition, Standard on Clean Agent Fire Extinguishing Systems.
(oooooo)(rrrrrr) No change.
(pppppp)(ssssss) NFPA 2113, 2020 edition, Standard on Selection, Care, Use, and Maintenance Maintennce of Flame-Resistant Garments for Protection of Industrial Personnel Against Short-Duration Thermal Exposures from Fire.
(2) through (3) No change.
(4)(a) No change.
(b) The copyrighted NFPA standards referenced in subsection (1) may be viewed, during regular business hours, at the offices of:
1. The Division of State Fire Marshal, 323 325 John Knox Road, Third Floor, Atrium Building, Tallahassee, Florida 32303; or
2. No change.
(c) No change. 
(5) The Code of Federal Regulations and the Compressed Gas Association (CGA) documents incorporated by reference in this rule are available for public inspection during regular business hours at the Division currently located on the Third Floor (Room 326) of the Atrium Building, 323 325 John Knox Road, Tallahassee, Florida.
(6) through (11) No change.
Figure 1. No change.
PROPOSED EFFECTIVE DATE: December 31, 2026
Rulemaking Authority 633.104(1), 633.202, 633.206, 633.222 FS. Law Implemented 633.104(1), 633.202, 633.206, 633.222, 791.012 FS. History–New 5-14-86, Amended 2-12-87, 4-8-90, 10-30-91, 4-3-95, 11-27-01, Formerly 4A-3.012, Amended 8-7-05, 5-18-08, 12-31-08, 12-13-09, 12-31-11, 12-31-14, 12-31-17, 12-31-20, 12-31-23, 12-31-26.
NAME OF PERSON ORIGINATING PROPOSED RULE: Elijah Flowers, Bureau of Fire Prevention

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Blaise Ingoglia, Chief Financial Officer

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: April 30, 2026

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: January 26, 2026
