Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Riffles Air & Heat, Inc. The petition seeks the agency's opinion as to the applicability of section 406.1, Florida Building Code, Mechanical, 8th Edition (2023), as it applies to the petitioner.

Petitioner is a licensed HVAC contractor who will be installing the HVAC air distribution system in a proposed new, single-family residential home. The home will have three bedrooms, two and half baths, and a two-car garage, with 3,832 square feet of conditioned space. The home is proposed to have an unvented attic with air-impermeable spray foam insulation applied directly to the roof deck per R806.5, where the attic is fully brought within the building's thermal envelope. Petitioner presents the following question: Is a dedicated supply and return ductwork required in the unvented attic to satisfy M406.1?

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.

