Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Bliss & Nyitray, Inc., on May 01, 2026. The following is a summary of the agency's disposition of the petition: 

Petitioner requested an answer to the following question, based upon the project described within its petition: Does section 110.8.1 require that we list the inspection of windows in this new building as a mandatory inspection? On June 9, 2026, the Commission provided the following answer: In response to Petitioner’s question, pursuant to section 110.8.1, Florida Building Code, Building, 8th Edition (2023), the structural inspection plan for a threshold building must be prepared by the engineer or architect of record and reviewed and accepted by the enforcing agency. The design professional is responsible for determining the structural elements and related inspections to be included in the plan. The inclusion of impact windows in the structural inspection plan is dependent on whether they are part of, or critical to, the structural system or load path, as determined by the engineer or architect of record and subject to acceptance by the enforcing agency.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.
