Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Bliss & Nyitray, Inc., on May 01, 2026. The following is a summary of the agency's disposition of the petition: 

Petitioner requested an answer to the following questions, based upon the project described within its petition: For the project in question, does Report number 318 require the inspection of the replacement windows? If yes, then does that mean that inspection is required for the doors and louvers as well? On June 9, 2026, the Commission provided the following answers: In response to Petitioner’s first question, the answer is no. The replacement of impact-resistant and non-impact-resistant windows, doors, and louvers with equivalent products within the same rough openings, where no structural members are modified, does not constitute work that modifies the structural system or structural loading of the building. Accordingly, the scope of work for the project in question does not require special inspection pursuant to section 110.8.1, Florida Building Code, Building, 8th Edition (2023). In response to Petitioner’s second question, see the answer to question #1. 

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.
