Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On August 06, 2026, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from the Caridad Center located at 8645 W. Boynton Blvd., Boynton Beach, FL 33472, filed July 07, 2026, and advertised on July 17, 2026, in Vol. 52, No. 137, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a temporary variance from Rule 3.19.3.3.1, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires the flexible hose and fitting assemblies to be steel-wire reinforced, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2026-094).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, elevators.dhr@myfloridalicense.com.

