Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On August 06, 2026, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from Amkin West Bay, LLC located at 301 W Bay Street, Jacksonville, FL 32202-4408, filed June 30, 2026, and advertised on July 14, 2026, in Vol. 52, No. 135, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a temporary variance from Rules 2.27.2, 2.27.2.2, and 2.27.2.4, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires elevators equipped with an emergency or standby power system must automatically switch from normal power in case of failure, complying with requirements 2.27.2.1 through 2.27.2.5, and if the system cannot operate all elevators at once, must follow guidelines 2.27.2.4.1 through 2.27.2.4.6, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2026-090).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. elevators.dhr@myfloridalicense.com.

