Miscellaneous 
DEPARTMENT OF ENVIRONMENTAL PROTECTION
Notice of Completed Rule Review

RULE NO.:
RULE TITLE:

62-252.300
Gasoline Dispensing Facilities - Stage I Vapor Recovery

Notice is hereby given that on September 2, 2026, the above rule completed the rule review process pursuant to Section 120.5435, F.S.

The following rule was filed with a technical change:

62-252.300 Gasoline Dispensing Facilities - Stage I Vapor Recovery.

(1) through (2) No change.

(3) Control Technology Requirements.

(a) The Stage I vapor recovery system required by this rule section shall conform with the equipment specifications of the U.S. Environmental Protection Agency document, “Design Criteria for Stage I Vapor Control Systems – Gasoline Service Stations,” dated November 1975, with the exception of Attachment A, hereby adopted and incorporated by reference (https://flrules.org/Gateway/reference.asp?No=Ref-19884).

(b) No change.

Rulemaking Authority 403.061 FS. Law Implemented 403.031, 403.061, 403.087 FS. History–Formerly 17-2.650(1)(f)11., Amended 2-2-93, Formerly 17-252.300, Amended 5-9-07, 9-24-13, Reviewed      .
