Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission
RULE NO.:
RULE TITLE:

61G20-1.001
Florida Building Code Adopted

NOTICE OF DISPOSITION FOR DECLARATORY STATEMENT

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Riffles Air & Heat, Inc. on June 04, 2026. The following is a summary of the agency's disposition of the petition: 

Petitioner requested an answer to the following question, based upon the project described within its petition: Is a dedicated supply and return vent required in the unvented attic to satisfy M406.1? On August 11, 2026, the Commission provided the following answer: no. Section M406.1, Florida Building Code, Mechanical, 8th Edition (2023), is not applicable to the proposed project because the project consists of a new single-family dwelling regulated by the Florida Building Code, Residential, 8th Edition (2023). The unvented attic assembly is governed by section R806.5, Florida Building Code, Residential, 8th Edition (2023), which does not require dedicated supply and return vents in the unvented attic. Accordingly, the requirement for dedicated supply and return vents cannot be imposed based on section M406.1, Florida Building Code, Mechanical, 8th Edition (2023).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

