Miscellaneous 
DEPARTMENT OF ENVIRONMENTAL PROTECTION
Office of the Secretary
Notice of Completed Rule Review

RULE NOS.:
RULE TITLES:

62S-6.012
Discharge Cleanup Organization; Approval

62S-6.022
Notification of Pollutant Discharge

62S-6.032
Terminal Facility Discharge Prevention and Response Certificates; Inspections

62S-6.033
Terminal Facility Discharge Contingency Plan

62S-6.034
Additional Equipment to Cleanup a 10,000 Gallon Pollutant Discharge

Notice is hereby given that on October 5, 2026, the above rules completed the rule review process pursuant to Section 120.5435, F.S.

The following rules were filed with technical changes:

62S-6.012 Discharge Cleanup Organization; Approval.

(1) For approval as a discharge cleanup organization, an applicant shall apply to the department on a Form 62S-6.012(1), Application for Approval as a Discharge Cleanup Organization, dated 1-9-14, hereby adopted and incorporated by reference. The completed form can be either mailed to the Department of Environmental Protection, Emergency Response Unit Office of Emergency Response, 3900 Commonwealth Boulevard, M.S. 659, Tallahassee, Florida 32399-3000 or it can be electronically submitted to the following email address, DLE.ERU@floridadep.gov. OER@dep.state.fl.us. Copies of this form are available from Department of Environmental Protection, Emergency Response Unit Office of Emergency Response, 3900 Commonwealth Boulevard, M.S. 659, Tallahassee, Florida 32399-3000 or https://www.flrules.org/Gateway/reference.asp?No=Ref-03630. or http://www.dep.state.fl.us/oer/contractors.htm/.
(2) through (3) No change. 
Rulemaking Authority 376.07 FS. Law Implemented 376.065, 376.09 FS. History–New 8-23-74, Formerly 16B-16.12, Amended 11-5-80, Formerly 16N-16.12, Amended 6-17-92, Formerly 16N-16.012, 62N-16.012, Amended 1-9-14, Reviewed   .
The following corrections were made to Form 62S-6.012(1), Application for Approval as a Discharge Cleanup Organization:

1. Correcting the DEP logo on the first page of the form to the current DEP logo;
2. Including the “Division of Law Enforcement” on pages one and three within the form to reflect current DEP organization;

3. Correcting the name of the appropriate unit responsible for the form from the “Office of Emergency Response” to the “Emergency Response Unit” on pages one, two, and three of the form;

4. Correcting the following grammatical and typographical errors: 
a. Correcting “equipments” to “equipment” on page three of the form; and 
b. Deleting an errant parenthesis that appears on the top of page two that is a typographical error;

5. Correcting the fax number on pages one and three of the form to the current fax number in use; and
6. Deleting obsolete language on the bottom of page three because the form is no longer printed in carbon copy triplicate.

62S-6.022 Notification of Pollutant Discharge.

(1) The “person-in-charge” master of any vessel or the “person-in-charge” of any terminal facility that suffers a pollutant discharge which enters or threatens to enter waters of the state within the jurisdiction of the department shall, within one hour of discovery of the discharge, notify the State Watch Office at (850)815-4001 (850)413-9911 or the United States Coast Guard at the National Response Center.

(2) No change.

Rulemaking Authority 376.07 FS. Law Implemented 376.12 FS. History–New 11-5-80, Formerly 16N-16.22, Amended 6-17-92, Formerly 16N-16.022, 62N-16.022, Amended 1-9-14, Reviewed   .
62S-6.033 Terminal Facility Discharge Contingency Plan.

(1) An owner or operator of a terminal facility shall have a discharge contingency plan which is site specific for reporting discharges and detailing the methods, means and equipment to be used in the removal of such pollutants in the event of a discharge which enters or threatens to enter waters of the state. An adequate discharge contingency plan shall be one of the following:

(a) A plan in compliance with the federal Oil Pollution Act of 1990, Section 4202 requirements, which is hereby incorporated by reference and available at http://flrules.org/Gateway/reference.asp?No=Ref-20248, for an oil transfer facility contingency plan, or

(b) For terminal facilities which store or service vessels with the capacity to carry 10,000 gallons or greater of pollutants as fuel or cargo, excluding motor fuel, a plan which includes as a minimum, the following details:

1. through 2. No change. 
3. Notification.

a. The responsibility and procedure for the immediate telephone and radio notification of a discharge to the U.S. Coast Guard at the National Response Center or the State Watch Office at (850)815-4001 (850)413-9911.

b. through c. No change.

4. through 9. No change. 
(c) For terminal facilities which store or service vessels with the capacity to carry less than 10,000 gallons of pollutants as fuel or cargo, excluding motor fuel, a plan which includes as a minimum, the following details:

1. through 2. No change. 
3. Notification.

a. The responsibility and procedure for the immediate telephone and radio notification of any discharge to the U.S. Coast Guard at the National Response Center or the State Watch Office at (850)815-4001 (850)413-9911, including, but not limited to, telephone numbers and radio frequencies of the U.S. Coast Guard and state contact point.

b. No change. 
4. No change. 
(2) through (3) No change. 
Rulemaking Authority 376.07 FS. Law Implemented 376.07 FS. History–New 8-27-92, Formerly 16N-16.033, Amended 4-12-95, Formerly 62N-16.033, Amended 1-9-14, Reviewed   .

