Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

NOTICE OF DISPOSITION FOR VARIANCE OR WAIVER

NOTICE IS HEREBY GIVEN that on October 13, 2026, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, issued an order. The Final Order was in response to a Petition for a routine permanent Variance from Boca Raton Professional Bldg. located at 900 NW 13 ST, Boca Raton, FL 33486-2350, filed April 29, 2026, and advertised on May 12, 2026, in Vol. 52, No. 92, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 2.7.1.1, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires where fire-resistive construction is required by the building code, the construction must meet the specifications outlined in sections 2.7.1.1.1 and 2.7.1.1.2, because the Petitioner has not demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2026-053).

A copy of the Order may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, elevators.dhr@myfloridalicense.com.
