5J-20.052 Consumer Safety.
(1) The installation of liquefied petroleum gas powered generators must be completed by a licensed Category I LP Gas Dealer or Category V LP Gas Installer.
(2) When a liquefied petroleum gas powered generator is installed by a Category V LP Gas Installer, the initial fill of liquefied petroleum gas may be provided by a Category I LP Gas Dealer based upon a contractual agreement with the Category V LP Gas Installer. The name, address, phone number, and license number of the Category I LP Gas Dealer providing this service must be disclosed on the installation contract with the consumer. All future purchases and deliveries of liquefied petroleum gas to the consumer must be contracted or arranged directly with a Category I LP Gas Dealer.
(3) Any proposal, estimate, quote, or contract related to the installation of a liquefied petroleum gas powered generator for use by a consumer must disclose, and be acknowledged by signature of the consumer, the estimated operating time of the proposed installation. The operating time is the amount of time, at maximum load applied to the generator, that the consumer can expect the system to operate based on the proposed liquefied petroleum gas storage capacity offered as part of the installed system or the pre-existing tank.
(4) The department may waive the requirements of Section 527.07, Florida Statutes, during a state of emergency as declared by an executive order of the Governor or if a liquefied petroleum system is deemed unsafe by the department. The department shall issue such waivers in writing to a licensed Category I LP Gas Dealer. Any such waiver shall expire 30 days from the issue date unless otherwise specified in the waiver.
Rulemaking Authority 527.06, 527.07(2) FS. Law Implemented 527.06, 527.07 FS. History–New 11-17-26.
