Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants
RULE NO.:
RULE TITLE:

61C-5.001
Safety Standards

NOTICE OF DISPOSITION FOR VARIANCE OR WAIVER

NOTICE IS HEREBY GIVEN that on October 27, 2026, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, issued an order. The Final Order was in response to a Petition for a routine permanent Variance from Montenero, located at 7575 Pelican Bay Blvd., Naples, FL 34108, filed September 18, 2026, and advertised on October 01, 2026, in Vol. 52, No. 191, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.27.3.2.1, ASME A17.1, 2019 Edition, as adopted by Rule 61C-5.001 Florida Administrative Code, that requires that smoke detectors or other automatic fire detectors be installed in accordance with NFPA 72 at each elevator lobby, associated machine room, control spaces or rooms, and in elevator hoistways with sprinklers, to initiate Phase I Emergency Recall Operation in jurisdictions not enforcing the NBCC., because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2026-141).

A copy of the Order may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, elevators.dhr@myfloridalicense.com.

