9B-72.080 Product Validation by Approved Validation Entity for  State Approval.

Validation of compliance with the Code shall be performed by approved validation entities through the following steps:

(1) Verification that the testing, evaluation and quality assurance requirements established by Rule 9B-72.070, F.A.C., are met and that all documentation is in order.

(2) Validation of the method of compliance using the validation checklist in subsection 9B-72.130(3), F.A.C.

(3) Certification to the Commission that the documentation submitted for the product indicates the product complies with the Code.

(4) Products listed by approved certification agencies as complying with standards established by the Code shall be approved by the Commission absent compliance with this section.

Specific Authority 553.842(1) FS. Law Implemented 553.842(1) FS. History–New 5-5-02, Amended 11-22-06.