69A-58.001 Administration and General Requirements.

The Division of State Fire Marshal in consultation with the Department of Education hereby adopts firesafety rules for the use by boards and local fire officials when conducting plans reviews for new construction and firesafety inspections of new construction and existing buildings located in educational facilities, educational plants, ancillary plants, and auxiliary facilities to ensure the safety of occupants.

Specific Authority 1013.12 FS. Law Implemented 1013.12 FS. History–New 2-18-03, Formerly 4A-58.001, Amended 11-26-06.