69A-58.006 Vacant and Abandoned Buildings.

Board buildings no longer in use and abandoned shall be free of combustible waste and secured in such a manner as to prevent firesafety hazards and unauthorized or unlawful entry.

Rulemaking Authority 633.104(1), (7), 1013.12(1) FS. Law Implemented 633.104(7), 633.206, 633.208, 1013.12, 1013.371, 1013.38 FS. History–New 2-18-03, Formerly 4A-58.006, Amended 11-26-06.