Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that it issued an Order Granting Emergency Variance Request on November 17, 2006 in response to a petition filed on October 4, 2006, by David Luciano regarding Harris Music Loft, License Number 5608 and advertised in F.A.W. Vol. 32, No. 42. The petition sought a waiver from Rules 2.7.3.2 and 2.7.3.3, ASME A17.1, 2000 Edition as adopted by Chapter 3001.2, 2004 Florida Building Code requesting to use a vertical ladder as a means of access to the machine room from the roof. The petition was granted because the proposed configuration was a significant improvement over the existing situation and the cost of making the access totally code compliant would be prohibitive.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.