Notice of Development of Rulemaking

DEPARTMENT OF FINANCIAL SERVICES
Division of State Fire Marshal

RULE NO: RULE TITLE
69A-60.012: Purpose, Criteria and Procedures for Designation as an Approved Nationally Recognized Testing Laboratory in Florida for Firesafety Purposes
PURPOSE AND EFFECT: To provide procedures and criteria for becoming a nationally recognized testing laboratory in Florida for firesafety purposes.
SUBJECT AREA TO BE ADDRESSED: Florida designated Nationally Recognized Testing Laboratories.
SPECIFIC AUTHORITY: 633.065, 633.071, 633.083, 633.539, 633.701 FS.
LAW IMPLEMENTED: 633.065, 633.071, 633.083, 633.539, 633.701 FS.
IF REQUESTED IN WRITING AND NOT DEEMED UNNECESSARY BY THE AGENCY HEAD, A RULE DEVELOPMENT WORKSHOP WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW:
TIME AND DATE: Wednesday, January 10, 2007, 9:00 a.m.
PLACE: Third Floor Conference Room, the Atrium Building, 325 John Knox Road, Tallahassee, Florida 32303
Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 48 hours before the workshop/meeting by contacting: Millicent King, (850)413-3619. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).
THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE DEVELOPMENT AND A COPY OF THE PRELIMINARY DRAFT, IF AVAILABLE, IS: Jim Goodloe, Chief, Bureau of Fire Prevention, Division of State Fire Marshal, 200 East Gaines Street, Tallahassee, FL 32399-0342. Phone: (850)413-3171; Fax: (850)922-2553.

THE PRELIMINARY TEXT OF THE PROPOSED RULE DEVELOPMENT IS:

69A-60.012 Purpose, Criteria and Procedures for Designation as an Approved Nationally Recognized Testing Laboratory in Florida for Firesafety Purposes.

(1) The purpose of this rule is to determine whether a laboratory is nationally recognized in accordance with the following provision:

(a) Section 633.065, F.S., pertaining to fire suppression equipment;

(b) Section 633.071, F.S., pertaining to fire extinguishers;

(c) Section 633.083, F.S., pertaining to certain types of fire extinguishers;

(d) Section 633.539, F.S., pertaining to fire protection systems, and

(e) Section 633.701, F.S., pertaining to Alarm Systems,

(2)  Criteria for Determination of Designation.

(a) Documentation that the applicant is designated as a Nationally Recognized Testing Laboratory by the U.S. Department of Labor, and the purpose or purposes for which it was recognized; or, in the alternative,

(b) Documentation that the applicant is eligible for recognition as a Nationally Recognized Testing Laboratory by the U.S. Department of Labor, and the purpose or purposes for which Florida designation is sought in accordance with subsection (1) above.

(3) Application Procedure.

(a) An applicant that is currently recognized by the United States Department of Labor as a Nationally Recognized Testing Laboratory can make application for Florida designation to the Division of State Fire Marshal on Form DFS-K3-xx1 which is hereby adopted and incorporated herein, and which may be obtained by writing to the Division of State Fire Marshal, 200 East Gaines Street, Tallahassee, Florida 32399-0342, or by visiting the Division of State Fire Marshal’s website located at http://www.fldfs.com/SFM/index.htm.

(b) An applicant that is not currently recognized by the United States Department of Labor as a Nationally Recognized Testing Laboratory can make application for Florida designation to the Division of State Fire Marshall on Form DFS–K3-xx2, which is hereby adopted and incorporated herein, and which may be obtained by writing to the Division of State Fire Marshal, 200 East Gaines Street, Tallahassee, Florida 32399-0342, or by visiting the Division of State Fire Marshal’s website located at http://www.fldfs.com/SFM/ index.htm, and shall include all of the information and material requested thereon.

(c) The Division of State Fire Marshal shall review the application for completeness and request additional information that was either not provided or is necessary to make a determination.

(d) When the application is deemed complete, the Division of State Fire Marshal shall either approve or deny the application.

(e) If the application is approved, the Division of State Fire Marshal shall issue a certificate to the applicant evidencing its designation as a Nationally Recognized Testing Laboratory qualified in Florida, and the purposes to which the designation is limited.  The designation may be for any of the purposes set forth in subsection (1) above, as approved by the Division of State Fire Marshal, but only for those purposes.

(f) If the application is denied, the applicant shall be notified in writing, along with the reasons for denial and rights under Chapter 120, F.S.

(g) An application that is approved in part but denied for one or more requested purposes shall be treated procedurally as a denied application.

(4) Material Changes. Any testing laboratory designated in Florida as “nationally recognized” for one or more of the purposes in the statutes listed in subsection (1):

(a) Will be subject to ongoing verification that it continues to meet the Florida designation criteria, and

(b) Shall notify the Division of State Fire Marshal within 30 days of the occurrence of any of the following:

1. Change in the company name or the company address;

2. Change in any major test equipment;

3. Establishment of a new branch office or facility at which items are to be tested;

4. Change in principal officers, key supervisory personnel, or key testing personnel in the company.

Specific Authority 633.065, 633.071, 633.083, 633.539, 633.701 FS. Law Implemented 633.065, 633.071, 633.083, 633.539, 633.701 FS. History–New_________.