62-210.310 Air General Permits.

- (1) Air General Permits Established.

- (a) The Department has established air general permits for various types of facilities at subsections 62-210.310(4) and (5), F.A.C.

- 1. The air general permits provided at subsection 62-210.310(4), F.A.C., are available to specific types of facilities that elect to comply with process limitations to escape being classified as Title V sources. A facility using one (1) of the air general permits at subsection 62-210.310(4), F.A.C., shall not be entitled to use more than one (1) such air general permit for any single facility.

- 2. The air general permits provided at subsection 62-210.310(5), F.A.C., are available to specific types of facilities that are subject to applicable requirements under other state or federal rules. A facility must comply with such applicable requirements, whether it elects to use an air general permit under this subsection, or obtain an air construction or air operation permit. A facility using one (1) of the air general permits at subsection 62-210.310(5), F.A.C., shall not be entitled to use more than one (1) such air general permit for any single facility, except where all air general permits used at the facility specifically allow the use of one another at the same facility.

- (b) The owner or operator of a proposed new or existing facility who registers to use an air general permit in accordance with the procedures of this rule, and who is not denied use of the air general permit by the Department, is authorized to construct or operate the facility in accordance with the terms and conditions of the specific rule subsection which constitutes the air general permit for the type of facility involved.

- (2) General Procedures. This subsection sets forth general procedures for use of any of the air general permits provided at subsections 62-210.310(4) and (5), F.A.C.

- (a) Determination of Eligibility. The owner or operator of a proposed new or existing facility shall determine the facility’s eligibility to use an air general permit under this rule. A facility is eligible to use an air general permit under this rule if it meets any specific eligibility criteria given in the applicable air general permit at subsection 62-210.310(4) or (5), F.A.C., and the following general criteria.

- 1. The facility shall not emit nor have the potential to emit ten (10) tons per year or more of any hazardous air pollutant, twenty-five (25) tons per year or more of any combination of hazardous air pollutants, or one hundred (100) tons per year or more of any other regulated air pollutant; be collocated with, or relocated to, such a facility; or create such a facility in combination with any other collocated facilities, emissions units, or pollutant-emitting activities, including any such facility, emissions unit, or activity that is otherwise exempt from air permitting.

- 2. The facility shall not contain any emissions units or activities not covered by the applicable air general permit, except:

- a. Units and activities that are exempt from permitting pursuant to subsection 62-210.300(3), F.A.C., or Rule 62-4.040, F.A.C.; and

- b. Units and activities that are authorized by another air general permit where such other air general permit and the air general permit of interest specifically allow the use of one another at the same facility.

- (b) Registration. The owner or operator who intends to construct or operate an eligible facility under the authority of an air general permit shall complete and submit the proper registration form to the Department for the specific air general permit to be used, as provided in subsection 62-210.920(1) or (2), F.A.C. The registration form shall be accompanied by the appropriate air general permit processing fee pursuant to Rule 62-4.050, F.A.C.

1. Initial Registration. Registration of a facility which is not currently authorized to construct or operate under the terms and conditions of an air general permit is classified as an initial registration. Any existing, individual air operation permit(s) authorizing operation of the facility must be surrendered by the owner or operator, effective upon the first day of use of the air general permit.

2. Re-registration. Registration of a facility which is currently authorized to operate under the terms and conditions of an air general permit is classified as a re-registration. An owner or operator shall re-register the facility in the following cases:

a. Impending expiration of the term for air general permit use;

b. Change of ownership of all or part of the facility;

c. Proposed new construction, modification, or other equipment change that requires registration pursuant to paragraph 62-210.310(2)(e), F.A.C.; and

d. Any other change not considered an administrative correction under paragraph 62-210.310(2)(d), F.A.C.

- (c) Use of Air General Permit.

- 1. Unless the Department denies use of the air general permit, the owner or operator of an eligible facility may use the air general permit for such facility thirty (30) days after giving notice to the Department. The first day of the thirty (30) day time frame, day one, is the date the Department receives the proper registration form and processing fee. The last day of the thirty (30) day time frame, day thirty (30), is the date the owner or operator may use the air general permit, provided there is no agency action to deny use of the air general permit.

2. To avoid lapse of authority to operate, an owner or operator intending to use, or continue to use, an air general permit must submit the proper registration form and processing fee at least thirty (30) days prior to expiration of the facility’s existing air operation permit or air general permit.

- (d) Administrative Corrections. Within thirty (30) days of any minor changes requiring corrections to information contained in the registration form, the owner or operator shall notify the Department in writing. Such changes shall include:

1. Any change in the name, address, or phone number of the facility or authorized representative not associated with a change in ownership or with a physical relocation of the facility or any emissions units or operations comprising the facility; or

2. Any other similar minor administrative change at the facility.

(e) Equipment Changes. The owner or operator shall maintain records of all equipment changes. In the case of installation of new process or air pollution control equipment, alteration of existing process or control equipment without replacement, or replacement of existing process or control equipment with equipment substantially different in terms of capacity, method of operation, material processed, or intended use than that noted on the most recent registration form, the owner or operator shall submit a new and complete air general permit registration form for the facility with the appropriate fee pursuant to Rule 62-4.050, F.A.C. to the Department, provided, however, that any change that would constitute a new major stationary source, major modification, or modification that would be a major modification but for the provisions of paragraph 62-212.400(2)(a), F.A.C., shall require authorization by air construction permit.

- (f) Enforcement of Ineligibility. If a facility using an air general permit at any time becomes ineligible for the use of the air general permit, or if any facility using an air general permit is determined to have been initially ineligible for use of the air general permit, it shall be subject to enforcement action for constructing or operating without an air permit under subsection 62-210.300(1) or (2), F.A.C., or Chapter 62-213, F.A.C., as appropriate.

- (3) General Conditions. All terms, conditions, requirements, limitations, and restrictions set forth in this subsection are “general permit conditions” and are binding upon the owner or operator of any facility using an air general permit provided at subsection 62-210.310(4) or (5), F.A.C.

(a) The owner or operator’s use of an air general permit is limited to five (5) years. Prior to the end of the five (5) year term, the owner or operator who intends to continue using the air general permit for the facility shall re-register with the Department pursuant to subparagraph 62-210.310(2)(b)2., F.A.C. To avoid lapse of authority to operate, the owner or operator must submit the proper registration form and processing fee at least thirty (30) days prior to expiration of the facility’s existing air general permit. The air general permit re-registration form shall contain all current information regarding the facility.

(b) Use of an air general permit is not transferable and does not follow a change in ownership of the facility. Prior to any sale, other change of ownership, or permanent shutdown of the facility, the owner or operator is encouraged to notify the Department of the pending action. The new owner or operator who intends to continue using the air general permit for the facility shall re-register with the Department pursuant to subparagraph 62-210.310(2)(b)2., F.A.C.

(c) The air general permit is valid only for the specific type of facility and associated emissions units and pollutant-emitting activities indicated.

(d) The air general permit does not authorize any demolition or renovation of the facility which involves asbestos removal. The air general permit does not constitute a waiver of any of the requirements of Chapter 62-257, F.A.C., or 40 CFR Part 61, Subpart M, National Emission Standard for Asbestos, adopted and incorporated by reference at Rule 62-204.800, F.A.C.

(e) The general permit does not authorize any open burning.

(f) The owner or operator shall not circumvent any air pollution control device or allow the emission of air pollutants without the proper operation of all applicable air pollution control devices.

(g) The owner or operator shall maintain the authorized facility in good condition. Throughout the term of air general permit use, the owner or operator shall ensure that the facility maintains its eligibility to use the air general permit and complies with all terms and conditions of the air general permit.

(h) The owner or operator shall allow a duly authorized representative of the Department access to the facility at reasonable times to inspect and test, upon presentation of credentials or other documents as may be required by law, to determine compliance with the air general permit and Department rules.

(i) If, for any reason, the owner or operator of any facility operating under an air general permit does not comply with or will be unable to comply with any condition or limitation of the air general permit, the owner or operator shall immediately provide the Department with the following information:

1. A description of and cause of noncompliance; and

2. The period of noncompliance, including dates and times; or, if not corrected, the anticipated time the noncompliance is expected to continue, and steps being taken to reduce, eliminate, and prevent recurrence of the noncompliance.

(j) Use of an air general permit does not relieve the owner or operator of the facility from liability and penalties when the construction or operation of the authorized facility causes harm or injury to human health or welfare; causes harm or injury to animal, plant or aquatic life; or causes harm or injury to property. It does not allow the owner or operator to cause pollution in contravention of Florida law.

(k) The air general permit conveys no title to land or water, nor does it constitute state recognition or acknowledgment of title.

(l) The air general permit does not convey any vested rights or exclusive privileges, nor does it authorize any injury to public or private property or any invasion of personal rights. It does not authorize any infringement of federal, state, or local laws or regulations.

(m) Use of the air general permit shall be effective until suspended, revoked, surrendered, expired, or nullified pursuant to this rule and Chapter 120, F.S.

(n) Use of the air general permit does not eliminate the necessity for the owner or operator to obtain any other federal, state or local permits that may be required, or relieve the owner or operator from the duty to comply with any federal, state or local requirements that may apply.

- (4) Air General Permits for Facilities Claiming Conditional Exemption from Title V Air Permitting.

- (a) Air General Permit for Facilities Comprising Bulk Gasoline Plants.

1. A facility comprising one (1) or more bulk gasoline plants shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The facility shall receive and distribute only petroleum-based lubricants, gasoline, diesel fuel, mineral spirits and kerosene.

b. The total storage capacity for gasoline at the facility shall not exceed 150,000 gallons.

c. The facility shall not exceed a throughput rate (receive and distribute) of 6.0 million gallons of gasoline in any consecutive twelve (12) months.

d. The owner or operator shall maintain records to document the throughput rate of gasoline on a monthly basis. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years.

- (b) Air General Permit for Facilities Comprising Reciprocating Internal Combustion Engines.

1. A facility comprising one (1) or more reciprocating internal combustion engines shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. Total fuel consumption by all reciprocating internal combustion engines at the facility shall not exceed 20,000 gallons per year of gasoline, 250,000 gallons per year of diesel fuel, 1.15 million gallons per year of propane, 40 million standard cubic feet per year of natural gas, or an equivalent prorated amount if multiple fuels are used.

b. If multiple fuels are used, the equivalent prorated amount of each fuel burned shall not exceed the total amount of such fuel allowed to be burned, as given in sub-subparagraph a., multiplied by a fuel percentage. The fuel percentage is the percentage ratio of the amount of the fuel burned at the facility to the total amount of such fuel allowed to be burned at the facility pursuant to sub-subparagraph a. The sum of the fuel percentages for all fuels burned by the facility shall not exceed 100 percent.

c. The owner or operator shall maintain records to document the fuel consumption, by type, on an annual basis. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years.

- (c) Air General Permit for Facilities Comprising Surface Coating Operations.

1. A facility comprising one (1) or more surface coating operations shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The total quantity of volatile organic compounds in all coatings used shall not exceed forty-four (44) pounds per day, averaged monthly, where coatings used shall include all solvents and thinners used in the process or for cleanup.

b. The owner or operator shall maintain records to document the VOC content and the quantity of coatings used. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years.

- (d) Air General Permit for Facilities Comprising Reinforced Polyester Resin Operations.

1. A facility comprising one or more reinforced polyester resin operations shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The combined quantity of styrene-containing resin and gelcoat used shall not exceed 76,000 pounds (thirty-eight (38) tons) in any consecutive twelve (12) months.

b. The facility shall comply with the objectionable odor prohibition of subsection 62-296.320(2), F.A.C.

c. The owner or operator shall maintain records to document the quantity of resin and gelcoat used on a monthly basis. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years.

- (e) Air General Permit for Facilities Comprising Cast Polymer Operations.

1. A facility comprising one (1) or more cast polymer operations shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The combined quantity of styrene-containing resin and gel coat used shall not exceed 284,000 pounds (142 tons) in any consecutive twelve (12) months.

b. The facility shall comply with the objectionable odor prohibition of subsection 62-296.320(2), F.A.C.

c. The owner or operator shall maintain records to document the quantity of resin and gel coat used on a monthly basis. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years.

(f) Air General Permit for Facilities Comprising Printing Operations.

1. A facility comprising one (1) or more printing operations shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and the following specific criteria.

a. The facility shall use no other air general permit.

b. The facility shall not be subject to any unit-specific applicable requirement.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions, provided, however, that the facility shall comply with the limitations of either sub-subparagraph 62-210.310(4)(f)2.a. or b., F.A.C. The facility may change method of compliance between sub-subparagraphs 62-210.310(4)(f)2.a. and b., F.A.C., provided the owner or operator maintains records to demonstrate compliance with the appropriate requirement at the time of change and thereafter.

a. The facility shall not emit eighty (80) tons or more of volatile organic compounds, eight (8) tons or more of any individual hazardous air pollutant, or twenty (20) tons or more of any combination of hazardous air pollutants in any consecutive twelve (12) months. The facility shall not rely upon add-on controls to meet these limitations. The owner or operator shall keep records of material usage and calculate, using a mass balance approach, for each calendar month and each consecutive twelve (12) months, the emissions of volatile organic compounds, individual hazardous air pollutants and total combined hazardous air pollutants. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years; or

b. The facility shall use less than 1,333 gallons of materials containing any hazardous air pollutants and not exceed the following material usage limitations in any consecutive twelve (12) months. The owner or operator shall keep records of material usage for each calendar month and each consecutive twelve (12) months to demonstrate compliance with such limitations. The owner or operator shall retain these records, available for Department inspection, for a period of at least five (5) years. Specifically, the facility shall:

(I) Operate only heatset offset lithographic printing lines and use less than 100,000 pounds of ink, cleaning solvent and fountain solution additives combined;

(II) Operate only non-heatset offset lithographic printing lines and use less than 14,250 gallons of cleaning solvent and fountain solution additives combined;

(III) Operate only digital printing lines and use less than 12,100 gallons of solvent based inks, clean-up solutions and other solvent-containing materials combined;

(IV) Operate only screen or letterpress printing lines and use less than 14,250 gallons of solvent based inks, clean-up solutions and other solvent-containing materials combined;

(V) Operate only water-based or ultraviolet-cured material flexographic or rotogravure printing lines and use less than 400,000 pounds of water-based inks, coatings and adhesives, combined;

(VI) Operate only solvent-based material flexographic or rotogravure printing lines and use less than 100,000 pounds of inks, dilution solvents, coatings, cleaning solutions and adhesives, combined; or

(VII) Operate any combination of heatset lithographic, non-heatset lithographic, digital, screen or letterpress, rotogravure or flexographic printing lines and use no more than the most stringent of the material usage limitations contained in sub-sub-subparagraphs 62-210.310(4)(f)2.b.(I) through (VI), F.A.C., for the type of printing lines at the facility. For purposes of determining which limit is the most stringent, the pounds of materials used for heatset offset lithographic lines and flexographic lines shall be converted to the equivalent gallons by dividing by 8.5 pounds per gallon and shall be compared with the limits for non-heatset offset lithographic, digital, screen and letterpress lines, as applicable, for the type of printing lines at the facility. The most stringent limit shall apply to the total of all solvent-containing material used.

c. The facility shall comply with the objectionable odor prohibition of subsection 62-296.320(2), F.A.C.

- (5) Air General Permits for Miscellaneous Facilities.

- (a) Air General Permit for Facilities Comprising Volume Reduction, Mercury Recovery, and Mercury Reclamation Processes.

- 1. For purposes of this air general permit, the terms “volume reduction process,” “mercury recovery process,” and “mercury reclamation process” have the meanings given at Rule 62-296.417, F.A.C.

2. A facility comprising one (1) or more volume reduction, mercury recovery, and mercury reclamation processes shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C.

3. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and all applicable provisions of Rule 62-296.417, F.A.C.

- (b) Air General Permit for Facilities Comprising Concrete Batching Plants.

- 1. For purposes of this air general permit, the term “concrete batching plant” shall have the meaning given at Rule 62-296.414, F.A.C., and the term “site” shall mean one or more contiguous or adjacent properties under control of the same person (or persons under common control).

2. A facility comprising one (1) or more stationary or relocatable concrete batching plants shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C.

3. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The facility shall comply with all applicable provisions of Rule 62-296.414, F.A.C.

b. The owner or operator of any equipment used to mix cement and soil for onsite soil augmentation or stabilization shall notify the Department by telephone, e-mail, fax, or written communication at least one (1) business day prior to changing location and transmit (by e-mail, fax, post, or courier) a Facility Relocation Notification Form (DEP Form No. 62-210.900(6)) to the Department no later than five (5) business days following relocation. The owner or operator of any other relocatable concrete batching plant proposing to change location shall transmit a Facility Relocation Notification Form to the Department at least five (5) business days prior to relocation.

4. A facility using this air general permit may collocate with other facilities that separately registered for, and are also using, the concrete batching plant air general permit, and with facilities using the nonmetallic mineral processing plant air general permit at paragraph 62-210.310(5)(e), F.A.C., even if under the control of different persons, provided the following conditions are met.

a. The collocation site does not contain any emissions units and pollutant-emitting activities other than concrete batching plants using air general permits, nonmetallic mineral processing plants using air general permits, and nonmetallic mineral processing plants or other emissions units and pollutant-emitting activities exempted from permitting pursuant to subsection 62-210.300(3), F.A.C., or Rule 62-4.040, F.A.C.

b. The total fuel consumption by all emissions units at the collocation site shall not exceed 275,000 gallons of diesel fuel, 23,000 gallons per year of gasoline, 44 million standard cubic feet per year of natural gas, or 1.3 million gallons per year of propane, or an equivalent prorated amount if multiple fuels are used.

c. If multiple fuels are used, the equivalent prorated amount of each fuel burned shall not exceed the total amount of such fuel allowed to be burned, as given in sub-subparagraph b., multiplied by a fuel percentage. The fuel percentage is the percentage ratio of the amount of the fuel burned at the facility to the total amount of such fuel allowed to be burned at the facility pursuant to sub-subparagraph b. The sum of the fuel percentages for all fuels burned by the facility shall not exceed one hundred percent (100%).

d. The owners or operators of all collocated concrete batching plants and nonmetallic mineral processing plants shall maintain records to account for site-wide fuel consumption for each calendar month and each consecutive twelve (12) months. The owners or operators shall retain these records, available for Department inspection, for a period of at least five (5) years.

5. Under the authority of this air general permit, a relocatable concrete batching plant may perform a non-routine task, such as making concrete for a construction project, at a facility with authorization by individual air construction or non-Title V air operation permit, without revision to the facility’s individual air permit. Any such concrete batching plant shall remain at the individually permitted facility for no more than six (6) months from the day it relocates to such facility. The owner or operator of such concrete batching plant shall keep records to indicate how long the plant has been at the permitted facility.

- (c) Air General Permit for Facilities Comprising Human Crematories.

1. A facility comprising one (1) or more human crematories shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The facility shall comply with all applicable provisions of subsection 62-296.401(5), F.A.C.

b. The owner or operator may use a human crematory air general permit and an animal crematory air general permit at the same facility, provided all human crematory units operate under a single human crematory air general permit and all animal crematory units operate under a single animal crematory air general permit.

- (d) Air General Permit for Facilities Comprising Animal Crematories.

1. A facility comprising one (1) or more animal crematories shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C., and no animal crematory unit at the facility exceeds a design capacity of 500 pounds per hour cremated.

2. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The facility shall comply with all applicable provisions of subsection 62-296.401(6), F.A.C.

b. The owner or operator may use an animal crematory air general permit and a human crematory air general permit at the same facility, provided all animal crematory units operate under a single animal crematory air general permit and all human crematory units operate under a single human crematory air general permit.

- (e) Air General Permit for Facilities Comprising Nonmetallic Mineral Processing Plants (Crushing Operations).

1. For purposes of this air general permit, the definitions at 40 CFR Part 60, Subpart OOO, adopted and incorporated by reference at Rule 62-204.800, F.A.C., shall apply, and the term “site” shall mean one or more contiguous or adjacent properties under control of the same person (or persons under common control). A facility need not be subject to 40 CFR Part 60, Subpart OOO, to be eligible for use of this air general permit. If a facility using this air general permit later becomes subject to 40 CFR Part 60, Subpart OOO, the owner or operator shall re-register with the Department.

2. A stationary or relocatable facility comprising one (1) or more nonmetallic mineral processing plants shall be eligible to use this air general permit provided it meets the general eligibility criteria of paragraph 62-210.310(2)(a), F.A.C.

3. A facility using this air general permit shall comply with the general conditions given at subsection 62-210.310(3), F.A.C., and the following specific conditions.

a. The total fuel consumption by the facility shall not exceed 23,000 gallons per year of gasoline, 275,000 gallons per year of diesel fuel, 1.3 million gallons per year of propane, 44 million standard cubic feet per year of natural gas, or an equivalent prorated amount if multiple fuels are used.

b. If multiple fuels are used, the equivalent prorated amount of each fuel burned shall not exceed the total amount of such fuel allowed to be burned, as given in sub-subparagraph b., multiplied by a fuel percentage. The fuel percentage is the percentage ratio of the amount of the fuel burned at the facility to the total amount of such fuel allowed to be burned at the facility pursuant to sub-subparagraph b. The sum of the fuel percentages for all fuels burned by the facility shall not exceed 100 percent.

c. Pursuant to Rule 62-296.320, F.A.C., the following reasonable precautions shall be employed to control unconfined emissions of particulate matter.

(I) Unconfined emissions from all relocatable nonmetallic mineral processing plants, except those located at mines or quarries and processing only material from onsite natural deposits, and all stationary nonmetallic mineral processing plants that process dry material shall be controlled by using a water suppression system with spray bars located wherever unconfined emissions occur at the feeder(s), the entrance and exit of the crusher(s), the classifier screens, and the conveyor drop points.

(II) Unconfined emissions generated by vehicular traffic or wind shall be controlled by applying water (by water trucks equipped with spray bars) or effective dust suppressant(s) on a regular basis to all stockpiles, roadways and work yards where the nonmetallic mineral processing plant is located.

d. Visible emissions from any crusher, grinding mill, screening operation, bucket elevator, transfer point on belt conveyors, bagging operation, storage bin, enclosed truck or railcar loading station, or any other affected emission point at a nonmetallic mineral processing plant not subject to 40 CFR Part 60, Subpart OOO, shall be less than twenty percent (20%) opacity, pursuant to Rule 62-296.320, F.A.C.

e. Nonmetallic mineral processing plants subject to 40 CFR Part 60, Subpart OOO, shall comply with all applicable standards, limitations, and requirements of Subpart OOO. Such facilities shall conduct initial performance tests for particulate matter and visible emissions in accordance with all requirements of  Subpart OOO and 40 CFR Part 60, Subpart A, adopted and incorporated by reference at Rule 62-204.800, F.A.C. Thereafter, such facilities shall conduct performance tests for visible emissions annually pursuant to Rule 62-297.310, F.A.C. The annual visible emissions performance tests shall be conducted in accordance with the test methods and procedures set forth at Subpart OOO. All test results shall be reported to the Department in accordance with the provisions of Rule 62-297.310, F.A.C.

f. The owner or operator of any relocatable nonmetallic mineral processing plant proposing to change location shall notify the Department by telephone, e-mail, fax, or written communication at least one (1) business day prior to changing location and transmit (by e-mail, fax, post, or courier) a Facility Relocation Notification Form (DEP Form No. 62-210.900(6)) to the Department no later than five (5) business days following relocation.

4. A facility using this air general permit may collocate with other facilities that separately registered for, and are also using, the nonmetallic mineral processing plant air general permit, and with facilities using the concrete batching plant air general permit at paragraph 62-210.310(5)(b), F.A.C., even if under the control of different persons, provided the following conditions are met.

a. The collocation site shall not contain any emissions units and pollutant-emitting activities other than concrete batching plants using air general permits, nonmetallic mineral processing plants using air general permits, and nonmetallic mineral processing plants or other emissions units and pollutant-emitting activities exempted from permitting pursuant to subsection 62-210.300(3), F.A.C., or Rule 62-4.040, F.A.C.

b. The fuel usage limitations of sub-subparagraphs 62-210.310(5)(e)3.b. and c., F.A.C., shall apply to the collocation site. The owners or operators of all collocated concrete batching plants and nonmetallic mineral processing plants shall maintain records to account for site-wide fuel consumption for each calendar month and each consecutive twelve (12) months. The owners or operators shall retain these records, available for Department inspection, for a period of at least five (5) years.

5. Under the authority of this air general permit, a relocatable nonmetallic mineral processing plant may perform a non-routine task, such as crushing concrete for a demolition project, at a facility with authorization by individual air construction or non-Title V air operation permit, without revision to the facility’s individual air permit. Any such nonmetallic mineral processing plant shall not be deployed at a single site for more than six (6) months in any consecutive twelve (12) months. The owner or operator of such nonmetallic mineral processing plant shall keep records to indicate how long the plant has been at the permitted facility. No nonmetallic mineral processing plant using this air general permit shall perform a task routinely done at the individually permitted facility, such as crushing recycled asphalt pavement (rap) at an asphalt plant, unless operation of the nonmetallic mineral processing plant is authorized by the air construction permit or non-Title V air operation permit, as applicable, for the permitted facility.

Specific Authority 403.061 FS. Law Implemented 403.031, 403.061, 403.087, 403.814 FS. History–New 1-10-07.