Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that it issued an Order Granting Variance Request on November 30, 2006 in response to a petition (VW 2006-282) filed on October 26, 2006 and advertised in the F.A.W., Vol. 32, No. 45, by William Snyder of Florida Certified Elevator Inspections, Inc., regarding Embassy Suites hotel. The petition sought a waiver from Rule 101.2 A.S.M.E. A17.1, 1996 Edition with 1998 Addenda, as adopted by the 2004 Florida Building Code which prohibits foreign equipment in machine rooms. The petition was granted as the HVAC controllers in question do not require routine monitoring or service thus eliminating the need for unauthorized personnel from entering the machine room. Petitioner has also agreed to train anyone entering the machine room so as to make them authorized to enter.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.