62-304.800  Caloosahatchee River Basin TMDLS.

(1)  Fecal Coliform TMDL for Nine Mile Canal. The fecal coliform Total Maximum Daily Load for Nine Mile Canal is 400 counts/100 mL, and is allocated as follows:

(a) The Wasteload Allocation for wastewater point sources is not applicable,

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin to result in a 36 percent reduction of in-stream fecal coliform concentrations,

(c) The Load Allocation for nonpoint sources is a 36 percent reduction of in-stream fecal coliform concentrations, and

(d)  The Margin of Safety is implicit.

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is with the understanding that the combined reductions from anthropogenic point and nonpoint sources should result in the required reduction of in-stream fecal coliform concentrations. However, it is not the intent of this TMDL to abate natural background conditions.

(2) Unless specifically stated, the point from which the reduction of “in-stream fecal coliform concentrations” shall be the average loading for the year the Secretary adopted the verified list that first listed the waterbody as impaired for the parameter of concern.

Specific Authority  403.061, 403.067 FS.  Law Implemented  403.061, 403.062, 403.067 FS.  History–New 8-3-06.