62-304.325 Choctawhatchee River Basin TMDLS (Choctawhatchee River).

(1) Fecal Coliform TMDL. The fecal coliform Total Maximum Daily Load for the Choctawhatchee River from the state line to Wrights Creek is an annual median of 4.913 x 1013 colonies/day, and is allocated as follows:

(a) The Wasteload Allocation for wastewater point sources is for each facility to meet its permit limits for fecal coliform,

(b) The Load Allocation for nonpoint sources is a 60 percent reduction of in-stream fecal coliform concentrations, and

(c) The Margin of Safety is implicit.

(2) Total Coliform TMDL. The total coliform Total Maximum Daily Load for the Choctawhatchee River from the state line to Wrights Creek is an annual median of 2.948 x 1014 colonies/day, and is allocated as follows:

(a) The Wasteload Allocation for wastewater point sources is for each facility to meet its permit limits for coliform,

(b) The Load Allocation for nonpoint sources is a 62 percent reduction of in-stream total coliform concentrations, and

(c) The Margin of Safety is implicit.

(3) Unless specifically stated, “in-stream fecal coliform concentrations” and “in-stream total coliform concentrations” shall be the average concentrations for the year the Secretary adopted the verified list that first listed the waterbody as impaired for the parameter of concern.

Specific Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 8-3-06.