62-18.530  Personnel.

Persons selected to conduct sound measurement tests shall have received training in the techniques of sound measurement and the operation of sound measurement instruments. Personnel making measurements shall be positioned as follows:

(1) Technician Location. The technician making direct readings of the meter shall be positioned in relation to the microphone in accordance with the instrument manufacturer’s instructions. Where the instruction manual is vague or does not include adequate information, a specific recommendation shall be obtained from the manufacturer.

(2) Bystander Location. During sound measurements, bystanders shall not be within 50 feet of the microphone or vehicle being measured, except for a witness or trainee, who may be positioned behind the technician on a line with the technician and the microphone.

Rulemaking Authority 403.061 FS. Law Implemented 403.061, 403.415(5) FS., Chapter 74-110, Laws of Florida. History–New 11-27-74, Formerly 17-18.53, 17-18.530.