62-18.730 Instrument Calibration.

All equipment and instruments used in making vehicle exhaust sound measurements shall be maintained in calibration in accordance with the instrument manufacturer’s calibration instructions.

Rulemaking Authority 403.061(7), 403.061(11), 403.415 FS. Law Implemented 403.415, 403.415(8) FS. History–New 7-19-77, Formerly 17-18.73, 17-18.730.