- 69A-53.0051 Definitions.

(1) “Eligible Nursing Home” means a facility that provides nursing services as defined in Chapter 464, F.S., is licensed under Part II of Chapter 400, F.S., and is certified by the Agency for Health Care Administration that lack an installed fire protection system as defined in Section 633.102(11), F.S.

(2) “Hazardous area” means each:

(a) Boiler and fuel fired heater room.

(b) Central and bulk laundry more than 100 square feet in area.

(c) Paint shop.

(d) Repair shop.

(e) Soiled linen room.

(f) Trash collection room.

(g) Storage room larger than 50 square feet in area which contains combustible supplies or equipment in quantities deemed hazardous by the authority having jurisdiction, pursuant to the applicable provisions of the Florida Fire Prevention Code adopted in Rule Chapter 69A-60, F.A.C.

(h) Laboratories employing flammable or combustible materials.

(i) Other areas posing a higher degree of hazard than that normally associated with the occupancy as determined by the authority having jurisdiction, pursuant to the applicable provisions of the Florida Fire Prevention Code adopted in Rule Chapter 69A-60, F.A.C.

(3) “Participating qualified public depository” means a financial institution qualified as a public depository in this state which has entered into a limited loan guarantee agreement with the State Fire Marshal.

Rulemaking Authority 633.104(1), 633.206(1) FS. Law Implemented 633.206(4) FS. History–New 2-18-07.