Notice of Variances and Waivers

DEPARTMENT OF HEALTH
Division of Environmental Health

RULE NO: RULE TITLE
64E-6.005: Location and Installation
64E-6.014: Construction Standards for Drainfield Systems

NOTICE IS HEREBY GIVEN that on January 30, 2007, the Department of Health, received a petition for Steve Branz, P.E., representing Bord na Mona Environmental Products U.S. Inc., requesting a waiver pursuant to Section 120.542, Florida Statutes. Specifically, the petitioner seeks a waiver from subsections 64E-6.005(4), Location and Installation and 64E-6.014(1), (2), (5)(b), (d), (f), and (j), Construction Standards for Drainfield Systems, Florida Administrative Code, which requires a drainfield absorption bed to have 12 inches of aggregate, an effluent distribution network, no impermeable covering and an absorption surface within 30 inches of finished grade.

Comments on this petition should be filed with: Agency Clerk, Department of Health, Office of the General Counsel, 4052 Bald Cypress Way, Bin A02, Tallahassee, Florida 32399-1734.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Agency Clerk, Department of Health, Office of the General Counsel, 4052 Bald Cypress Way, Bin A02, Tallahassee, Florida 32399-1734.