Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO: RULE TITLE
61C-1.004: General Sanitation and Safety Requirements

NOTICE IS HEREBY GIVEN that on January 29, 2007, the Division of Hotels and Restaurants, Bureau of Elevator Safety has issued an order.

That order Granted an Emergency Variance Request filed on January 10, 2007, and advertised in Vol. 33, No. 7, F.A.W., by T.J. Khan, owner of Center for Surgical Excellence (Petition VW2007-014). The petition sought a waiver from Rule 2.7.3.2.1, ASME A17.1, 2000 Edition as adopted by Chapter 3001.2, 2004 Florida Building Code and requested to use a vertical ladder and hatch to temporarily access the machine room while the machine room is being relocated to the ground floor. The petition was granted because the petitioner stated it would only be for a 90 day period which would allow them to open the building timely while assuring that the final elevator configuration would be code-compliant.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.