64E-26.008 Laundry and Dry Cleaning.

Where laundry facilities are provided, they shall be adequate to insure an ample quantity of clean clothing, bed linens and towels. Laundry facilities shall be of sound construction and shall be kept clean and in good repair. Laundry rooms shall be well lighted and properly ventilated. Clothes dryers and dry cleaning machines shall be vented to the exterior. If laundry facilities are not available, sheets and blankets shall be sent to commercial laundries.

Specific Authority 381.006 FS. Law Implemented 381.006(6) FS. History–New 11-18-76, Formerly 10D-7.08,10D-7.008,  Amended 5-10-07.