9B-1.030 Factory-built Schools, Insignia and Data Plate.

(1) Each factory-built school building utilized for educational purposes shall bear the “SREF/school” insignia of the Department and a data plate. The data plate shall be fabricated by the manufacturer of new buildings and the owner of existing buildings of durable material with the required information inscribed thereon. The insignia and data plate shall be permanently mounted on or about the electrical panel prior to leaving the factory. The data plate shall provide the following information:

(a) Manufacturer;

(b) Manufacturer certification number;

(c) Date of manufacture;

(d) Date of alteration;

(e) Number of modules;

(f) Construction type;

(g) Occupancy use classification;

(h) Serial number;

(i) Agency plan number;

(j) Standard plan approval number;

(k) Maximum floor load (pounds per square foot), live load, and dead load;

(l) Roof load, live load and dead load;

(m) Wind velocity rating;

(n) “U” rating of floor, wall and roof;

(o) Whether the building is approved for flood zone usage;

(p) Whether the building is approved for enhanced hurricane protection zone usage;

(q) Whether the building is designed for use as a public shelter in enhanced hurricane protection areas;

(r) Limitations of the plan approval by the third-party agency; and

(s) Whether the building is rated as satisfactory for use as an educational facility.

(2) Issuance of Insignia. Insignias to be affixed to factory-built schools shall be issued to the educational entity upon receipt by the Department of an inspection report finding that the building is satisfactory for educational purposes and containing information required for the data plate.

(3) Revocation. An inspector shall notify the Department of any unsatisfactory finding as the result of an installation or annual inspection. The insignia of the Department shall be revoked upon a determination that the factory-built school fails to comply with the applicable standards. Revocation shall be accomplished through procedures established by Section 120.60, F.S.

(4) Fees. Fees shall be paid prior to issuance of insignia for factory-built schools. One insignia shall be issued per building. The fees for insignia shall be as provided in Rule 9B-1.020, F.A.C. Such fees are non-refundable.

Specific Authority 553.415 FS. Law Implemented 553.415 FS. History–New 9-13-01, Amended 5-13-07.