Notice of Variances and Waivers

DEPARTMENT OF HEALTH
Division of Environmental Health

RULE NO: RULE TITLE
64E-11.006: Food Equipment and Utensils

NOTICE IS HEREBY GIVEN THAT on May 3, 2007, the Department of Health received a Petition for Variance, from Young Chef’s Academy, for the use of a certified residential dishwasher, which meets the National Sanitation Foundation (NSF) Standard 184. The Petition seeks relief from subparagraph 64E-11.006(1)(m)3., Florida Administrative Code, which requires a final rinse temperature of either 165 degrees Fahrenheit for a single tank, stationary rack, single temperature machine or 180 degrees Fahrenheit for all other machines; easily readable thermometers installed near the discharge end of the machine to show the final rinse temperature entering the manifold; thermometers that indicate the temperature of the water in all tanks of the machine; and a pressure gauge or suitable gauge cock provided in the rinse line.

A copy of the Petition may be obtained from: Ric Mathis, Bureau of Community Environmental Health Programs, 4052 Bald Cypress Way, Bin #A08 Tallahassee, Florida 32399-1710 or by calling (850)245-4277.

A copy of the Petition for Variance or Waiver may be obtained by contacting Leslie Harris at (850)245-4277.