Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Department of Community Affairs, Florida Building Commission has received a petition for declaratory statement on January 11, 2007, from Billy Tyson, CBO, on behalf of Clemons-Rutherford & Associates, regarding whether a cement based particleboard material used in the floor framing design for a Type II-B Construction classroom, which was tested to ASTM E-136 using a modified ten minute test wherein the material’s core temperature did not reach 750 degrees centigrade, complies with the requirement for non-combustibility contained in Section 703.4.1, Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06). It has been assigned the number DCA07-DEC- 011.

A copy of the request may be obtained by writing: Paula P. Ford, Agency Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.