Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Department of Community Affairs, Florida Building Commission has received a petition for declaratory statement on February 15, 2007, from Rob Lattin, Forum Architecture and Interior Design, Inc., on behalf of Rapallo, LLC, regarding:

1. Whether, in the circumstances described in the petition, section 1022.6 exception (4), Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06) or the 2004 Florida Fire Prevention Code derived from NFPA 101 Section 7.2.2.6.3 governs the need or separation of exterior stairs from the interior of the building.

2. In cases where there is a conflict between the Florida Building Code and the Florida Fire Prevention Code, whether the conflict is to be resolved with the solution that provides the greatest degree of life safety.

3 Whether the open ended corridor design allowed by section 1022.6 exception (4), Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06) provides an equivalent method of construction to that required by the 2004 Florida Fire Prevention Code derived from NFPA 101 Section 7.2.2.6.3.

4. Whether, in the event that the Florida Fire Prevention Code or other Codes referenced or adopted as part of the Florida Building Code (2004 as amended 12/05 and 12/06), do not address specific conditions that are addressed by the Florida Building Code (2004 as amended 12/05 and 12/06), the provisions of the Florida Building Code prevail.

It has been assigned the number DCA07-DEC-031.

A copy of the request may be obtained by writing: Paula P. Ford, Agency Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.