# 63E-4.012 Construction.

(1) The department shall conduct an assessment of need for additional IRT programs prior to the siting or construction of more than one facility in any judicial circuit.

(2) The department shall ensure that any newly constructed or leased facility is designed to comply with the following:

(a) 25 or less beds;

(b) Separate and secure facilities;

(c) 35 square feet of space per youth for dayroom activities;

(d) Shall provide a minimum of 70 square feet of space for single room occupancy per youth. The room must have 35 square feet of clear floor space;

(e) A minimum of 35 square feet of space per youth for multipurpose room activities;

(f) A minimum of 56.25 square feet per youth for rooms used for educational purposes. Classroom size is based on a maximum of 16 youth in a class;

(g) A minimum of 50 square feet of space per youth for outside recreation;

(h) A minimum of one toilet to every eight youth, one washbasin for every eight youth and one shower for every eight youth;

(i) Ensure the facility meets the needs of disabled youth;

(j) Employ a CCTV system that includes but is not limited to, a color digital recording device. The Digital Video Recorder (DVR) must be capable of a minimum of 30 days recorded event storage within the hard drive, have a minimum setting of eight frames per second, have a minimum of 16 camera inputs, and be capable of remote viewing. All equipment must be surge protected and have a Universal Surge Protector (USP) backup and be connected to an emergency power supply; and

(k) Siting and construction activities shall comply with local zoning codes and requirements and be in compliance with all state building codes and requirements.

Specific Authority 985.483, 985.64 FS. Law Implemented 985.483(12) FS. History–New 7-11-07.