Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

The Bureau of Elevator Safety hereby gives notice that on June 12, 2006, it Issued an Order Granting Variance Request in response to a petition filed April 17, 2006 and advertised in FAW Vol. 32, No. 20, by Steve Powell of KONE, Inc. regarding Mirasol Condo II in Miromar Lakes, FL (VW  2006-118). The variance granted a waiver from Rules 2.1.3.1.2(b)(1), 2.7.6 and of ASME A17.1, 2000 Edition, as adopted by Chapter 3001.2, Florida Building  Code. The petitioner had requested to not have a machine room and to install a Monospace© Elevator System in the above project and the petition was granted as the petitioner demonstrated that this new technology provided an equivalent or greater level of safety.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940, North Monroe Street, Tallahassee, Florida 32399-2202.