- 69A-38.038 Special Requirements.

(1) Each facility shall have installed at least one portable fire extinguisher with a minimum rating of 2A-10BC.

(2) No portable fuel-fired heaters shall be permitted unless the heater is listed by a testing laboratory recognized by the United States Department of Labor, another state or regional regulatory authority, or rule of the Department, and approved for such use.

(3) No portable heaters shall be used in sleeping rooms.

(4) All facilities shall have all parts of the means of egress sufficiently sized to allow for emergency exiting of clients who may be confined in wheelchairs and or beds when applicable.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 7-30-07.