Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Robert S. Fine, Esquire, on behalf of TRG-Block One, LTD. on April 9, 2007. The following is a summary of the agency's disposition of the petition:

The Commission determined that balconies and parking decks in that are neither over habitable space nor the top surface of a building are not subject to the waterproofing requirements for roof coverings with slopes less than 2:12 contained in section 1519.16, Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06). The project in question is subject to section 1926.5.5, Florida Building Code, Building Volume (2004 as amended 12/05 and 12/06).

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.